## Slide 1
Development of the
neutron radiography and tomography instrument at the WWR-K reactor, Almaty, Kazakhstan
K.M. Nazarov1,2, B.Muhametuly1,3, S.E. Kichanov1, D.P. Kozlenko1, E.A. Kenzhin3, E.V. Lukin1, A.A.Shaimerdenov3, A.V. Rutkauskas1
1Frank Laboratory of Neutron Physics, Joint Institute for Nuclear Research, Dubna, Russia
2L.N. Gumilev Eurasian National University, Nur-Sultan, Kazakhstan;
3 Institute of Nuclear Physics, Almaty, Kazakhstan
51-st meeting of the PAC for Condensed Matter Physics
20 January 2019 Dubna, Russia
Kuanysh Nazarov
knazarov@jinr.ru

## Slide 2
Kuanysh Nazarov
knazarov@jinr.ru
Introduction: Neutron imaging
X-ray
neutron
Nuclear interaction
Magnetic interaction
High penetration
Sensitive to low-Z materials
2
51-st meeting of the PAC for Condensed Matter Physics
20 January 2019 Dubna, Russia
Institute of Nuclear Physics

## Slide 3
Institute of Nuclear Physics,
Almaty, Kazakhstan
Joint Institute for Nuclear Research,
Dubna, Russia
Protocol on joint cooperation between the Joint Institute for Nuclear Research (Dubna) and the RSE Institute for Nuclear Physics (Almaty)
№ 4785-4-17/19 from 11.12.2017 y.
Project period: 2017-2019
3
Creation of a new neutron imaging facility
51-st meeting of the PAC for Condensed Matter Physics
20 January 2019 Dubna, Russia
Kuanysh Nazarov
knazarov@jinr.ru
Institute of Nuclear Physics

## Slide 4
Neutron source: Steady-state reactor WWR-K
1
2
3
4
5
A reactor operating
200 days/year
Thermal power: 6 MW
10 cycles with 20 days
Flux: 2,2×1014 thermal neutrons/cm2·s
Fuel: UO2 +Al
Heat carrier and moderator:
light water
6
7
8
9
4
51-st meeting of the PAC for Condensed Matter Physics
20 January 2019 Dubna, Russia
Kuanysh Nazarov
knazarov@jinr.ru
Institute of Nuclear Physics

## Slide 5
Conversion of active core WWR-K reactor
from HEU fuel to LEU fuel
WWR-C type
36%
WWR-KN type
19,7 %
1972-2015 years
2015 - present
5
Institute of Nuclear Physics
51-st meeting of the PAC for Condensed Matter Physics
20 January 2019 Dubna, Russia
Kuanysh Nazarov
knazarov@jinr.ru

## Slide 6
Concept of neutron imaging facility
6
51-st meeting of the PAC for Condensed Matter Physics
20 January 2019 Dubna, Russia
Kuanysh Nazarov
knazarov@jinr.ru
Institute of Nuclear Physics

## Slide 7
7 m
3,5 m
10 m
10 cm diameter
Neutron flux = 1*10^9
Pinhole with diameter D
8 cm
2 cm
Neutron beam size 20*20 cm^2
1,4*10^8 n/(s*cm^2) at L/D=86
1*10^7 n/(s*cm^2) at L/D=350
Concept of neutron imaging facility
Flight tube 5,2m
7
51-st meeting of the PAC for Condensed Matter Physics
20 January 2019 Dubna, Russia
Kuanysh Nazarov
knazarov@jinr.ru
Institute of Nuclear Physics

## Slide 8
Parameters of neutron imaging station | 
L/D ratio | 100 -2000
Field-of-view | From 5*5 cm2 20*20 cm2
Converter: Scintillation screen | 6LiF/ZnS:( Ag,Cu) –thickness 0.1 mm 6LiF/ZnCdS:Ag – thickness 0,05 mm Gadox –thickness 0,02 mm
CCD camera | HAMAMATSU-S12101 2048х2048 pixels 12x12 мкм, 24x24 мм
Lens system | 70-300 mm with variable focal length
Pixel size | 25-100
Neutron flux | 1.4*108 n/cm2/s at L/D=100 1*107 n/cm2/s at L/D=350
Parameters of neutron imaging station | 
L/D ratio | 100 -2000
Field-of-view | From 5*5 cm2 20*20 cm2
Converter: Scintillation screen | 6LiF/ZnS:( Ag,Cu) –thickness 0.1 mm 6LiF/ZnCdS:Ag – thickness 0,05 mm Gadox –thickness 0,02 mm
CCD camera | HAMAMATSU-S12101 2048х2048 pixels 12x12 мкм, 24x24 мм
Lens system | 70-300 mm with variable focal length
Pixel size | 
Neutron flux | 1.4*108 n/cm2/s at L/D=100 1*107 n/cm2/s at L/D=350
Detector system of neutron imaging facility
8
51-st meeting of the PAC for Condensed Matter Physics
20 January 2019 Dubna, Russia
Kuanysh Nazarov
knazarov@jinr.ru
Institute of Nuclear Physics
Company: KOHZU, Japan
Material: Aluminum Alloy
Angular range:
Load capacity: 392 N
Resolution at full step:

## Slide 9
Joint working group from JINR and INP
….the last shielding element is in place! Happy faces
9
51-st meeting of the PAC for Condensed Matter Physics
20 January 2019 Dubna, Russia
Kuanysh Nazarov
knazarov@jinr.ru
Institute of Nuclear Physics

## Slide 10
2 cm
5 cm
20 cm
Test experiments. First images
10
51-st meeting of the PAC for Condensed Matter Physics
20 January 2019 Dubna, Russia
Kuanysh Nazarov
knazarov@jinr.ru
Institute of Nuclear Physics
Alarm clock
Padlock
Rotor of small engine

## Slide 11
11
Test experiments. First images
51-st meeting of the PAC for Condensed Matter Physics
20 January 2019 Dubna, Russia
Kuanysh Nazarov
knazarov@jinr.ru
Institute of Nuclear Physics
Car spark plugs
Smart-phone Samsung

## Slide 12
12
51-st meeting of the PAC for Condensed Matter Physics
20 January 2019 Dubna, Russia
Kuanysh Nazarov
knazarov@jinr.ru
Institute of Nuclear Physics
Test experiments. First tomography images
Real photo and neutron radiographic image,
3D model of the lower jaw of a fossil human from Saka tribe.
Excavation site: Rakhat village, Almaty region, Kazakhstan.
Faculty of History, Archeology and Ethnology,
Al-Farabi Kazakh National University, Almaty, Kazakhstan

## Slide 13
Any Questions?
13
51-st meeting of the PAC for Condensed Matter Physics
20 January 2019 Dubna, Russia
Kuanysh Nazarov
knazarov@jinr.ru
Thank you for your attention!!!
Institute of Nuclear Physics