## Slide 1: Status of the separator DGFRS-2: Results of test experiments V.K. Utyonkov Flerov Laboratory of Nuclear Reactions JINR
51th meeting of the PAC for Nuclear Physics
30 January 2020 International Conference Centre

## Slide 2: SHE Factory
Cyclotron DC 280
Ion | Expected beam intensity of (4-8) MeV/A ions (pps)
48Ca | 0.6-1.21014
50Ti | 31013
Separator DGFRS-2
Simulated yields of Fl isotopes (A.G. Popeko)
DQhQv set-up QvDhQhQvD set-up
DGFRS-1
DGFRS-2
factor of 3
factor of 10

## Slide 3: Separator DGFRS-2
Effective length | 456 mm
Bore diameter | 150 mm
Maximum field gradient | 13.3 T/m
Effective length | 600 mm
Bore diameter | 300 mm
Maximum field gradient | 5.4 T/m
Gap | 120 mm
Bending angle | 31.50
Bending radius | 1.86 m
Maximum field | 1.80 T
Pole face angle (entrance/exit) | -8.40 / -44.50
Effective length | 1025 mm
Gap | 120 mm
Bending angle | 100
Bending radius | 2.58 m
Maximum field | 1.81 T
Pole face angle (entrance/exit) | 00
Effective length | 451 mm
Quadrupole 1
Quadrupoles 2 & 3
Dipole 1
Dipole 2
A.G. Popeko
D.I. Solovyev
N.D. Kovrizhnykh

## Slide 4: Separator DGFRS-2: control and safety components of the magnetic elements measurement of the beam energy

## Slide 5: Separator DGFRS-2: control and safety components of the vacuum systems

## Slide 6: Separator DGFRS-2: control and safety components of the gas system

## Slide 7
Test reactions:
Cross section ~108-9 pb
Adjustment of optical elements Qv, Dh, Qh, Qv, D
natYb+40Ar207-212Ra, 170Er+48Ca 214,215Ra, natYb,174Yb+48Ca 216,217Th,
206Pb+48Ca 252No
Reactions:
natYb (0.21, 0.43, 0.54, 0.64 mg/cm2)+40Ar207-212Ra
170Er (0.54 mg/cm2)+48Ca 214,215Ra
natYb (0.21, 0.43, 0.54, 0.64 mg/cm2)+48Ca 216,217Th
174Yb (0.35 mg/cm2) +48Ca 216,217Th
206Pb (0.43 mg/cm2) +48Ca 252No

## Slide 8
Test reactions:
Cross section ~108-9 pb
Adjustment of optical elements Qv, Dh, Qh, Qv, D
Transmission
natYb+40Ar207-212Ra, 170Er+48Ca 214,215Ra, natYb,174Yb+48Ca 216,217Th,
206Pb+48Ca 252No
170Er (0.54 mg/cm2)+48Ca 214,215Ra
From calculated cross section:
> 45%
Will be measured in the 206Pb+48Ca 252No reaction

## Slide 9
Test reactions:
Cross section ~108-9 pb
Adjustment of optical elements Qv, Dh, Qh, Qv, D
Transmission
Image size on detector
Dispersion
natYb+40Ar207-212Ra, 170Er+48Ca 214,215Ra, natYb,174Yb+48Ca 216,217Th,
206Pb+48Ca 252No
170Er + 48Ca  214Ra
174Yb + 48Ca  217Th
s X 64 - 92 mm
s Y 12 - 15 mm
Depends on reaction and target thickness
D 1 32 mm / %Br
D 2 2.6 mm / %Br
Increase of detector size?

## Slide 10
New detectors:
Horizontal size 128 mm
Vertical size 48 mm
Increase of detection efficiency by factor of 1.3 - 1.5
Horizontal size 220 mm
Vertical size 48 mm

## Slide 11
Test reactions:
Cross section ~108-9 pb
Adjustment of optical elements Qv, Dh, Qh, Qv, D
Transmission
Image size on detector
Dispersion
Background
natYb+40Ar207-212Ra, 170Er+48Ca 214,215Ra, natYb,174Yb+48Ca 216,217Th,
206Pb+48Ca 252No
Increase of suppression of background nuclei
by more than factor of 200

## Slide 12
Test reactions:
Cross section ~108-9 pb
Adjustment of optical elements Qv, Dh, Qh, Qv, D
Transmission
Image size on detector
Dispersion
Background
Optimal gas pressure
natYb+40Ar207-212Ra, 170Er+48Ca 214,215Ra, natYb,174Yb+48Ca 216,217Th,
206Pb+48Ca 252No

## Slide 13
Test reactions:
Cross section ~108-9 pb
Adjustment of optical elements Qv, Dh, Qh, Qv, D
Transmission
Image size on detector
Dispersion
Background
Optimal gas pressure
Systematics of charge states
natYb+40Ar207-212Ra, 170Er+48Ca 214,215Ra, natYb,174Yb+48Ca 216,217Th,
206Pb+48Ca 252No
Difference in the average charge by 5%
Effective length of dipole in DGFRS?
Should be measured for 252No in the 206Pb+48Ca reaction

## Slide 14
Test reactions:
Cross section ~108-9 pb
Adjustment of optical elements Qv, Dh, Qh, Qv, D
Transmission
Image size on detector
Dispersion
Background
Optimal gas pressure
Systematics of charge states
Target stability vs. beam intensity
Yield vs. target thickness
natYb+40Ar207-212Ra, 170Er+48Ca 214,215Ra, natYb,174Yb+48Ca 216,217Th,
206Pb+48Ca 252No
Will be measured in the natYb+48Ca reaction
in February, 2020
6 targets with different thickness on one wheel

## Slide 15
Test reactions:
Cross section ~108-9 pb
Adjustment of optical elements Qv, Dh, Qh, Qv, D
Transmission
Image size on detector
Dispersion
Background
Optimal gas pressure
Systematics of charge states
Target stability vs. beam intensity
Yield vs. target thickness
Test of digital and analog
data acquisition systems
natYb+40Ar207-212Ra, 170Er+48Ca 214,215Ra, natYb,174Yb+48Ca 216,217Th,
206Pb+48Ca 252No
48128 DSSD & 68 SSSD
Digital and analog electronics,
in parallel
L. Schlattauer

## Slide 16
Future experiment at SHE Factory 243Am+48Ca reaction
Transmission
Image size on detector
Background
Systematics of charge states
Test of digital and analog data acquisition systems
Cross section 10 pb
s=8.5 pb, ht=0.5 mg/cm2, coll=0.6, Ibeam=5 pmA  17/day
Excitation function for the 2n-evaporation channel
- Observation of a decay of 281Rg
Excitation function for the 3n-evaporation channel
- Two decay times of 276Mt
- Level of cross section for the pxn channel
- Level of EC branch for 288Mc and 284Nh
5n-evaporation channel: new isotope 286Mc,
cross section

## Slide 18
First experiments at SHE Factory 243Am+48Ca test reaction
Cross section 10 pb
s=8.5 pb, ht=0.5 mg/cm2, coll=0.6, Ibeam=5 pmA  17/day
Adjustment of optical elements Qv, Dh, Qh, Qv, D
Transmission
Image size on detector
Background
Target stability vs. beam intensity and dose
Systematics of charge states
Test of digital and analog data acquisition systems

## Slide 19
First experiments at SHE Factory 243Am+48Ca test reaction
Cross section 10 pb
s=8.5 pb, ht=0.5 mg/cm2, coll=0.6, Ibeam=5 pmA  17/day
Excitation function for the 2n-evaporation channel
- Observation of a decay of 281Rg
Adjustment of optical elements Qv, Dh, Qh, Qv, D
Transmission
Image size on detector
Background
Target stability vs. beam intensity and dose
Systematics of charge states
Test of digital and analog data acquisition systems
289Mc :14
DGFRS, TASCA, BGS
no a of 281Rg
291Ts: 16 (DGFRS)+2 (TASCA)
2+2 a of 281Rg

## Slide 20
First experiments at SHE Factory 243Am+48Ca test reaction
Cross section 10 pb
s=8.5 pb, ht=0.5 mg/cm2, coll=0.6, Ibeam=5 pmA  17/day
Excitation function for the 2n-evaporation channel
- Observation of a decay of 281Rg
Excitation function for the 3n-evaporation channel
- Two decay times of 276Mt
Adjustment of optical elements Qv, Dh, Qh, Qv, D
Transmission
Image size on detector
Background
Target stability vs. beam intensity and dose
Systematics of charge states
Test of digital and analog data acquisition systems

## Slide 21
First experiments at SHE Factory 243Am+48Ca test reaction
Cross section 10 pb
s=8.5 pb, ht=0.5 mg/cm2, coll=0.6, Ibeam=5 pmA  17/day
Excitation function for the 2n-evaporation channel
- Observation of a decay of 281Rg
Excitation function for the 3n-evaporation channel
- Two decay times of 276Mt
- Level of cross section for the pxn channel
- Level of EC branch for 288Mc and 284Nh
p2n/EC ?
Adjustment of optical elements Qv, Dh, Qh, Qv, D
Transmission
Image size on detector
Background
Target stability vs. beam intensity and dose
Systematics of charge states
Test of digital and analog data acquisition systems

## Slide 22
First experiments at SHE Factory 243Am+48Ca test reaction
Cross section 10 pb
s=8.5 pb, ht=0.5 mg/cm2, coll=0.6, Ibeam=5 pmA  17/day
Excitation function for the 2n-evaporation channel
- Observation of a decay of 281Rg
Excitation function for the 3n-evaporation channel
- Two decay times of 276Mt
- Level of cross section for the pxn channel
- Level of EC branch for 288Mc and 284Nh
5n-evaporation channel: new isotope 286Mc,
cross section
Adjustment of optical elements Qv, Dh, Qh, Qv, D
Transmission
Image size on detector
Background
Target stability vs. beam intensity and dose
Systematics of charge states
Test of digital and analog data acquisition systems
244Pu - 287Fl: 1 (DGFRS-1)
242Pu - 285Fl: 1 (BGS)

## Slide 23
First experiments at SHE Factory 242Pu+48Ca test reaction – chemical properties
Cross section 8 pb (3n – 3.6 pb, 4n – 4.5 pb)
s=8 pb, ht=0.5 mg/cm2, coll=0.6, Ibeam=5 pmA 
16/day chem
R. Eichler et al., Radiochim. Acta 98, 133 (2010)
A. Yakushev et al., Inorg. Chem. 53, 1624 (2014)
Is flerovium a metal or a noble gas?

## Slide 24
Expected decay properties of Og isotopes
First experiments at SHE Factory 249-251Cf+48Ca – synthesis of the heaviest Og isotopes
New 249-251Cf target is under preparation at ORNL
s=0.5 pb, ht=0.3 mg/cm2, coll=0.6, Ibeam=5 pmA  4 events per week
Synthesis of element 120 in the reaction with 50Ti

## Slide 25
Predicted cross sections for production of isotopes of elements 119 and 120

## Slide 26
From 48Ca to 50Ti
Test reactions: 246Cm+48Ca 294Lv* 244Pu+50Ti 294Lv*
V. Zagrebaev and W. Greiner
s=0.2 pb, ht=0.3 mg/cm2, coll=0.6, Ibeam=3 pmA  1 event per week
Unknown cross sections for production of elements 119 and 120

## Slide 27
First experiments at SHE Factory Synthesis of new element 120
249Cf(50Ti,3-4n)295,296120
251Cf(50Ti,3-4n)297,298120
248Cm(54Cr,3-4n)298,299120
Descendants 294Og, 290,291Lv, 284–286Fl … are known
s=10 fb, ht=0.3 mg/cm2, coll=0.6, Ibeam=3 pmA  1 event per 5 months

## Slide 28
First experiments at SHE Factory Synthesis of new element 119
249Bk(50Ti,3-4n)295,296119
Descendants 287,288Mc, 282-294Nh… are known
s=50 fb, ht=0.3 mg/cm2, coll=0.6, Ibeam=3 pmA  1 event per month

## Slide 29
Super-Heavy Element (SHE) Factory
High-current cyclotron DC-280
SHE Factory Building
Gas-filled separator
Preseparator
Notes: The project of the SHE factory includes three principal components: i) high current accelerator, ii) new experimental hall and iii) a number of the next generation facilities.

## Slide 31: Further investigation of region of superheavy nuclei

## Slide 32: Drop of production cross section  Increase of sensitivity of experiment
with increase of Z
with decrease of N
with increase of N
New facility for
super-heavy element research:
Super Heavy Element (SHE) Factory
V.I Zagrebaev
Factor of ~50
10 fb?
2 fb?