## Slide 1: First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS
L. Dimitrov1, P. Iaydjiev1, A. Marinov1,2, G. Mitev1, F. Ravotti2, I. Vankov1
1INRNE, BAS, Sofia, 2CERN

## Slide 2
The higher energy and luminosity of future HL-LHC imposed the development and testing of new type high-rate detectors as GEM (Gas Electron Multiplier) chambers. They are Micro-Pattern Gaseous Detectors that feature 50-100 microns spatial resolution, 4-5 ns time resolution, high detection efficiency, and proven high-rate capability and resilience against aging effects.
INTRODUCTION
First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS

## Slide 3
STATION GE1/1 AND GE2/2
RADMON
position
First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS
The very high time and spatial resolution enables their simultaneously application for triggering and tracking information. They are suitable also for the very forward region – 1,6 < |η| < 2,4 – a new region that have to be covered by CMS for the future investigation.

## Slide 4
First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS
GEMS POSITIONS IN GE1/1 STATION

## Slide 5
RADMON sensor is at one of the GEM of slot 1 – at the middle of the GEM height
POSITIONS OF THE GEM CHAMBERS ON THE TEST
After numerous tests three GEM detector prototypes was produced and tested at the end of 2016. Called GEM super-chamber each is composed of two chambers, mounted face-to-face at distance of 20 mm. At March 2017 the GEM prototypes were installed in the first (labeled GE1/1) vacant insertion slots in inner endcap stations, as is shown in the figure. For the first test only one RADMON sensor was installed at center of one of the GEMs
First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS

## Slide 6
A monitoring system designed for measurement of the dose absorbed by the GEM detectors during their operation was described at last NEC’2015.
First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS
RADMON STRUCTURE
RadFETs
p-i-n Diodes
RADIATION MONITORING SYSTEM
The system uses a basic radiation sensor unit, called RADMON. There are in each unit two types of sensors: RadFETs, measuring the total absorbed dose of all radiations and p-i-n diodes – for particle (proton and neutron) radiation.

## Slide 7
First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS
RADIATION SENSOR READOUT

## Slide 8
NEW RADMON SENSOR
First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS

## Slide 9
First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS
RADMON POSITION
RADMON IS INSTALLED AT THE GEM COOLING PLATE

## Slide 10
The system has a modular structure, permitting to increase easily the number of controlled RADMONs – one module controls up to 12 RADMONs.
First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS
RADIATION MONITORING SYSTEM 2

## Slide 11
First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS
LHC 2017 INTEGRATED LUMINOSITY

## Slide 12
First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS
TOTAL DOSE SIMULATION AT 25,0 fb-1
https://twiki.cern.ch/twiki/bin/view/CMSPublic/BRILRadiationSimulation

## Slide 13
First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS
1 MeV NEUTRON EQUIVALENT FLUENCE AT 25 ft-1

## Slide 14
Chart: REM 250
07.08.2017 | 3.455
15.08.2017 | 3.4711
05.09.2017 | 3.4711
AVG07.08 | 3.4668
AVG15.08 | 3.4669
AVG05.09 | 3.4685
First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS
EXPERIMENTAL DATA REM 250

## Slide 15
Chart: REM 130
07.08.2017 | 3.9705
15.08.2017 | 4.0107
05.09.2017 | 4.0188
AVG07.08 | 4.0172
AVG15.08 | 4.0168
AVG05.09 | 4.018
First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS
EXPERIMENTAL DATA REM 130

## Slide 16
Chart: Si-1
07.08.2017 | 0.6523
15.08.2017 | 1.1275
05.09.2017 | 1.1275
AVG07.08 | 1.1216
AVG15.08 | 1.1214
AVG05.09 | 1.1326
First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS
EXPERIMENTAL DATA LBSD Si-1

## Slide 17
Chart: BPW 34S
07.08.2017 | 0.6121
15.08.2017 | 0.6443
05.09.2017 | 0.6443
AVG07.08 | 0.64236
AVG15.08 | 0.64284
AVG05.09 | 0.64284
First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS
EXPERIMENTAL DATA BPW 34S

## Slide 18
INTEGRAL LUMINOSITY May - September 2017 25 fb-1 | MEAN VALUE Vth | CALCULATED DOSE OR FLUENCE (AT 18 OC) | CMS – BRILL SIMULATIONS RESULTS
REM130 | 4,018 | 7,7 Gy??? | 0,4 – 0,5 Gy
REM250 | 3,471 | 0.95 Gy | 0,4 – 0,5 Gy
SI-1 | 1,1275 | 6,4x1010 cm-2 | 1x1010 cm-2
BPW34S | 0,6433 | 2,84x1011 cm-2 ??? | 1x1010 cm-2
First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS
FINAL RESULTS

## Slide 19
First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS
CONCLUSIONS
1. The measured dose and fluence was relatively low and all radiation sensors has operated at the very beginning of their measuring range.
2. For this reason the results only of the more sensitive radiation sensors can be accepted as real with a relatively low precision
3. Probably the CMS BRILL simulation gives lower dose and fluence values.
4. All radiation sensors are active and with the increasing of the LHC integral luminosity the precision of the measurement have to increase.

## Slide 20
First Results of the Radiation Monitoring of the GEM Muon Detectors at CMS
ACKNOWLEDGEMENTS
This work was sponsored by the Bulgarian National Fund of Scientific Investigation