## Slide 1: Data acquisition and data processing software for magnetic measurements for NICA magnets
Alexander Bychkov
LHEP, JINR
2017

## Slide 2: Contents
Main Measurement Program
Filtering and smoothing system based on wavelets and splines

## Slide 3: Measurement test bench
Computer Rack Cabinet
Controlled Power Supply

## Slide 4: Main Measurement Program

## Slide 5: System Characteristics
Automated system (minimal operator actions)
Cold and warm measurements
24-bit ADC/DAC
200 000 samples/s per channel
Saving data - RAW
Sensor positioning <1⋅10-4
220 steps/rot

## Slide 6: Signal form and Data acquisition
Main Measurement Program
LabView
NI DAQmx chassis
execution
Synchronized ADCs
triggering
data
Synchronized DACs
base signal
triggering

## Slide 7: Sensor position management
Main Measurement Program
LabView
Real-Time controller
Servo drive
LAN
EtherCat
Sensor
position

## Slide 8: Functions of Main Measurement Program
Main Measurement Program
LabView
Real-Time controller
Servo drive
LAN
EtherCat
Sensor coils switch
COM
Magnet coils switch
GPIB
NI DAQmx chassis
execution
Synchronized ADCs
triggering
data
Synchronized DACs
base signal
Current supply
base signal
Current Supply controller
GPIB
triggering
Sensor
data
data
current impulse
Superconducting Magnet
position

## Slide 9: Measurement Data flow
Measurement data collection
Preprocessing data
Filtering Smoothing
Integration
Processing data
Data storage
Results
Temporal files

## Slide 10: Preprocessing data
Wavelet filtering
Wavelet peak detection
Spline smoothing
Minimal noise
Integration
Complex noise
Integration

## Slide 11: RAW data
I(t)

## Slide 12: Power spectrum

## Slide 13: Wavelet filtration
I(t)

## Slide 14: Peak detection (wavelet)

## Slide 15: Spline smoothing

## Slide 16: Comparison: RAW and filtered data (1)

## Slide 17: Comparison: RAW and filtered data (2)
Worst situation error ~10-3
Average error ~10-6

## Slide 18: Thank you!