## Slide 1: Distributed storage system with dCache
E.Y.Kuklin, A.V.Sozykin, A.Y.Bersenev
Institute of Mathematics and Mechanics UB RAS, Yekaterinburg
G.F.Masich
Institute of Сontinuous Мedia Мechanics UB RAS, Perm
Distributed Computing and Grid-technologies in Science and Education, Dubna, 2014

## Slide 2
Introduction
High-performance distributed computing environment of UB RAS:
  40 Research Institutes of UB RAS in 7 regions (Yekaterinburg, Arkhangelsk, Syktyvkar, Orenburg, Perm, Izhevsk, Chelyabinsk).
  Universities.
  Industrial enterprises.
Distributed data storage system.

## Slide 3
Introduction
Project participants:
  Institute of Mathematics and Mechanics UB RAS (IMM UB RAS) – computational recourses and storage system.
  Institute of Сontinuous Мedia Мechanics UB RAS (ICMM UB RAS) – backbone networks.
Supported by grant of UB RAS 12-P-1-2012 and by the RFBR grant 14-07-96001r_ural_a.

## Slide 4
Overview
About dCache.
  Middleware selection.
Current implementation.
  Some problems.
Future plans.

## Slide 5
About dCache
Distributed storage system.
  Experimental data.
Commodity hardware.
  Facilities in hundreds of terabytes.
Single file system tree.
Simple storage extension.

## Slide 6
About dCache
Access protocols:
  FTP
  WebDAV
  NFS 4.1
  SRM
  gridFTP
  dCap

## Slide 7
Middleware selection
dCache
DPM
StoRM
European Middleware Initiative (EMI)

## Slide 8
Middleware selection
Support for both types of protocols.
High quality documentation.
Wide community.
Easy to install and administer.

## Slide 9
Middleware selection
JINR
NDGF

## Slide 10
Current
implementation

## Slide 11
Current implementation
Plan
456 km
10 GE
ICMM UB RAS,
Perm
IMM UB RAS, Yekaterinburg
«URAN»
supercomputer
dCache broker host, pool1a, pool1b
dCache
pool2a, pool2b
dCache
pool3a, pool3b
dCache pool4
NFS v4.1
DSS
UB RAS
«Triton»
cluster
NFS v4.1
Experimental
setups

## Slide 12
Current implementation
Hardware
Supermicro servers:
  4 storage nodes.
  Scientific Linux 6.5.
  Intel Xeon CPU E5607.
  24 HDD Seagate SATA3 3Tb.
  210 Tb usable capacity.

## Slide 13
Current implementation
File system
XFS
EXT4
?
Choice between XFS and EXT4.
  We need good I/O performance.
  The file system should be natively supported by Linux kernel.

## Slide 14
Current implementation
File system
XFS
EXT4

## Slide 15
456 km distance.
DWDM optical fiber.
  Operated by ECI-Telecom.
10GE encapsulated in 2x λ-channels.
NFS v4.1.
Current implementation
Backbone network
Laboratory of Telecommunication and Information Systems ICMM

## Slide 16
Current implementation
Problems
Long distance.
Network stack configuration.
Intel network cards drawbacks.
Custom-built kernel.

## Slide 17
Current implementation
Computational resources
  IMM UB RAS: the “URAN” supercomputer.
    7th position in Top50 (CIS).
  ICMM UB RAS: the “Triton” cluster.
“URAN”

## Slide 18
Current implementation
Network benchmark
387
32

## Slide 19
Current implementation
Network benchmark

## Slide 20
Current implementation
Possible replication
Data2 Data1
IMM UB RAS
ICMM UB RAS
Data1 Data2
Replication
[DWDM channel]
“URAN”
Experimental setups
NFS 4.1
NFS 4.1

## Slide 21
Future plans
Near future:
  Performance and fault tolerance benchmarks.
  More concern on security and monitoring.
Long-term plans:
  Increasing of the storage system volume.
  Integration with experimental setups in ICMM UB RAS and UrFU.

## Slide 22
Future plans
Joining GRID projects:
  National Nanotechnology Network (GridNNN).
  Worldwide Large Hadron Collider Computing Grid (WLCG).

## Slide 23
Thank you for your attention.
Evgheniy Kuklin
IMM UB RAS
key@imm.uran.ru