## Slide 1
New data on experiments at the SHE Factory
N. Kovrizhnykh
Flerov Laboratory of Nuclear Reactions JINR
DC280
DGFRS-2
55th meeting of the PAC for Nuclear Physics
27 January 2021

## Slide 2
At the end of 2020
48220 mm DSSD & 60120 mm SSSD
Testing of the DGFRS-2 separator has been completed
Optimal parameters of Q1, D1, Q2, Q3, D2
The widths of X and Y distributions
Optimal gas pressure
Dispersions of D1 and D2
Transmission
Background particle suppression factors
Systematics of charges
Programs for calculation of the
DGFRS-2 transmission
Beginning of experiments on the synthesis of
Mc (Z=115) isotopes in the
243Am+48Ca reaction
DGFRS-2

## Slide 3
Results of the first experiment
289Mc :14
DGFRS, TASCA, BGS
no a of 281Rg
293Ts: 16 (DGFRS)+2 (TASCA)
2+2 a of 281Rg
Excitation function for the 2n-evaporation channel
- Observation of a decay of 281Rg
Important technical questions:
Transmission
Image size on detector
Background
Systematics of charge states
Test of digital and analog data acquisition systems
E (MeV) | 243,9 | 240,9 | 239,1
Dose *1018 | 8,1 | 2,3 | 2,4
N 288Mc/289Mc | 30 / 5 | 16 /1 | 9 / 0
I = 1.2-1.3 pmA 15-cm target
Comparison of results at the same 48Ca energy
 | DGFRS-1 | DGFRS-2
Target thickness (mg/cm2) | 0.37 | 0.36
Beam dose 1018 | 3.3 | 8.0
No of decay chains of 288Мс | 6 | 30
No of decay chains of 289Мс | 0 | 5
Yield of nuclei | 1 | 2.30.2

## Slide 4
Results of the first experiment
- Excitation function for the 3n-evaporation channel
- Level of cross section for the pxn channel
- Level of EC branch for 288Mc and 284Nh
- Two decay times of 276Mt
- a decay of 268Db !
E (MeV) | 243,9 | 240,9 | 239,1
Dose *1018 | 8,1 | 2,3 | 2,4
N 288Mc/289Mc | 30 / 5 | 16 /1 | 9 / 0
I = 1.2-1.3 pmA 15-cm target

## Slide 5
First observation of
a decay of 268Db and new isotope 264Lr
T1/2 (264Lr, SF) = 4.9 h
ba (268Db) = 55 %
T1/2 (268Db) = 16 h
+2.1
1.3
+6
4
+20
15
a-like events:
Ea vs t of SF
Time distribution
a-like events
Ea = 7.6-8.0 MeV
Energy distribution
a-like events
T = 5 h

## Slide 6
Reaction 243Am(48Ca,2-3n)288,289Mc
Decay properties of 9 isotopes

## Slide 7
Reaction 243Am(48Ca,4-5n)286,287Mc
New isotope 286Мс
First observation of SF of 279Rg
Decay properties of nuclei
Excitation functions
2 (DGFRS-1, 282Nh) + 1
E (MeV) | 251 | 259
Dose *1018 | 2,0 | 5,0
286Mc 287Mc 288Mc | 0 1 0 | 1 1 3
2 (DGFRS-1) + 1 (TASCA) + 2

## Slide 8
Reaction 243Am(48Ca,2-5n)286-289Mc
67 decay chains
Decay properties of 22 isotopes

## Slide 9
Reaction 243Am(48Ca,2-5n)286-289Mc
Excitation functions
Two times larger cross section of the 3n channel
Observation of the 5n channel

## Slide 10
Results of the first experiment 242Pu+48Ca
25
60
Target thickness (mg/cm2) | Elab (MeV) | E* (MeV) | Beam dose ×1018 | No. of chains 3n / 4n | s3n (pb) | s4n (pb)
242Pu 100.76, 0.56, 0.35 | 242.5 | 37.1-40.7 | 11.2 | 65 / 11 | 10.4 | 1.8
 | 247.5 | 41.3-44.8 | 5.0 | 4 / 14 | 1.2 | 4.8
I = 0.05, 0.1 … 1, 1.5, 2.0, 2.5, 3 (1 week) pmA 24-cm target
Important technical questions:
Transmission
Image size on detector
Background
Systematics of charge states
Test of digital and analog data acquisition systems
3 (DGFRS-1)+1(SHIP) + 9

## Slide 11
Reaction 242Pu(48Ca,3-4n)286,287Fl
Decay properties of 8 isotopes
Dependence of decay properties of 287Fl, 283Cn, and 279Ds on level structure (?)
Non-observation of 9.6-MeV a line for 286Fl
Decays through isomeric states for 286Fl and 282Cn (?)

## Slide 12
Reaction 242Pu(48Ca,3-4n)286,287Fl
94 decay chains
2-3 times larger cross section of the 3n channel

## Slide 13
14
I = 0.5, 1, … 6.5 pmA 24-cm target
Reaction 238U(48Ca,3n)283Cn
16 decay chains
Dependence of decay properties of 283Cn and 279Ds on level structure (?)
Small holes appeared in the target but
~97% of 238U was preserved
on Ti backing
3 (DGFRS-1)+1(SHIP) + 9 (242Pu) + 2

## Slide 14
Chart of nuclei. The isotopes produced in the shown reactions in 2021
are highlighted in bright yellow (a decay) and green (spontaneous fission) colors
New data on experiments at the SHE Factory

## Slide 15
CONCLUSIONS
243Am+48Ca
New decay chains of 289Mc (6), 288Mc (58), and 287Mc (2)
For the first time:
a decay of 268Db
New spontaneously fissioning isotope 264Lr
New isotope 286Mc
Spontaneous fission of 279Rg
Cross section of the 5n-evaporation channel
Decay properties of 22 isotopes
Two times larger cross section of the 243Am(48Ca,3n)288Mc reaction
Transmission of DGFRS-2 was found to be about twice that of DGFRS-1

## Slide 16
CONCLUSIONS
242Pu+48Ca and 238U+48Ca
New decay chains of 286Fl (25), 287Fl (69), and 283Cn (16)
Decay properties of 8 isotopes
2-3 times larger cross section of the 242Pu(48Ca,3n)287Fl reaction
Stability of 238U target at 6.5 pmA and a beam dose of 2.61019
97% of the substance was preserved on Ti backing
Decays though different energy levels of 287Fl and 283Cn lead to
a decay or SF of 279Ds
Existence of isomeric states in the 286Fl consecutive a decays

## Slide 17
Thank you for attention!

## Slide 18
DC280
Smooth variation of the beam energy in a wide range
Stability of the beam energy
Beam intensity of up to 6.5 pµA was obtained
Stability of the beam intensity

## Slide 19
From 48Ca to 50Ti
Test reactions:
238U+50Ti 288Fl* 244Pu+50Ti 294Lv*
G. Adamian et al.
0.3 pb
s=0.2 pb, ht=0.4 mg/cm2, coll=0.6, Ibeam=3 pmA  3 events per 25 days
Unknown cross sections for production of elements 119 and 120
V. Zagrebaev and W. Greiner
0.2-0.3 pb
G. Adamian et al.
0.1 pb
s=0.2 pb, ht=0.2 mg/cm2, coll=0.6, Ibeam=3 pmA  3 events per 50 days
Plans for 2022
Availability of the target material and possibility of use

## Slide 20
From 48Ca to 54Cr
Test reaction: 238U+54Cr 292Lv*
G. Adamian et al.
0.015 pb !
s=0.015 pb, ht=0.6 mg/cm2, coll=0.5, Ibeam=5 pmA  3 events per 5 months
Unknown cross sections for production of elements 119 and 120
Plans for 2022
Availability of the target material and possibility of use

## Slide 21
DC280
Beam intensity of up to 6.5 pµA
Stability of the beam intensity
Time (h)
Beam intensity (pmA)
Time (h)
Beam intensity (rel. units)
1.25 pmA

## Slide 22
Stability of target
238U
Beam intensity of up to 6.5 pmA
Possible loss of 3% at a beam dose of 2.6x1019
242Pu
Beam intensity of up to 3 pmA
Loss of material was not observed

## Slide 23
Reaction 242Pu(48Ca,3-4n)286,287Fl
Dependence of decay properties of 287Fl, 283Cn, and 279Ds on level structure (?)
A.N. Kuzmina, G.G. Adamian, N.V. Antonenko
Role of quasiparticle structure in α decays of the heaviest nuclei,
Phys. Rev. C 85, 027308 (2012)
279Ds: SF / a