## Slide 1: Compact solid - state pulsed laser for calibration of the GVD data acquisition system
Alexander Shestakov
LLC SIC “ELS-94”

## Slide 2: Requirements for laser source
Short pulse (<1ns)
Peak power > 100kW
Wavelength fits the window of transparency of water

## Slide 3: Microchip laser
Тут схема микрочипа + KTP
HR mirror
YAG:Nd part
YAG:Cr4+ part
Output Coupler
KTP
Output
Pump

## Slide 4: Microchip laser
PROs | CONs
Simple design Great reliability | Instability

## Slide 5: Scheme of the laser
Output
Brewster plate
Saturable absorber
HR mirror
YAG:Nd
Pump focusing lens

## Slide 6
Timebase 400ps
Pulse width 820ps

## Slide 7: CAD model of the laser head

## Slide 8: Photo of the laser head

## Slide 9: Scheme of the pulsed laser source
Photodiode
Q-switched laser
Beamsplitter
Attenuator
Telescope

## Slide 10: CAD model of the pulsed laser source

## Slide 11: Photo of the pulsed laser source

## Slide 12: Thank You!

## Slide 13
Wavelength: 1064nm Energy: >1 mJ Pulse width: <1ns Frequency: up to 300Hz Wavelength: 532nm Energy: >0,5mJ Pulse width: <1ns Frequency: up to 300Hz |