## Slide 1: The Gravitational Wave Observatory and Its First Discoveries
New Trends in High-Energy Physics, Budva, Oct. 3 2016
Giovanni Andrea Prodi
Università di Trento and INFN, Italy
LIGO Scientific Collaboration and Virgo Collaboration

## Slide 2
Published Discoveries
www.ligo.caltech.edu/page/detection-companion-papers
Detection of propagating Gravitational Waves
Direct observation of a stellar-mass Black Hole binaries
→ merger
The most luminous astrophysical event detected
plus
test of General Relativity in strong field & highly relativistic regime
...
more on Fundamental Physics and Astrophysics with LIGO-Virgo
  → following talk by Andrzej Krolak this morning
LIGO-Virgo Collaborations opened a new perception of space-time
Dawn of novel Explorations

## Slide 3
Outline
Advanced Gravitational Wave Detectors
First Observation Run of Advanced LIGO
Gravitational Wave Discoveries
Advanced Virgo
Extending the network of detectors
outlook

## Slide 4
on wavefront plane:
GW amplitude is
strain:
gravitational waves carry curvature, energy, momentum, angular momentum
weak-field linear approximation
  analogies with electromagnetic waves:
      light speed, transverse, 2 polarization components
  peculiarities of GWs:
      tidal deformations of extended bodies, no measurable local effect
      polarization components rotated by in the wavefront: + x
Gravitational Waves far away from sources
GW
Effect on free
test masses:

## Slide 5
Interferometric detectors for GW
Measure differential arm changes by laser light beams:
  optical phase difference at the antisymmetric port
   light power variations at sensor
2 balanced-length arms allow common mode rejection of many technical noises.
Operation close to dark fringe (  0) allows a «null measurement», i.e. more favorable /
Want high : signal scales with circulating power
Target audio frequency gravitational waves: Km-scale arms plus increase optical path by optical resonant cavities
optimal arm length:

## Slide 6
detector layout
mirrors in «free fall»:
unperturbed at
10-19 m level
Target noise
< 10-19 m
< 10-12 rad
Fabry-Perot Optical Cavities
300 finesse
Cavity bandwidth Hz
Re-inject the
reflected back from
Beamsplitter:
 30x circulating power
Increase circulating power in the arms to 0.1-1 MW

## Slide 7
detector layout
mirrors in «free fall»:
unperturbed at
10-19 m level
Target noise
< 10-19 m
< 10-12 rad
Fabry-Perot Optical Cavities
300 finesse
Cavity bandwidth Hz
Increase circulating power in the arms to 0.1-1 MW
mode-selective
cavities to
optimize optical
matching
(Mode Cleaner)

## Slide 8
directional sensitivity of detectors
Each interferometer senses only one of the two GW polarizations:
measures the linear combination
antenna patterns for + and x
misses the orthogonal combination
Broad directional sensitivity:

## Slide 9: The LIGOs and Virgo long-arm detectors
VIRGO
HANFORD
LIVINGSTON

## Slide 10
Spectral sensitivity of Advanced LIGO detectors
    observations 2015 vs 2010:
    gain in averaged observable volume of Universe : 100x for BBH like GW150914
    30x gain for BNS coalescences
--LIGO S6 run (2010)
--Advanced LIGO O1
run (2015)
--Advanced LIGO
design goal
measured frequency range of GW150914
--
displacement noise
(single arm)
    the recent observation greatly exceeds detection potential of all previous ones

## Slide 11
Spectral sensitivity enhancement
--LIGO S6 run (2010)
--Advanced LIGO O1
run (2015)
--Advanced LIGO
design goal
--
displacement noise
(single arm)
new suspensions of test masses
new mirrors
higher intensity laser beam

## Slide 12
Advanced LIGO upgrades: suspensions
suspension is monolithic with
fused silica mirror:
lower mechanical losses
thermal noise reduction
last stage passive suspension
first stage active suspension
seismic noise reduction (>1010 above 10 Hz)

## Slide 13: Advanced LIGO upgrades
Thermal & radiation pressure
noise reduction
larger mass mirrors, improved coatings
20 W input laser (up to 200 W available), 1 Hz line-width
Signal recycling
4 km optical resonators, optical gain 300
100 kW circulating laser power in O1 (design target is 750 kW)
Photon shot
noise reduction
larger beam waist

## Slide 14
Binary Black Hole coalescences in O1
48.6 d of coincident time with science quality data

## Slide 15
First Shot of GW150914
LIGO Hanford
LIGO Livingston
the low-latency analysis provides rapid alerts for the LIGO-Virgo follow-up program
the offline analysis is used to measure the statistical significance of the candidate events.
coherent WaveBurst promptly estimated the event parameters
SNR=23.5, Chirp Mass=27.6 Mʘ
and reconstructed GW waveforms & sky Location of the source
Phys.Rev.Lett. 116, 061102 (2016) ; Phys.Rev. D93, 042004 (2016)
detected within 3 minutes by the online search algorithm for generic gravitational wave transients coherent WaveBurst

## Slide 16: GW150914 confidence level
ruled out environmental influences and non-Gaussian instrument noise at either LIGO detector for GW150914 CQG 33, 134001 (2016)
two independent data analysis methods used to estimate the confidence:
Estimated False Alarm Rate of GW150914:
< 1 / 22500 years in wider context of generic transient signals
< 1 / 203000 years within compact binary coalescence signals
Search for GW transients of general waveforms,
    coherent responses in distant detectors using minimal assumptions,
    the more general discovery tools
Search for GW transients from compact binary coalescences
    matched filtering methods

## Slide 17
Binary Black Hole coalescences in O1
SNR 24
FAR < 10-5 / yr
SNR 13
FAR < 10-5 / yr
SNR 10
FAR  1/3 yr
inspiral – merger – ringdown phases
Black Holes are the simplest compact GR objects
 Unprecedented study of 2 body motion in strong field & highly relativistic regime

## Slide 18
Mass distribution of Black Holes

## Slide 19
luminosity distance
Gravitational Wave amplitude
BBH inspiral is a well modeled “standard candle” :
…but: twin LIGOs are almost anti-aligned and sense primarily one polarization
 degeneracy of reconstructed amplitude with inclination angle
No redshift measurement is possible by GWs alone:
is mimicked by

## Slide 20
Benefits of a 3 detectors network
LIGO H1 + LIGO L1
LIGO H1 + LIGO L1 + Virgo
Detection confidence: lower background and higher Signal-to-Noise Ratio
coverage of sky and GW polarizations: better waveform reconstruction
Increased time coverage of the survey by detector pairs

## Slide 21
2 detectors
3 detectors
5 detectors
Benefits of a 3 detector network
sky localization greatly improved
e.g. for GW150914
L1H1: 600 deg2
L1H1V1: 20 deg2
Expected reduction by a factor 30 in 90% probability area
triangulation helps,
in addition we use consistency in amplitude sensitivities

## Slide 22
_ 3 km
_ 3 km
Advanced Virgo
3 km-long cavities
full interferometer under commissioning and noise hunting
aiming to join O2 by early 2017, as soon as the sensitivity gets interesting (“early” performance)

## Slide 23: AdVirgo in summary
heavier mirrors
(42 kg)
high finesse
larger beam waist
DC detection
top stage:
New tilt control
new payload
high power SSL
Larger central vacuum links
Large cryotraps
vibration attenuation
> above 10Hz

## Slide 24
Unexpected failure of fused silica monolithic suspensions: temporarily suspend mirror by steel-wires  worse thermal noise for O2
 | Steel 300 μm φ=10-4 (φ=10-3)
BNS Horizon [Mpc] | 60 (45)
BBH Horizon [Mpc] | 313 (202)
O2 sensitivity target

## Slide 25
plans for LIGO-Virgo surveys
Design sensitivity:
1000x gain in surveyed volume of the Universe
estimated BNS detection rate: 0.2-200 per year
sky position error ~5 deg2
Performance upgrades by steps, interleaved by scientific observation runs:
O1, O2, O3, design
Details in (arXiv: 1304.0670v2 gr-qc)
O1
O2
O3

## Slide 26
a catalog of Binary Black Hole mergers
P(N > 0)
P(N > 5)
P(N > 10)
P(N > 35)
Probability of N detections as a function of surveyed time-volume normalized to LIGO O1 observation
Standing questions:
Dynamical formation or isolated binary evolution ?
Recent formation and prompt merger or early universe formation and long lived binaries ?
No-hair theorem ? Second law of BH dynamics ? Extensions to General Relativity ?
Binary Black Hole merger rate in the range 2-400 Gpc-3 yr-1 , considering different models for mass distribution
 | arXiv:1602.03842
Astrophys. J. Lett. 818, L22 (2016)

## Slide 27: Multimessenger Astronomy
Coalescent Binary Systems
Gamma and X Rays
Visible and Infrared Light
Neutrino Detectors
Gravitational Waves
Radio Waves

## Slide 28: 2019+ scenario
Sky coverage of the whole observatory
Light travel times [ms]
Two more interferometers will join LIGO and Virgo:
KAGRA (Japan, 2019) and LIGO India (approved on February 2016)

## Slide 29
Outlook to 2020’s
Frequency dependent squeezing
whole band 2x gain in sensitivity, 8x in visible volume
Incremental upgrades of current Michelson infrastructures
    larger & more massive optics (LIGO A+)
        additional 2x gain in sensitivity
    add cryogenics (LIGO Voyager)
        additional 2x gain in sensitivity
from LSC
Whitepaper
2015

## Slide 30
Outlook to 2030’s
Underground infrastructures for ≥ 10km arms:
Einstein Telescope, Cosmic Explorer
extend the sensitivity band to larger mass BHs at low frequency and to NS at high frequency

## Slide 31: multiwavelength GW astronomy
Relic radiation
Cosmic Strings
Supermassive BH Binaries
BH and NS Binaries
Extreme Mass Ratio
Inspirals
Inflation Probe
Pulsar timing
Space detectors
Ground interferometers
Binaries coalescences
Supernovae
Spinning NS
10-9 Hz
10-4 Hz
100 Hz
10-16 Hz
103 Hz
years
hours
seconds
milliseconds

## Slide 32: Final Remarks
the fun just started: expecting to build a catalog of Binary Black Hole mergers and looking forward to discover new sources (e.g. Neutron Stars, etc.). Impacting on fundamental physics and astrophysics.
multimessenger astronomy with GWs is expected to provide results in the short term
earth-based detectors can improve performances by large factors in one-two decades:
    3 x gain in amplitude sensitivity is planned in 4-6 years
    2 to 4 x further gain possible with current infrastructures
    more is possible with new underground infrastructures
Space based detectors are now safer: after the recent success of the ESA technology demonstrator mission, LISA should fly in the 2030’s
Thank you for your attention

## Slide 33: EXTRA SLIDES

## Slide 34
Frequenza (Hz)
Einstein Telescope

## Slide 35: beyond quantum noises
photons in a laser beam are a Poisson point process.
Photon shot noise
photon radiation pressure noise
The Standard Quantum Limit is the combined result of shot noise + radiation pressure noise

## Slide 36
Squeezed Light Sensitivity Enhancement
Once operated on the dark fringe
GW interferometers are the largest (and most expensive) homodyne detectors for a coherent vacuum state.
Let’s change the vacuum state !
GW interferometers are the largest (and most expensive) homodyne detectors for a squeezed vacuum state.
increased sensitivity to GWs
in high freq. band
Demonstrated on GEO and
LIGO detectors
reduces shot noise
at the cost of
increasing radiation pressure
Notes: N=0.07 implica una probabilità maggiore del 93% che l’oscillatore si a nello stato fondamentale
Mentre n=0.85 implica circa il 50% di propabilità

## Slide 37
Frequency dependent squeezing
Beyond standard quantum limit

## Slide 38
source localization
90% sky error regions are very wide and broken annuli:
GW150914: 250 deg2 , GW151226: 850 deg2 , LVT151012: 1600 deg2

## Slide 39: Testing GR beyond quadrupolar formula [arXiv:1602.03841]
90% upper limits on
where describes possible deviations from GR prediction per each Post Newtonian order to the quadrupolar emission formula (considering one PN at a time)
New upper limits have been set for each PN order up to 3.5 except for 2.5 PN, unmeasurable with inspiral signal (degenerate with reference phase evolution)
First test of GR in strong field and highly relativistic speed
by checking the phase evolution of the inspiral signals of GW150914, GW151226
0 PN
Quadrupolar
formula
10 years of double pulsar J0737-3039
v/c  2 10-3 , GM/rc2  5 10-6

## Slide 40
Bounds for dispersion relation of GWs [arXiv:1602.03841]
90% bound from GW150914 is the best direct bound:
Assuming a phenomenological dispersion relation
frequency dependent graviton speed
1 PN effect on GW phase evolution,  Distance
All other more stringent bounds to date are models/assumptions dependent (e.g. weak gravitational lensing relies on dark matter distribution …)
rest-mass
energy graviton
momentum
Compton wavelength

## Slide 41: GW150914 chronology
sky localization map
Last days of LIGO Engineering Run before planned Science Run
Delay time 7 ms
+ 17 minutes:
  first sky map (cWB), 600 deg2 @ 90% c.l.
+ 4 hours / next days:
  confirmations by other data analysis pipelines
Sept. 14, 2015 UTC: 09:50:45
+ 3 minutes:
  rapid alert from our low latency detection pipeline (coherent Wave Burst: Florida, Hannover, Padova-Trento)

## Slide 42: GW150914 observation run
prompt switch from Engineering Run to Science Mode Operation
  priority to stable operation of LIGO detectors
  start of cross checks: detection check-list
next calendar day:
  alert sent via GCN circular to 62 partner astronomers (including INAF)
  target latency in science mode would have been < 1 hour
week timescale:
  started internal LIGO-Virgo procedure for validation of GW detection
  end to end detection validation was previously tested in 2010 (blind injection challenge)
decision to continue observing in stable detector configuration until LIGO detectors integrate at least 15 days of joint observation time
  Sept. 12th – Oct. 20th
  Resulting joint observation time 17 days
  Duty cycle: H1 70%, L1 55%, joint time 50%

## Slide 43: GW150914
Phys. Rev. Lett. 116, 061102

## Slide 44: GW150914 confidence level
ruled out environmental influences and non-Gaussian instrument noise at either LIGO detector for GW150914 [arXiv: 1602.03844, CQG in press]
two independent data analysis methods used to estimate the confidence:
Estimated False Alarm Rate of GW150914:
< 1 / 22500 years in wider context of generic transient signals
< 1 / 203000 years within compact binary coalescence signals
Search for GW transients of general waveforms,
    coherent responses in distant detectors using minimal assumptions,
    the more general discovery tools
Search for GW transients from compact binary coalescences
    matched filtering methods

## Slide 45: GW150914 confidence, general transient signals
C2
others
C3
frequency increasing with time
C1
inspired to known
noise transients
Coherent WaveBurst pipeline has been the reference for generic transients:
Search parameter space divided into 3 classes of different signal morphologies
GW150914 is the strongest event of the search
67400 years of equivalent off-source data
trial factor =3
transient noise events as strong as or stronger than GW150914 have
rate < 1 in 22500 years
false alarm probability < 2ˑ10-6 during the analyzed time

## Slide 46: GW150914: inspiral
Phys. Rev. Lett. 116, 061102
time-frequency evolution is typical of the inspiral-merger-ringdown of a compact binary coalescence
and in inspiral cycles measure the chirp mass
and lower limits total mass
orbital separation at end of inspiral (75 Hz)
orbital speed up to 0.5 c
Lower limit to the sum of Schwarzschild radii of progenitors
Newtonian approximations for:
Black Holes progenitors are the only known compact objects that can orbit up to frequency  75Hz before collision

## Slide 47: GW150914 parameters [arXiv:1602.03840]
higher mass values than expected
Parameter Estimation is achieved by Bayesian model selection over a template bank of analytical waveforms calibrated against numerical relativity simulations of the merger
Monte Carlo methods on 17 Parameters: 2 masses, 2x3 spin, distance, 2 sky coordinates, 4 orbital parameters, time and phase of coalescence.
unbalance:
very high GW luminosity
most energetic astrophysical event observed
high uncertainty: degeneracy between distance and inclination angle to the source, since the LIGOs are sensitive to only one polarization of the GW

## Slide 48
Consistency with GR Black Hole solution [arXiv:1602.03841]
Test of GR consistency of the measured quasi normal mode observation (3-5ms after merger)
Leftover residuals of GW150914 are not statistically distinguishable from instrumental noise
Mass and spin of the remnant BH are predicted using separately inspiral phase and post inspiral phase. No evidence of inconsistency with the inspiral-merger-ringdown analysis.

## Slide 49: Testing GR beyond quadrupolar formula [arXiv:1602.03841]
90% upper limits on
where describe the possible deviations from GR prediction per each Post Newtonian correction to the quadrupolar formula
New upper limits have been set for all PN orders up to 3.5 except for 2.5 PN, unmeasurable with inspiral signal (degenerate with inspiral phase evolution)
First test of GR in strong field and highly relativistic speed
by checking the phase evolution of the inspiral signal of GW150914
0 PN
Quadrupolar
formula

## Slide 50
Astrophysical implications [arXiv:1602.03840]
Formation of single Black Hole by stellar evolution
Previous to GW150914: X-Ray Binaries show candidate BH with mass peaked in and none above
GW150914: both BHs are
      Favours weak stellar winds and low metallicity star progenitors
First binary Black Hole evidence
Binary BHs are formed close enough to merge within the Universe lifetime
mainly 2 possibilities for BBH formation
Expected aligned spins with orbital angular momentum
As evolution of isolated binary systems
As result of dynamical interaction in dense stellar environments
Expected non correlated spins of BH pairs: misalignment is likely
Rate of BBH mergers in local Universe:
Excludes the lowest rate models previously expected [arXiv:1602.03842]
not discriminated by GW150914

## Slide 51
H1 - Hanford
OMC accident: cause assessed (failure of a fast shutter)
Broken OMC swapped with a spare
Turning On the Injection-locked Oscillator for the Laser operation above 25 W
The goal is to operate IT with 50 W at the input
  Inner and outer intensity stabilization loops not a trivial task
  Five Parametric Instabilities (PI) observed at 50 W (each of them involving two mechanical modes of the mirrors) [see *Evans et al. PRL 114, 161102 (2015)]
Longest 50 W lock: 6hours. Noise performance not yet optimized
Expect NS-NS Horizon ~90 Mpc

## Slide 52
L1 - Livingston
O1 ended at the end of January, L1 NS-NS horizon was ranging around 60 MPc (10-15 below maximum)
Vent work began in March, lasted for 5 months
  Quadruple Suspension Damper Installation
  New Output Faraday Isolator Installed
  ISS PD Array installed
  New OMC DC photo-diodes
  New ITMY Compensation Plate
  Power on REFL Vacuum PDs increased by ~2
  New SR3 ROC actuator
6 week commissioning period began with tracking down broadband noise source
At the end of this commissioning period L1 range ~80 MPc
L1- Laser amplifier broken: next run planned at 30 W at the IT input

## Slide 53: outlook
Advanced LIGOs first observation campaign has been completed, Sept. 12-2015 – Jan. 19 2016
Expect to see the complete results very soon !
Advanced Virgo will start very soon commissioning of full interferometer.
The upcoming network will cover both GW polarizations.
Advanced interferometers will improve sensitivity by a factor 3 in a 3-5 years time-scale.
Current technologies and facilities could allow a further improvement in sensitivity by a factor 2
New facilities and significant technology development will be required for additional improvements

## Slide 55
Sources of Gravitational Waves
mass-Dipole Moment, [M R], is proportional to the position of the Center of Mass of the system:
      forbidden dipolar emission of GWs from isolated systems
leading order emission is mass-Quadrupole Moment , [M R2] :
  GW Luminosity is driven by
most promising sources: binary compact systems of Neutron Stars and Black Holes at relativistic speed
generating detectable GWs as in Hertz-like experiment is not feasible
dimensional
argument

## Slide 56
GWs from compact binary coalescences
Coalescences of Binary Black Holes as GW150914 give the simplest signal in GR
Inspiral phase: GW emission described by quadrupole formula. Analytical solution available.
GW standard candle.
Last inspiraling cycles enter the bandwidth of earth-based detectors.
Merger:
only numerical solution available.
Ringdown:
perturbative and numerical solutions
general relativity in strong field highly non-linear regime
NS would bring more physics
(Equation of State, ...)

## Slide 57
PSR1916+13 versus GW150914
Waveform
Hulse-Taylor Pulsar: 30 years of observation time
GW150914: 0.2 s observation

## Slide 58: generic transient searches
Robust search strategy: coherent network data analysis is mandatory to separate
  e.g. a likelihood  maximization of signal model vs noise model
  gives
  max{ ln() } = coherent energy + incoherent energy
  coherent energy in different detectors (consistent with a GW excitation)
GW plane
  incoherent energy (estimate of independent noises of detectors)
Null space
  cross detectors terms
  single detector terms
In general burst methods recover the entire energy (Signal to Noise Ratio)
of the signal, but their background is polluted by non Gaussian outliers and need more effort to achieve highest significance

## Slide 59
Quantum noise in detectors
Quantum noise
(shot) dominated
Next steps increase the detector input power up to 200 W (125 W for Virgo).
This means 500 kW of in cavity power.
Problems could arrise from photo-thermal effects (thermal lensing and nonequilibrium thermal noise) and dynamical instabilities
Is there an alterative to the high power?
High power operation is one of the most critical issues of the Advanced detectors