## Slide 1: DANSS JINR (Dubna) + ITEP (Moscow) + … Detector of the reactor AntiNeutrino based on Solid-state Scintillator
V.Egorov (DLNP JINR, Dubna)
Notes: The DANSS project is devoted to development and creation of a neutrino detector in order to perform neutrino reactor diagnostics and to search for short-range neutrino oscillation to a sterile state.

## Slide 2
Normally, to detect neutrino one needs 1 ton of LS
Flammable
Explosive
Caustic
Toxic
Volatile
Instead, we use
polystyrene-based
plastic scintillator
(highly segmented)

LS ≡ Persona non grata

## Slide 3
25 X-Modules
25 Y-Modules
2500 independent scintillator strips
Modular structure provides 3d pattern of each IBD event
Total sensitive volume = 1 m3 (1.1 ton)
Notes: The detector consists of 2500 independent scintillator strips combined to 50 modules with total volume of 1 m3. High segmentation provides 3-dimensional space info of each event which makes the IBD signature more strong and thus suppress background.

## Slide 4
Core of
ВВЭР-1000
Techn. room A336
just under reactor
9 m only!
5 1013 /cm2/s
Cooling Pond
Overburden
(reactor, building, shielding, cooling pond, etc.):
~50 m of water eq.
Reactor building of the B-320 project
Notes: The detector is located just below the 3 GW power reactor (показать). Such position provides high neutrino flux and massive overburden against cosmic neutrons being the main background source

## Slide 5
Oct 2015
I.Zhitnikov
Notes: Here you can see mounting of the strips in the room under reactor

## Slide 6
Notes: Then it is surrounded with composite neutron- and gamma-shielding and muon veto.

## Slide 7
Up: L=10.7 m 2.0 days
Md: L=11.7 m 2.3 days
Dn: L=12.7 m 2.7 days
on-line moving (t=4 min)
20 tn
Notes: The detector is mounted on a movable platform. In 4 minutes it can be moved by 2 meter, so that the distance to the center of the reactor core is varied on-line within this range (показать). One-week measurement cycle includes 2 days in Up position, 2 days in Middle and 3 days in Down position. So, we measure evolution of the neutrino spectrum with distance, thus avoiding main systematic errors.

## Slide 8: Background monitoring
HPGe and “MuMeter” measurements
Four NaI (3’x3’): 1 inside + 3 outside the DANSS shield
no (ON – OFF) visible difference
Three 3He neutron counters: 1 inside +2 outside the shield
Φn = 0.57 outside shld (OFF)
Φn = 300.4 outside shld (ON)
Φn = 0.03 inside shld (OFF)
Φn = 0.04 inside shld (ON)
Φn = 6.0 plein-air
Notes: Spectrometer has several additional monitors of neutron and gamma background installed inside and outside the shielding.

## Slide 9: Calibration with 60Co, 22Na, 137Cs, 248Cm
Teflon capillary
Time (Prompt – Delayed), μs
IBD time distribution
Notes: Calibration system allows to introduce tiny gamma- and neutron r/a sources inside the detector body.

## Slide 10: Calibration with cosmic muons
Notes: Energy calibration is performed permanently with cosmic muons – here you can see their tracks.

## Slide 11
arXiv:1606.02896 [physics.ins-det]
Mar 2016
The crew on board
Notes: Finally, it looks like this. A part of the crew is on board, ridind up and down. Detailed description of the detector is given in this paper (показать)

## Slide 12
Distribution of Time (Prompt – Delayed)
Perfect agreement with IBD expectation!
Notes: Distribution of time between detection of positron (Prompt) and neutron (Delayed) signals. Left part reflects neutron moderation, right exponent is neutron capture by Gd, and flat component corresponds to random coincidences. Black curve was measured when the reactor was stopped; this is our background.

## Slide 13
“Bump” at ~5 MeV : Daya Bay, Double Chooz, NEOS
NEOS
Notes: Before speaking about energy spectra I remind you that in several neutrino experiments (Daya Bay, Double Chooz and NEOS) they see a strange “bump” around 5 MeV which is absent in the models.

## Slide 14
Energy spectra of the Prompt signal = e+ (+γ511)
Notes: Here our spectra in Up-Md-Dn positions are shown; black is the BG which is already subtracted. The spectra have been collected during 260 days and consist of ¾ million IBD events. As you see, in our spectra there is NO any irregularities.

## Slide 15
Energy spectra in log scale
No “bump” presents!...
Notes: It is the same, but in LOG scale. Usually, any LOG scale makes all asymmetries or irregularities more visible. But even now we do not see a “bump”. Probably, it was a property of LS or analysis procedure…

## Slide 16
normalization
Before recharge:
Lower CR
After recharge:
Higher CR
DANSS data taking
2016
2017
Fuel recharge
Notes: We tried to use our spectra for the reactor monitoring. As it was expected, at the end of campaign the neutrino CR becomes lower, and at the beginning higher, the difference is about 10%, which reflects a change in the fuel composition. We need to investigate it in details within 1-2 full campaigns, i.e., within 3 yr.

## Slide 17
One of the recent evaluations: arXiv:1709.04294[hep-ph]
The most probable set of
the oscillation parameters
“French” Best Fit
Notes: Now about oscillations. The shadow area corresponds to a Region-Of-Interest evaluated in this recent work, and the star shows the best fit of our French colleagues claimed the Reactor Anomaly.

## Slide 18
Notes: Other experiments also try to see Short-Range Oscillations. For instance, Daya Bay excludes this region

## Slide 19
NEOS excluded (99%CL)
Notes: NEOS excludes this white region (the star = their best fit). Both Daya Bay and NEOS results are model-dependent, and we know that their model (or their analysis) is not correct. (I mean the problem of “bump”)

## Slide 20
PRELIMINARY
(just to cheer up our colleagues
and excite our competitors.
Do not quote, pls)
Notes: Within the DANSS project we perform analysis by 2 groups: ITEP and JINR, they analyze info from 2500 SiPMs, we – from 50 PMTs. Both do not use any model and search for deviation of the spectrum shape as a function of distance. Here I present the JINR results. As you see , we exclude all this green area at 99%CL, and our best fit is close to one obtained by NEOS. I would like to stress that this figure is VERY PRELIMINARY, not checked and not adopted by our collaboration. I give it …

## Slide 21: Summary
DANSS has been started in operation in Apr 2016.
The crew managed to overcome technical problems
Regular data taking since Oct 2016.
Data available for analysis since Jan 2017.
DANSS data taking and analyses: in progress
Neutrino flux and energy spectrum reflects the reactor fuel composition
No excess found in 5 MeV region for present data.
A large fraction of allowed sterile oscillation parameters region is excluded by preliminary results.
Expect JINR+ITEP consensual result of analysis mid 2017

## Slide 22: Perspectives for 2019-2021
Continue the DANSS data taking (E-spectrum vs distance) to widen the region of sterile oscillation parameters.
Continue the DANSS data taking (E-spectrum vs campaign time) to provide the reactor monitoring.
Combine the JINR-NEOS-Neutrino4 efforts to reach 5m-18m distances at SM3
Create two S3 detectors (JINR + ÚTEF ČVUT)
Notes: As the apparatus is operating, it is obvious to take data as long as possible (1,2).
(3): As I told, to expand the sensitive area one needs to increase statistics and suppress BG.
Another way is to widen the range of distances.
(4): We continue our R&D and plan to…

## Slide 23
NEOS @ KR (finished)
The NEOS experiment is finished now;
they did what they could (L = const. = 24m)
Now they propose co bring their LS and their equipment to Russia and use other conditions at other site.

## Slide 24
Reactor SM3
100 MW
35×35×42
235U 95%
Neutrino4
“NoName”
N4
+
JINR
+
NEOS
Limited JINR contribution to the “Triple Entente” :
Muon Veto, (international) mediation
Notes: The idea of A.Serebrov is to build a new spectrometer similar to Neutrino4 in Dimitrovgrad, using experience of DANSS and NEOS. We agree for LIMITED participation in such Triple Entente…

## Slide 25
NUVIA.CZ
80 plates
(optimized)
20 cm
40 cm
1 cm
19 WLS fibers
Sensitive volume: 64 dm3
Expected CR: 300 /day
Resolution: 80 p.e./MeV
R&D in progress (light collection, sensors, passive/active shielding, ACQ, etc.)
8(16) PMT H13543-20
80 PMT H10721-20 or
80 MPPC S13360-3075PE
or …
S3

## Slide 26: Temelin NPP: 2 x ВВЭР-1000
S3

## Slide 27: (backup slides) 
The end
…to be continued…
Notes: That is all, thank you, and I hope that this thriller will be continued.

## Slide 28: Detection idea: Inverse Beta-Decay in plastic scint. cells interlayed with Gd
1 cm
Notes: Высокая сегментация позволяет очень четко выделять сигнатуру IBD-событий и подавлять фон.

## Slide 29: Detection idea: Inverse Beta-Decay in plastic scint. cells interlayed with Gd
p +  n + e+
1 cm
Notes: Высокая сегментация позволяет очень четко выделять сигнатуру IBD-событий и подавлять фон.

## Slide 30: Detection idea: Inverse Beta-Decay in plastic scint. cells interlayed with Gd
e+
 ≈ 10-20 s
1 cm
n
Notes: Высокая сегментация позволяет очень четко выделять сигнатуру IBD-событий и подавлять фон.

## Slide 31: Detection idea: Inverse Beta-Decay in plastic scint. cells interlayed with Gd
157Gd(n,) E=8 MeV =255000
1 cm
n
Notes: Высокая сегментация позволяет очень четко выделять сигнатуру IBD-событий и подавлять фон.

## Slide 32
Nov 2015
Notes: Here all sections are already mounted and equipped with front-end electronics and cables.

## Slide 34: IBD total rate vs. effective distance (burning probability is taken into account)
IBD flux follows perfectly the 1/REFF2 dependence.
Effective distance REFF takes into account real spatial distribution of detection efficiency and the reactor core burning profile, which is monitored permanently by the KNPP (see the right figure).
The time variation of reactor core burning profile has been also taken into account in sensitivity estimations.
UP
MIDDLE
DOWN
R
H
An example of the reactor core burning profile vs. time
Core center

## Slide 35
Fortune-telling with cartomancy
and
chiromancy
7/7
24/24
Notes: After fortune-telling…

## Slide 36
Notes: … and MC divination ...

## Slide 37
Oscillation parameter set available for DANSS
Shorter distances
Longer distances
Higher statistics, lower BG
Notes: … we obtained an area which in principal could be checked with DANSS. To expand the area upwards one needs to use shorter distances, downwards – longer distances, towards lower amplitudes – higher statistics and lower BG.

## Slide 38
Notes: Within the DANSS project we perform analysis by 2 groups: ITEP and JINR, they analyze info from SiPM, we – from PMT. Both do not use any model, searching deviation of the spectrum shape as a function of distance. Here I present the ITEP results,

## Slide 40: Data taking with DANSS detector requires:
Permanent presence of 2 physicists at KNPP, Udomlya, Tver reg. Regular one-week shifts (living expenses + transportation by 2×285 km)
Maintenance and repair of the spectrometer equipment (if needed).
Episodic visits of 2-3 engineers (once per 2-3 months)
Assistance of local KNPP personnel
Rent of an office in Udomlya
total expenses: $30k/y

## Slide 41: Participation in “Triple entente” (Neutrino4 + NEOS + JINR) requires:
Purchase 200 muon-veto detectors (Rykalin, Protvino) $130k
Intermediation between PNPI.RU + NIIAR.RU and CUP.KR
Custom formalities, visits, transportation, accommodation, etc. $ 30k
Data exchange, analysis, discussions, collaboration meetings $ 10k
total expenses: $170k

## Slide 43: Creation of two S3 detectors requires:
S3 #1 (ÚTEF ČVUT, Prague)
8+2 PMT H13543-20 $25k
80+10 MPPC S13360-3075PE $10k
MPPC front-end electronics $30k
VME crate + ACQ electronics $30k
ACQ PC + data disks $ 4k
80 scintillator plates (NUVIA) $10k
WLS fibers (1.2 km) $ 5k
32 sc. plates (Mu-veto) $40k
32 PMT H10721-20 (Mu-veto) $16k
CHB + Pb (shielding) $60k
Cables, connectors, etc. $10k
Mechanics $15k
Transportation, mounting, etc. $15k
$270k
S3 #2 (DLNP JINR, Dubna)
8+2 PMT H13543-20 $25k
80+2 PMT H10721-20 $40k
PMT front-end electronics (?)
VME crate + ACQ electronics $30k
ACQ PC + data disks $ 4k
80 scintillator plates (NUVIA) $10k
WLS fibers (1.2 km) $ 5k
32 sc. plates (Mu-veto) $40k
32 PMT H10721-20 (Mu-veto) $16k
CHB + Pb (shielding) $60k
Cables, connectors, etc. $10k
Mechanics $15k
Transportation, mounting, etc. $15k
$270k

## Slide 44
Neutrino spectrometer: |  |  | DANSS |  |  |  | S3 (#2) |  |  |  | 
JINR staff member |  |  | type of activity |  |  |  |  |  |  |  | 
Name | Position | % of participation | Maintenance | Regular shifts | Data analysis | MC simulations | R&D | Mounting | ACQ electronics | Data analysis | MC simulations
V.V. Belov | jun. | 100 | + | + | + |  | + | + | + | + | 
V.B. Brudanin | dep. | 10 | Management of all works |  |  |  |  |  |  |  | 
V.G. Egorov | sect. | 100 | Management and participation in all works |  |  |  |  |  |  |  | 
M.V. Fomina | jun. | 100 |  |  | + | + | + | + |  | + | +
S.V. Kazartcev | jun. | 100 | + | + |  |  | + | + | + | + | 
A.S. Kuznetsov | ing. | 100 | + | + |  | + | + | + | + | + | +
D.V. Medvedev | sci. | 30 | + | + |  |  |  | + | + |  | 
A.G. Olshevsky | dep. | 5 | Management of some works |  |  |  |  |  |  |  | 
I.E. Rozova | jun. | 50 |  |  | + |  | + | + | + |  | 
N.S. Rumyantseva | jun. | 30 |  |  | + |  | + | + | + |  | 
Ye.A. Shevchik | ing. | 30 | + | + |  |  | + | + | + | + | 
M.V. Shirchenko | sci. | 50 | + | + |  |  | + | + | + |  | 
Yu.A. Shitov | sen. | 50 |  |  | + | + | + | + | + |  | +
I.V. Zhitnikov | jun. | 100 | + | + | + | + | + | + | + | + | +
D.R. Zinatulina | jun. | 50 |  |  |  |  | + | + | + |  | 
The DLNP JINR participants : continuation of works with the DANSS detector (regular shifts, maintenance, data analysis); development, creation and exploitation of the S3 detector at KNPP (R&D, mounting, electronics, data analysis).

## Slide 45
The ITEP and LPI RAS participants (Moscow) : I.G.Alexeev, M.V.Danilov, A.S.Kobyakin, I.V.Machihilyan, D.N.Svirida, N.A.Skrobova, A.S.Starostin - continuation of works with the DANSS detector (data analysis, MC simulations).
The ÚTEF ČVUT participants (Prague): M.Špavorová, L.Fajt, R.Hodák, Z.Hons, F.Mamedov, P.Přidal, E.Rukhadze, I.Štekl, J.Vlášek - development, creation and exploitation of the S3 detector at Temelin NPP.