## Slide 1: Joint institute for nuclear research Flerov laboratory of nuclear reactions
New beam diagnostic system for MASHA setup
NEC 2015 BUDVA
Stefan Motycak

## Slide 2: CONTENT
Introduction
Time of flight energy measurement
MCP + Si detector energy measurement
Beam current measurement
Conclusion

## Slide 3: Introduction
Abbreviation MASHA is from words Mass Separator of heavy atoms.
MASHA includes:
Beam diagnostic system
Target
Hot catcher
ECR ion source
Magnetic optic
Data acquisition system

## Slide 4: Introduction
MAss
Separator of
Heavy
Atoms
BEAM
Detectors
ECR Source
Hot
Catcher

## Slide 5: Introduction
Main goal of MASHA separator:
Synthesis super heavy elements
Measure properties of atoms (Mass, Decay chain, cross section, etc.)
Diagnostic system:
Online beam diagnostic system
Offline beam diagnostic system
Beam diagnostic system is important for:
Atoms synthesis
Cross section measurement
Beam diagnostic system includes:
Energy measurement
Beam intensity measurement
Beam particle mass measurement
Beam trajectory
Beam shape (cyclotron diagnostic)

## Slide 6: Time of flight energy measurement
Pick up detector
Scheme of pick up detectors
Pick-up detectors arrangement

## Slide 7: Time of flight energy measurement
Signal from pick up detectors

## Slide 8: Time of flight energy measurement
Spectrum
Time - Energy
Spectrum
Time - Energy

## Slide 9: Time of flight energy measurement
Time calibration scheme
Amplifier adjustments

## Slide 10: MCP + Si detector energy measurement
MCP Detector
Microchannel plates and semiconductor detector arrangement
Electronics scheme for microchannel plates and semiconductor detector

## Slide 11: MCP + Si detector energy measurement
MCP + Si detector graph

## Slide 12: Current measurement
Beam current measurement was based on Faraday cup situated before target.
Online beam intensity measurement collected electrons emitted from target.

## Slide 13: Conclusion
New beam diagnostic system improve MASHA setup and its probability to synthesis super heavy elements.
Nuclear cross section is determined precisely by new energy and beam intensity measurements.
Pulse shape analysis enable cyclotron diagnostic.

## Slide 14: THANK YOU FOR ATTENTION