## Slide 1
EСal Status
Dubna
October 2020

## Slide 2
Protvino
Production started
To the April 2021 - 440 modules
ТЕНЗОР
Production started
To the April 2021 - 250 modules
8 sectors out of 25
2
Modules production

## Slide 3
China production site
China Contribution
Modules production (25%)
Analog boards (HV + amp.) production (50%)
Institutes：
Tsinghua University (60%)
Huzhou University
Shandong University (20%)
Fudan University (10%)
University of South China (10%)
3
If so! 16 sectors could be assembled
Modules production

## Slide 4
Modules production

## Slide 5
Electronics
ADC64 - 192 boards
for 8 sectors in production
HV+amplifier+SlowControl – 800 boards
for 8 sectors in production
Production plans will be corrected when China production rate will be demonstrated

## Slide 6
Cooling system for ADC64
Internal part – cold insertion mounted inside barrel
Vacuum pump station
In production

## Slide 7
Half-sector Container
in production
First container arriving end 2020
Slipway to assembly half sector
In production
Ready - end 2020

## Slide 8
Movable electronics box

## Slide 9
Movable electronics box

## Slide 10
Movable electronics box

## Slide 11
8
8
Assembly Time line

## Slide 12
Calibration
Cosmic muons may be used to equalize signals from all channels
Side view
Front view
Or
Self trigger mode of ADC64
used to register “longitudinal” or
“transverse” muons
Direct but low efficient method
About 1 week to collect enough events
in each channel
2. Not direct - Require some assumptions
High statistics – 10 hors is enough
Longitudinal muons
Transverse muons

## Slide 13
Transverse muons
Correction factor distribution
Standard deviation from average is below 10%
For selected muons distributions of signals for
the 16 channels of one module

## Slide 14
Comparison of the modules with different geometry
Results based on the pilot
modules and will be repeated
Transverse muons

## Slide 15
25
15
5
62.0
61.6
61.2
60000
56000
52000
64000
0 20 40 60 80 100
t°(deg)
HV (v)
ADC
counts
K=0.065 v/deg
Longitudinal muons

## Slide 16
2020
2019
50 MeV e-
17 MeV
t1
t2
t3
t4
t5
t6
t7
t8
Δt=ti-tj
Time resolution
with transverse
muons
σ/750 psec

## Slide 17
DAQ dynamic range
ADC64 limit
1,6 GeV Electrons form DESY
0,4%
GeV

## Slide 18
Beam test –Troick 2019

## Slide 19
Processed by ITEP group
!

## Slide 20
Beam test –Troick 2019

## Slide 21
1. Production
Modules production started in Russia. About 700 modules must be produced before autumn 2021.
China is ready to start production in the few production areas.
16 sectors out of 25 may be ready to the first run
Electronics boards are in production
Cooling system is designed, built and tested. Production of cold insertions is started
Carbon made supporting frame is in the production
Sectors assembling procedure is under development
Design of movable electronic system is not yet finished. Test of elements are going on
Assembling can start autumn 2020.
2. Tests
Tests of produced modules are going on by means of cosmic muons. Few test on the electron beam are expected when beam become available
Procedure of modules mass tests and calibration is developed
Time resolution for extremely low signals is studied and found in agreement with previous expectations
Increase of dynamic range of electronics is proposed