## Slide 1: Development of an information system for a radiotherapy complex
Kotina E.D.¹, Gavrish Yu.N. ², Ovsyannikov D.A. ¹, Tumanov I. A. ¹
¹Saint-Petersburg State University
²JSC "NIIEFA "

## Slide 2
LINEAR ACCELERATOR OF ELECTRONS FOR RADIATION THERAPY
Ellus-6M
Information system (IS) for a radiotherapy complex based on a linear accelerator

## Slide 3: GENERAL SCHEME OF THE RADIOTHERAPY PROCESS
Medical Information System of the clinic (MIS)
Radiation Therapy
Verification
Diagnostics
Topometry
Planning
The information system is designed to support the patient's treatment within the radiotherapy department.
The IS provides the network interaction of the hardware (accelerator, etc.) and software (planning system, etc.) of the radiotherapy department and communication with the Medical Information System (MIS) of the clinic.

## Slide 4: Information System (IS)
1. IS - a software product for providing support for patient treatment within the radiotherapy department, delivered within the radiotherapy complex.
2. The IS provides the network interaction of the hardware (accelerator, etc.) and software (planning system, etc.) of the radiotherapy department and communication with the Medical Information System (MIS) of the clinic.
3. The IS has a modular structure. The core of the IS is a database and a web-server with access to the main modules using the web-interface.
4. Depending on the composition of the RT-complex it is possible to implement modules as separate applications for workstations (graphic station, ...).
5. The data in the IS are closed (the treatment plan and all the original images and reports are stored).
DESCRIPTION OF THE SYSTEM

## Slide 5: Information System (IS)
Administration of patient data (patient card, ...).
Interaction with the MIS of a medical institution.
Storage of the archive of diagnostic and therapeutic data (treatment plans, reports, images for planning, for laying, verification in DICOM format, ...) - PACS.
Multilateral data exchange in DICOM format.
Authorized access of software and equipment users to information.
Keeping schedules of the specialists work , load planning department equipment.
Visualization of medical images in DICOM format of various types (CT, PET, SPECT, MRI).
Interaction with the hardware and software of the complex.
COMMON FUNCTIONS

## Slide 6: Information System (IS)
Management system database
Medical Imaging Storage System (PACS)
User administration module (registration, access rights, ...)
Patient administration module (creation, maintenance, ...)
Module of schedules of specialists and equipment
Module for interaction with MIS (communication setup, data selection from MIS for input, selection of data to be transmitted to MIS)
Module (s) of network interaction with the components of the complex (for example, the connection of the accelerator control PC with the IS - conversion of the internal formats of the accelerator into DICOM and transmission over the network)
Module of image vizualization(DICOM-CT, NM, PET, SPECT, RT, ...)
STRUCTURE (MODULES) OF THE SYSTEM

## Slide 7: THE SCHEME OF COMPONENTS OF THE RADIOTHERAPY COMPLEX
Accelerator
Planning System
IS
MIS
Work station
Communication module
PACS
Graphic station
web-module
module
web-module
web-module
Web-module
СТ
PACS
Data base

## Slide 8
Processing of anatomical and topometric information
Initialization of dosimetry data
Planning
PLANNING SYSTEM (SCANPLAN)

## Slide 9
SPECT
SPECT/CT
PET
PET/CТ
PET/МRI
Data processing and vizualization
PROGRAM COMPLEX OF RADIONUCLIDE DATA PROCESSING

## Slide 10
DATA PROCESSING OF CARDIAC STADIES

## Slide 11
WORK EXPERIENCE
ST.PETERSBURG

## Slide 12
WORK EXPERIENCE
MOSCOW

## Slide 13
WEB Application (DICOM Viewer)

## Slide 14
Multiplanar reconstruction

## Slide 15
WEB Application

## Slide 16
WEB Application