## Slide 1
Scientific and Technical department of accelerators
FLEROV LABORATORY of NUCLEAR REACTIONS,
Joint Institute for Nuclear Research, Dubna, Russia
Vasiliy Semin
The Experimental Research
of Cyclotron DC-280 Beam Parameters

## Slide 2
Cyclotron DC-280

## Slide 3
Year | Total work time | Ions
2018 | First Beam | 84Kr
2019 | 3377 | 12C, 40Ar, 48 Ca, 84Kr
2020 | 3705 | 40Ar, 48 Ca, 48Ti
2021 | 3794 | 48 Ca, 48Ti , 52Cr

## Slide 4
The test of thermal loads resistance
the diagnostic and safety elements of the DC-280.
Accelerated Ion beam power is 3,5 kW
scheme of testing bench
Faraday cup after testing
List of tested elements:
The Faraday cup
The Aperture diaphragm
The Protect window
Scheme of thermo-control placing
Test of Faraday cup

## Slide 5
Ion beam current. Faraday Cup
Map of magnetic field in Faraday cup
Scheme of formation of magnetic field
Faraday cup view
Schema of Faraday cup head
Centre of a beam line

## Slide 6
48Ca+10
Spectrum of Ions from DECRIS-PM (48Ca)
Analysis of production ions beam from ECR source.
IM-90
IFC-1

## Slide 7
Ion beam current. Inner moving probe.
Schema of places of diagnostic elements on DC-280
Schema of inner moving probe
Schema
of head part
of the probe
Mark on Ta foil
from accelerated ions of Kr

## Slide 8
Ion beam current. Inner moving probe.
25 мм
5 мм
Moving
Multi Lamellar probe.

## Slide 10
ILF3
HV
Transport of 84Kr+14 beam through injection system
Ion beam profile. Luminafor + Camera
~40
~40
~40
~30
75
ILF 1
ILF 2
ILF 3
ILF 1
ILF 2
ILF 3

## Slide 11
Ion beam profile. The ionization profile monitor
The schema of ionization profile monitor:
Е1, Е2 vectors of the electric field strength between the plates of the extractor and the analyzer, respectively;
U potential difference between the scanner electrodes;
α is the angle at which the analyzer electrodes are rotated with respect to the scanner electrodes;
x, y coordinates of the point of electron−ion pair production on a plane that is perpendicular to the beam axis.

## Slide 12
Ion beam profile. The ionization profile monitor
4-section loss monitor
Ø 60 mm

## Slide 13
Energy. TOF system
Measured energy of 48Ti10+
Signal from Pick-Up
after amplifier

## Slide 14
Phase moving in cyclotron. Inner Pick-Up electrodes.
10 couple of Pick-Up electrodes
Square 70 x 70 mm2
Second harmonic filter
40Ar+7 F=8.51 Hhz;
E=5.2 MeV/n

## Slide 15
Conclusion and plans to development
Non-destructive control of beam intensity
Commission of phase moving monitor system
evaluation of bunch length
Evaluation of emittance of ion beam

## Slide 16
Notes: New experimental hall is in the stage of building completion

## Slide 17
В ЛЯР ОИЯИ создается ускорительный комплекс для прикладного использования ионных пучков на базе циклотрона ДЦ-140
Технические параметры ДЦ-140:
Магнитное поле в центре 1.377 - 1.554 Тл;
Частота ускорения ионов: 8.452 МГц;
Ускоряемые ионы элементов: O – Bi;
Инжекция ионов от ЭЦР- источника;
Энергии ионов:
2.124 МэВ/нукл. (A/Z=7.35 – 8.25)
4.8 МэВ/нукл. (A/Z=4.9 - 5.5)
Эскиз комплекса ДЦ-140
Циклотрон ДЦ-140
Канал тестирования электронных компонентов ~3000 час/год.
Канал радиационного материаловедения ~1500 час/год;
Канал облучения полимерных пленок ~1500 час/год;
2
1
3
Планируемое использование пучков ДЦ-140:
105 ÷ 1012 ионов/с