## Slide 1: The Results Obtained on “Radiobiological Stand” Facility, Working With the Extracted Carbon Ion Beam of the U-70 Accelerator. Report FRB06
Vladimir Pikalov
NATIONAL RESEARCH CENTRE «KURCHATOV INSTITUTE»
Institute for High Energy Physics
of National Research Centre «Kurchatov Institute»

## Slide 2
25 channel. Placement of magneto-optical equipment

## Slide 3
Channel head 25
TV box
vacuum chamber
corrector
quadrupoles

## Slide 4
Сhannel 25 target station
Two target boxes with 4 Be targets in each

## Slide 5
Extraction of carbon beam (different energies)

## Slide 6
Biological shield of the Radiobiological Stand
radiobiology area
collimator № 1
medical module

## Slide 7
Radiobiology area
experimental zone
chiller
electromagnetic scanning system

## Slide 8
Medical module
6-axis table
water phantom with 3D movement system
collimator № 1
laser centralizer

## Slide 9
Electromagnetic scanning system
dipole magnets
Power supplies:
Output current amplitude ±700A
Output current frequency 20-60 Hz
Load inductance ≤0.42 mH

## Slide 10
Examples of load current waveforms

## Slide 11
Dose distribution in the irradiation area
spiral
scanning

## Slide 12
Ripple filter
Al ripple filter 16 mm
alignment stand

## Slide 13
Bragg's Peak with a ripple filter
Water, mm
E=450 MeV/nuc

## Slide 14
Mosaic 256-cell plane-parallel ionization chamber
drawing

## Slide 15
Mosaic 256-cell plane-parallel ionization chamber
camera view without electronics
charge integrator module for 16 channels

## Slide 16
Screenshot of the program for the 256-channel ionization chamber

## Slide 17
Carbon ion beam composition. 300 MeV / nuc

## Slide 18
6-axis table. 3D model.

## Slide 19
6-axis table in the medical module
positioning accuracy ˂0.5mm
CT scanner deck

## Slide 20
Multitom Rax - Twin Robotic X-ray system for medical module

## Slide 21
New 26 channel with 3 medical modules

## Slide 22
26 channel 3D model

## Slide 23
Magneto-optical elements of the 26 channel
lens 220x75 mm
24,6 T/m
dipole
L=1.3 m
B=1,4 T
h=64mm

## Slide 24
6-axis table based on the KUKA robot

## Slide 25
Medical modules biological shield
Calculations performed using the FLUKA program.
Beam absorbers and biological shielding of medical modules are designed

## Slide 26
Conclusion
Radiobiological Stand” Facility :
  works in continuous mode;
  according to the results obtained, 21 articles were published over the last 3 years;
  developed and implemented an electromagnetic beam leveling system (wobbler system);
  beam diagnostics tools were developed and manufactured;
  now has slow extraction of 200, 250, 300, 350, 400, 455 MeV per nucleon of 12C6+ beam for radiobiology and future prior-to-therapy studies.
  On the basis of the government decree No. 287 of 04.16.2020, work is underway to design the Ion Radiation Therapy Complex.

## Slide 27
Thank you very much
pikalov@ihep.ru