## Slide 1
Efficiency of the detectors
Rumyantseva Nadya

## Slide 2
Source | Eu-152 | Y-88 | Co-60
Activity (day of measurement), kBk | 17.482 | 59 | 29.45
Time of measurement, s | 1502.36 | 2080.98 | 
For Th-232 & Au-197 (μ X-ray)
Number of μ in Th run – 5.3·107
Number of μ in Au run – 11·107
Number of decay in run = Number of μ in run · relative intensities
Number of decay in run = activity · measurement time · relative intensities
Total Efficiency = Content(integral) / Number of decay in run
Calculation of efficiency

## Slide 3
Y-88
Co-60
https://www.nndc.bnl.gov/nudat2/dec_searchi.jsp
Eu-152
Source 𝛾-lines used for calibrations

## Slide 4
https://arxiv.org/pdf/nucl-ex/0104030.pdf
Au-197
https://journals.aps.org/prc/pdf/10.1103/PhysRevC.17.1433
Th-232
Muonic X-rays used for calibrations

## Slide 5
Fit peaks from MB18B
Rumyantseva Nadya | OMC4DBD Collaboration Meeting | 19-20.04.2021
5

## Slide 6
Efficiency lines for MB18B
Energies (keV)
    Th: 1126.27, 1143.85, 1185.74, 3125.07, 6053.3
    Au: 869.9, 899.1, 2474.2, 5590.7, 5762.6
    Eu: 121.8, 244.7, 344.3, 411.1, 443.9, 778.9, 867.3, 964.1, 1085.8, 1112.1, 1408
    Co: 1173.2, 1332.5
    Y: 898.04, 1836.06
Rumyantseva Nadya | OMC4DBD Collaboration Meeting | 19-20.04.2021
6

## Slide 7
Number of decay in run = activity(Co-60) · measurement time · relative intensities · 0.82
Number of decay in run = activity(Y-88) · measurement time · relative intensities · 0.77
Number of decay in run = (Th-232) Number of μ in run · relative intensities · 0.26
Number of decay in run = (Au-197) Number of μ in run · relative intensities · 0.75
Corrected efficiency line for MB18B
Rumyantseva Nadya | OMC4DBD Collaboration Meeting | 19-20.04.2021
7

## Slide 8
Fit peaks from MB23A
Rumyantseva Nadya | OMC4DBD Collaboration Meeting | 19-20.04.2021
8

## Slide 9
Not corrected efficiency line for MB23A
Corrected efficiency line for MB23A
Energies, keV | Eff, 10-5 a.e.
296.5 | 311.7
352.6 | 276.4
372.3 | 265.9
381.4 | 261.3
386.3 | 258.9
389.4 | 257.4
439.9 | 235.7
472.2 | 223.9
1368.6 | 106.8
1633.6 | 94.1
2754.0 | 59.1
Energies, keV | Eff, 10-5 a.e.
296.5 | 312.9
352.6 | 278.4
372.3 | 268.2
381.4 | 263.7
386.3 | 261.4
389.4 | 259.9
439.9 | 238.8
472.2 | 227.3
1368.6 | 114.2
1633.6 | 101.9
2754.0 | 67.2
Preliminary results
Rumyantseva Nadya | OMC4DBD Collaboration Meeting | 19-20.04.2021
9
MB23A: corrected vs uncorrected efficiencies

## Slide 10
Efficiency lines for MB18B with μX-ray Mg-24
Energies (keV)
    Mg: 296.5
    Au: 899.1, 2474.2, 5590.7
    Eu: 121.8, 244.7, 344.3, 411.1, 443.9, 778.9, 867.3, 964.1, 1085.8, 1112.1, 1408
    Co: 1173.2, 1332.5
    Y: 898.04, 1836.06

## Slide 11
Efficiency calibration procedure has been developed using sources & muonic X-rays
Discrepancies between different sources has been observed. The reason is unknown.
Is correction can be used, how to validate?
It seems that usage of corrected efficiencies is ok for some analysis of Mg-24 data (comments from Dana?).
What can be done in order to improve the situation?
Rumyantseva Nadya | OMC4DBD Collaboration Meeting | 19-20.04.2021
11
Conclusion, Questions & Remarks

## Slide 12
Backup slides

## Slide 13
Total Efficiency of the detectors
totalEfficiencies[i] += Content / numberOfDecaysInRun
TF1 *fit = new TF1 ("func", "exp([0]+[1]*TMath::Log(x)+[2]*pow(TMath::Log(x),2.)+[3]*pow(TMath::Log(x),3.)+[4]*pow(TMath::Log(x),4.)+[5]*pow(TMath::Log(x),5.))")
Rumyantseva Nadya | OMC4DBD Collaboration Meeting | 19-20.04.2021
13

## Slide 14
Total Efficiency of the detectors w/o and with corrections
Rumyantseva Nadya | OMC4DBD Collaboration Meeting | 19-20.04.2021
14

## Slide 15
Fit parameters
Rumyantseva Nadya | OMC4DBD Collaboration Meeting | 19-20.04.2021
15