## Slide 1: BM@N Mainframe & Cooling
14.4.2021

## Slide 2: BM@N: New Cooling Plate Design
+ high heat transfer coefficient (HTC)
- long channels
  high
  high
for calculation of thermal properties:
area & power
cooling liquid

## Slide 3: Kinematic Viscosity: NOVEC vs H2O-Glycol
34% Monoethylenglycol
38% 1,2-Propylenglycol
freezing point
boiling point
H2O @ 20o C
x 10

## Slide 4: Adjustment to BM@N Requirements
cooling liquid: NOVEC 649
pressure loss: 1.3 bar
flow: 3 l/min
CBM setup with cooling liquid at gives an electronics temperature maximum => stable temp. of environment
10 kW CO2 + NOVEC plant would be ok