## Slide 1
Responses to the reviewer
Fig.1. Principle of positron source with positron moderation (monochromatization)
Fig.2. Energy spectrum of the 22Na isotope
Fig.3. The positron energy spectrum
of the moderated positron beam
Question “a”
regarding the efficiency of this device
with the relatively broad kinetic energy distribution
of the present positron source
Epositron , eV
Npositron , arb. units
Full width at half magnitude of positron energy spectrum (FWHM)
EFWHM = 2 eV

## Slide 2
Responses to the reviewer
Fig. 1b. Spread of positron arrival time at the target δτtarget(x) (ns) vs x = tentrance / T0
At LA = 20, 15, 12 см (the curves from top to bottom);
tentrance - positron time arrival at RF cavity,
T0 - period of RF 1-st harmonics of RF,
LA – distance between TG cavity and drift section.
Fig. 2b. Fourier parameters of Fourier transformation of the pulse function FU(x) for five first harmonics
E0 = 150 eV, LA = 12 cm, a0 = 213,76 B)
Fig. 4b. The functions ttarget(x) (solid curves from Fig. 1b) and target(x) (dashed curves for pulse function formed with three Fourier harmonics) (нс) E0 = 150 eV, LA = 15 cm (upper curves) and 12 cm (lower curves)
Question “b”
(b) about the way to achieve the high signal to noise ratio needed for good quality positron lifetime measurements.
Fig. 3b. Inverse Fourier transformation of the pulse function FU(x)
Answer: formation of forming voltage pulse with three Fourier harmonics allows one to form order positron flux with necessary accuracy.
The problem of signal-to-noise ratio will be resolved by gamma-photons coincidence method (positron annihilation in the target via para-Positronium state).