## Slide 1: ФЛЕРОВИЙ (Z=114) и МОСКОВИЙ (Z=115) на Фабрике СТЭ Переход к синтезу элементов c Z > 118 В.К. Утёнков / А.В. Карпов Лаборатория ядерных реакций им. Г.Н. Флерова
«Сверхтяжелые элементы», Дубна, 30 июня – 2 июля 2021 г.
ДЦ-280

## Slide 2
Cyclotron DC-280 Factory of superheavy elements
Beam of 48Ca
Intensity: 6∙1013 ions/s
Energy: ~300 MeV
Efficiency:
~50%

## Slide 3
DC-280
beam
48220 DSSD &
60120 SSSD
Digital and analog electronics
242Pu 24-cm target wheel 12 sectors
Gas-Filled Separator, DGFRS-2

## Slide 4
243Am+48Ca→291Mc*
24 days in Nov.-Dec. 2020
16 days in Jan.-Feb. 2021

## Slide 5
Results of the first experiment 243Am + 48Ca
E (MeV) | 243.9 | 240.9 | 239.1
Dose, 1018 | 8.0 | 2.2 | 2.3
N 288Mc/289Mc | 30 / 5 | 16 /1 | 9 / 0
I = 1.2-1.3 pmA ~ (7-8)∙1012 ions/s
Technical tasks:
Transmission
Background
Image size on detector
Systematics of charge states
Test of digital and analog data acquisition systems
Scientific tasks:
Excitation function for xn-evaporation channels
Decay properties
Сross sections for the pxn channel
EC branch for 288Mc and 284Nh

## Slide 6
Transmission
From 206Pb(48Ca,2n)252No test reaction: 557%
From 243Am(48Ca,2-3n)288,289Mc reaction:
Comparison of results at the same 48Ca energy
 | DGFRS @ U400 | DGFRS-2 @ DC-280
Target thickness, mg/cm2 | 0.37 | 0.43
Beam dose, 1018 | 3.3 | 3.4
No decay chains | 288Mc – 6 289Mc – 0 | 288Mc – 13 289Mc – 2
Yield | 1 | 1.8-2.1

## Slide 7
Background conditions
206Pb+48Ca 252No+2n (Cross section 0.5 mb)
Background suppression is 200+ higher at the DGFRS-2 than at DGFRS
Energy spectra of all the particles registered by MWPC (top blue line) and of 252No (bottom black line) nuclei produced in the 206Pb(48Ca,2n) reaction using separators DGFRS (a) and DGFRS-2 (b).
DGFRS @ U400
DGFRS-2 @ DC-280

## Slide 8
DGFRS, TASCA, BGS, DGFRS-2
Results of the first experiment
289Mc decay properties

## Slide 9
Results of the first experiment
EC?

## Slide 10
DGFRS, JINR
TASCA, GSI
BGS, LBNL
DGFRS-2, JINR
Results of the first experiment
288Mc decay properties

## Slide 11
First observation of a-decay of 268Db and new isotope 264Lr
ba (268Db) = 55 (+20-15) % T1/2 (268Db) = 16 (+6-4) h T1/2 (264Lr, SF) = 4.9 (+2.1-1.3) h

## Slide 12
Results of the first experiment
Excitation function
DGFRS, TASCA, DGFRS-2

## Slide 13
242Pu+48Ca→290Fl*
Completed in June 2021

## Slide 14
Preparation of experiment on chemistry of Fl and Cn Results of the experiment 242Pu+48Ca
E=242 MeV, Beam dose=1.1 10+19
N (287Fl / 286Fl) = 70 / 12
E=247 MeV, Beam dose=5.0 10+18
N (287Fl / 286Fl) = 3 / 15
I = 1.5 - 3.0 pmA

## Slide 15
Results of the first experiment 242Pu+48Ca
27
9
64

## Slide 16
Synthesis of new elements 119 and 120

## Slide 17
Synthesis of element 119: 249Bk+50Ti
s=0.05 pb,
ht=0.4 mg/cm2,
coll=0.7+,
Ibeam=3 pmA  1 event per month

## Slide 18
Synthesis of element 120
s=0.05 pb,
ht=0.4 mg/cm2,
coll=0.7+,
Ibeam=3 pmA  1 event per month

## Slide 19
Predicted cross sections for
synthesis of elements 119 and 120
50Ti + 249Bk
50Ti + 249-251Cf
54Cr + 248Cm
Test reactions are due

## Slide 20
244Pu+50Ti → 294Lv*
Preparation to synthesis of elements 119 and 120: 48Ca → 50Ti
V. Zagrebaev and W. Greiner
0.2-0.3 pb
G. Adamian et al.
0.1 pb
s=0.2 pb,
ht=0.3 mg/cm2,
coll=0.7+,
Ibeam=1.5 pmA  3 events per 2 months
245Cm+48Ca → 293Lv* (~3 pb)

## Slide 21
242Pu+50Ti → 292Lv*
238U+54Cr → 292Lv*
G. Adamian et al.
0.015 pb
s=0.015 pb,
ht=0.4 mg/cm2,
coll=0.7+,
Ibeam=3 pmA  3 events per 9 months
Preparation to synthesis of elements 119 and 120: 48Ca → 54Cr
245Cm+48Ca → 293Lv* (~3 pb)

## Slide 22
СПАСИБО ЗА ВНИМАНИЕ!