## Slide 1: Ladder assembly
Concept tool

## Slide 2: Components
CF ladder
Ladder end plate (ruby ball)
Modules
L-Legs
Glue
Cooling Boxes

## Slide 3: Sequence
Place CF ladder in mounting jig
Glue legs onto ladder
Grab sensor with tool
Place module on jig and glue sensor
Mount FEBs in cooling box
Mount CF ladder + cooling boxes on fixture
QA

## Slide 4: Tools
Module support
  manipulation
  positioning
  surface quality
Mounting jig
  Sensor positioning
L-Leg support/jig
  positioning
Ladder Fixture
  storage
  testing
  C-Frame mounting

## Slide 5: Questions concept tool
surface quality of holder
  avoid scratching the sensor surface
  metal (glass?)
positioning precision
  sensor
handling of module
L-Legs
  shape
  mounting of L-legs
  gluing legs

## Slide 6: Tests concept tool
hold sensor
leg mounting studies
  3D printed parts
  Milled tool
glue one dummy onto ladder
mount two sensors
mount module
extend tool for mockup

## Slide 7: L-Leg

## Slide 8: L-Leg
9
0.5
9
2
1.6
0.5

## Slide 9: L-Leg Sensor

## Slide 10: L-Leg Sensor Cable
1.35 x 2.00

## Slide 11: L-Leg

## Slide 12: L-Leg

## Slide 13: L-Leg

## Slide 14: L-Leg

## Slide 15: L-Leg

## Slide 16: L-Leg mounting jig high precision

## Slide 17: Positioning of L-leg

## Slide 18: Sensor Holder

## Slide 19: Sensor Holder
Milling
Lapping

## Slide 20: Sensor Holder

## Slide 21: Sensor Holder

## Slide 22: Sensor Holder

## Slide 23: Sensor Holder

## Slide 24: Concept tool

## Slide 25: Concept tool

## Slide 26: Concept tool

## Slide 27: Concept tool

## Slide 28: Concept tool

## Slide 29: Concept tool

## Slide 30: Concept tool

## Slide 31: further steps / Questions
cable length for FEB mounting in cooling box
holder for all sensor types
ladder fixture
  CF end plate
  cooling box
larger jig
  mockup
  long ladder

## Slide 32: Quality assurance
Optical survey
Electrical test
  LV
  Bias voltage: IV
Data acquisition
  Noise
  Signals
    Source

## Slide 33: Improvements for next iteration
Chamfer on all edges touching the sensor.
Holder structure for the leg mounting.
Gluing marks on the jig for placing the glue on the CF-ladder.
L-Leg shape.
L-leg vacuum holder made out of PTFE (Teflon).
Rail system for L-leg vacuum holder.
Sensor holder made out of stainless steel: better handling, easier surface treatment.
Adoption of L-Leg position.
Common jig position for mounting L-Legs and sensors
Grooves instead of holes in the sensor holder.

## Slide 34: Alternative L-Leg
9
0.5
9
2
1.5
0.5

## Slide 35: This method
pros
CF- Ladder tolerance x,z compensated
z-gap well defined
  defined amount of glue
cons
x-position of gluing
  Edge, guard ring?
  avoid by alternative leg
    order of gluing
    to be tested