## Slide 1: DESIGN FEATURES OF THE CYCLOTRON C-250 K.E. Smirnov, A.A. Akimova, O.V. Ananeva, Yu.N. Gavrish, A.V. Galchuck, D.V. Kirtsev, V.G. Mudrolyubov, Yu.K. Osina, Yu.I. Stogov JSC «NIIEFA», 196641, St. Petersburg, Russia
Speaker – Smirnov Kirill
XIV International Scientific Seminar in Memory of Professor V.P. Sarantsev
“Problems of Colliders and Particles Accelerators”
20 – 25 September 2022, Alushta, Crimea

## Slide 2: Basic requirements of the technical task
Parameter | Value
Type of accelerated parts | Protons
Beam energy, MeV | 30 – 250
Accelerated beam current, uA | Up to 5
Magnetic system | “Warm”
Number of beams of the transport system | 3
Pole diameter, mm | No more than 4 000
Electromagnet dimensions, mm | No more than 8 100x5 400x4 200
Weight of cyclotron, t | Not more than 850

## Slide 3: Separation of the energy range

## Slide 4: Main magnet of the cyclotron
Cyclotron MZI | Parameter | Cyclotron C – 250
8 100х4 000х4 300 | Magnet dimensions, mm | 8 100х4 000х3 600
860 | Weight of steel, t | 713
63 | Weight of copper, t | 35
4 000 | Pole diameter, mm | 4 000
80/300 | Air gaps, sector/valley, mm | 100/500
1 080 | Total number of parts | 1 400

## Slide 5: Design features of main magnet
1. The presence of sectors with high helicity

## Slide 6: Design features of main magnet
2. The presence of through holes for placing the rods of the accelerating system

## Slide 7: Design features of main magnet
3. Adjustment of the position of the magnetic plug

## Slide 8: Design features of main magnet
4. Top half-yoke lifting system

## Slide 9: Main coils
Parameter | Value
Diameter, mm | 5 350
Weight, t | 17
Number of turns | 200
Conductor type | Copper hollow conductor, 29x29 mm
Operating current, A | 900
Power of the main coils power supply, kW | 110

## Slide 10: Correcting coils
Parameter | Value
Number of correcting coils | 114
Power of the correcting coils power supply, kW | 120
Conductor type | Copper hollow conductor, 7x7 mm

## Slide 11: Accelerating system
Accelerating system of the MZI cyclotron

## Slide 12: Accelerating system

## Slide 13: Accelerating system
Parameter | Value
Number of resonators | 2
Operating frequency range, MHz | 24 – 33,2
Active lose power, kW | 52 – 32
Accelerating voltage, kV | Up to 85

## Slide 14: Electrostatic deflector

## Slide 15: Magnetic channels

## Slide 16: Stripper device

## Slide 17: In conclusion
To date, the problems of placing equipment in the vacuum chamber of the cyclotron have been practically solved;
A computer model of an electromagnet, design documentation for a magnetic circuit, an accelerating system, main and corrective coils have been developed;
Production of the main components and systems of the cyclotron began;

## Slide 18: Thank you for your attention
Smirnov Kirill
Chief project engineer, JSC “NIIEFA”