## Slide 1: Strip Si-plates simulation with scintillator trigger and data analysis at MiniSPD
Group № 1
Physics Weekly Meeting
24.05.2022

## Slide 2: MiniSPD stand

## Slide 3: Structure of MiniSPD
Trigger subsystem consists of
two (top and bottom) scintillators. Top: ScintPos[2] = 3 mm.
Bottom: ScintPos[2] = 931,5 mm.
Top scintillator
Bottom scintillator
Si
Si
Si

## Slide 4
TOP Scint
BOTTOM Scint
1
2
3
4
6
5
7
8
We pick out events when top and bottom scintillators trigger.
At that one, two or three Si-plates can trigger.

## Slide 5: Comparison between Monte-Carlo simulation (50000 events) results and experimental data from MiniSPD

## Slide 6
X3 | Right -> left | U3 | Left -> right
X4 | Left -> right | U4 | Left -> right
X5 | Left -> right | U5 | Right -> left
X6 | Right -> left | U6 | Left -> right
Numeration of strips for X and U plates (data file)
X3 | Left -> right | U3 | Right -> left
X4 | Right -> left | U4 | Left -> right
X5 | Left -> right | U5 | Right -> left
X6 | Right -> left | U6 | Left -> right
Numeration of strips for X and U plates (MC)

## Slide 7: Strip number distributions for X1, X2 plates
Monte-Carlo simulation of 50000 muons (~4000 triggered muons). Operation of two scintillator triggers.
Experimental data
(~4000 events)
X1 - good agreement
X2 ~ 100 channels
make enhanced noise

## Slide 8: Strip number distributions for U1, U2 plates
Monte-Carlo simulation (50000 muons). Operation of two scintillator triggers.
Experimental data
(~4000 events)
Almost good agreement
for I-st module

## Slide 9: Strip number distributions for X3, X4 plates
Monte-Carlo simulation (50000 muons). Operation of two scintillator triggers.
Experimental data
(~4000 events)
X3 - ~ half of the strips don’t work
X4 - good agreement, but there’re noise channels

## Slide 10: Strip number distributions for U3, U4 plates
Monte-Carlo simulation (50000 muons). Operation of two scintillator triggers.
Experimental data
(~4000 events)
U3 - noise channels
U4 - broken channels

## Slide 11: Strip number distributions for X5, X6 plates
Monte-Carlo simulation (50000 muons). Operation of two scintillator triggers.
Experimental data
(~4000 events)
Good agreement

## Slide 12: Strip number distributions for U5, U6 plates
Monte-Carlo simulation (50000 muons). Operation of two scintillator triggers.
Experimental data
(~4000 events)
U5 - ~quarter of channels make noise
U6 - almost agree

## Slide 13: Strip number distributions for X7, X8 plates
Monte-Carlo simulation (50000 muons). Operation of two scintillator triggers.
Experimental data
(~4000 events)
X7 - there’re noise channels
X8 - almost agree

## Slide 14: Strip number distributions for U7, U8 plates
Monte-Carlo simulation (50000 muons). Operation of two scintillator triggers.
Experimental data
(~4000 events)
U7 - almost agree, some noise channels
U8 - almost agree

## Slide 15: ADC for X-plates ( * - problem with electronics)
*
*
*
*

## Slide 16: ADC for U-plates ( * - problem with electronics)
*
*
*
*

## Slide 17: Set of lower registration threshold of ADC for MC sim.
The average value of ADC ~
the average value of energy deposition in a single strip,
the lower threshold of ADC ~
the lower threshold of energy deposition.
Using good plates (X1, X6, U2, U8) we get E_cut (the lower threshold)
30 keV < E_cut < 60 keV and its average value is equal ~ 55 keV.