## Slide 1: Resistive plate chamber (RPC) detector with B-10 for thermal neutrons
Petrova M.O.*
Bogdzel A.A., Milkov V.M., Bodnarchuk V.I., Daulbaev O., Bulatov K. V., A.A. Kurilkin
mbelova@jinr.ru
The XXVI International Scientific Conference
of Young Scientists and Specialists
24–28 Oct 2022
Dubna, JINR

## Slide 2
Tomography
Diffraction
Reflectometry
Most commonly used
neutronographic methods

## Slide 3: Neutron registration
3He + n ➝ p + 3H, 5328 b,
10B + n ➝ α + 7Li + γ ,
6Li + n ➝ α + 3H ,

## Slide 4: Resistive plate chamber

## Slide 5: First topology
HV ~ 2-3 kV
Flow mode C3H2F4 ~ 2-3
Thin entrance window 0.5 mm
Homogeneous field – multiplication immediately
The first electron will gain the most – because converter on the cathode

## Slide 6: Calculated conversion efficiency by Geant4

## Slide 7: Magnetron sputtering of thin films B4C
Dubna University
590±50 nm of B4C for 280 and 400 μm of glass-float
ESS Linkoping
0.5, 1 and 2 μm of B4C with ±10%
of deviation for 280 and 400 μm
of glass-float

## Slide 8
X-Ray (1,54A) reflectivity curves

## Slide 9: Energy spectrums
Measured by HPGe Canberra GC10021
Gamma-quanta
Charged particles
Calculated by Geant4

## Slide 10: Current status – close to first measuring

## Slide 11
mbelova@jinr.ru