## Slide 1: Spontaneous fission prompt neutron multiplicity distributions. Restoring techniques, its advantages and limitations.
Roman Mukhin
JINR FLNR, Dubna, Russia
AYSS-2022

## Slide 2: Spontaneous Fission process
Main characteristics of SF:
• Fragment mass distribution
• TKE spectrums of fragments
• Prompt neutrons multiplicity distribution
• Prompt gamma energy spectra and multiplicity distribution
Illustration from: Kowal, M. and Skalski, J. The Fission Barrier of Heaviest Nuclei From a Macroscopic-Microscopic Perspective

## Slide 3: Neutrons multiplicity as an information about fission process
• Average number of emitted neutrons helps to restore energy balance equation of the spontaneous fission process
• Variance of the emitted neutrons multiplicity distribution can be used to estimate variance of fragments excitation energy
• Neutron multiplicity distribution shape is able to point at possible exotic modes of spontaneous fission.
M. ALBERTSSON et al., PHYSICAL REVIEW C 104, 064616 (2021)

## Slide 4: Evidences of exotic SF modes
Symmetrical distribution – nothing exotic
Asymmetrical distribution
P. Mosat, et al., PHYSICAL REVIEW C 101, 034310 (2020)

## Slide 5: Experimental setup
• Velocity filter SHELS – electromagnetic separator
• Detecting systems:
  GABRIELA for spectroscopy
  SFiNx for Spontaneous fission

## Slide 6: Neutrons 3He detector array
• To detect:
  Neutrons
  Prompt gamma-ray of spontaneous fission
• What is measured
  Neutrons multiplicity
  Two coordinates of counter that registered the neutron
• Spontaneous fission identification:
  BGO detector to detect prompt gamma rays of spontaneous fission

## Slide 7: DSSD detectors box
• To detect particles emitted in decays or reactions of unstable nuclei:
  Evaporation residue in complete fusion reactions
  Alphas
  Betas and conversion electrons
  Protons
  Fission fragments
• What is measured:
  Energy
  Emission time
  Emission coordinates

## Slide 8: How detector affects the data
Dependence on the single neutron registration efficiency
Dependence on the data size

## Slide 9: Restoring technique
• Due to detectors efficiency is far from 100% the measured distribution is heavily distorted.
• Let’s assume that registered number of neutrons is a random variable that follows the binominal distribution.
  – maximum neutrons multiplicity
  – real prompt neutrons multiplicity distribution vector
  – detector response matrix
    – single neutron registration efficiency
  – measured prompt neutrons multiplicity distribution vector
  – direct solution of the problem
• Direct solution doesn’t make sense in most cases where the noise level (including statistical uncertainties) is quite high.

## Slide 10: Direct solution examples
845 224 s.f. events
1 357 s.f. events
Single neutron registration efficiency

## Slide 11: Regularization method
• The essence of the method is to use a priori information to find an approximate solution.
• Using a prior information:
  Distribution is smooth
  Distribution is flat at tails
• Regularization matrix:
• Regularized solution:
  – regularization parameter
  – uncertainties of regularized solution
R. Mukhin, et al., Physics of Particles and Nuclei Letters, 2021, V 18, 4, p 439

## Slide 12: Restoring examples

## Slide 13: Choice of regularization parameter
•Let’s define shape loss function as:
• We can choose regularization parameter as follow:
• There is a risk to oversmooth the solution

## Slide 14: Experimental results
•244, 248 Cm
• 252Cf
• 246Fm
• 250, 252, 254No
• 256Rf

## Slide 15: Why classic regularization is not enough?
Sample size = 250
Sample size = 500
Sample size = 1000
True

## Slide 16: Possible improvements
Adding an equation describing the variance:
• Finding variance is a nonlinear problem.
• We can transpose that to linear problem by adding all possible monomials of power of 2 as an independent variables
•
• After adding an information about mean and variance:
;
, , ,
Adding an equation describing mean value:
We will compare the next solution with a classic approach solution:
;
, ,
After adding an information about mean:
;
, ,

## Slide 17: Possible improvements
Adding an equation describing mean value:
There is no practically significant difference between methods results.
Adding an equation describing the variance:

## Slide 18: Bayesian approach
• Since we are looking for probabilities, why not use a probabilistic model?
• Bayesian models are often used in Data Science
• Practical examples show that Bayesian models work better than deterministic ones for small statistics
• It is possible to use more powerful prior information
• The Bayesian models are more complex than classical regularization technique
• We prefer to use beta-distribution prior (conjugated with binominal one)
• The technique still in progress.
Betta-distribution

## Slide 19: Summary and outlook
• Using restoring technique it possible to analyze not just moments of distribution (mean and variance) but shapes too.
• Using the direct solution from Least Squares Problem doesn’t make sense in most of cases because of noisy data.
• The regularization technique allows to catch the exotic modes of spontaneous fission but it is difficult to analyze them in details.
• The next complication of the regularization technique (adding an information about the mean and variance) doesn’t significantly increase a power of the method.
• The probabilistic reconstruction technique that based on Bayesian approach is under development.

## Slide 20: Thank you for your attention!
Contact: rmukhin@jinr.ru