## Slide 1: SFGD LED calibration system

## Slide 2
Total:
93 LGP modules
6x104 SiPM channels
7 LED per LGP module
LGP* modules
*Light Guide Plate

## Slide 3: The result of crosstalk

## Slide 4: LED* driver
8 boards
Number of channels - 12
NIM standard board
Interface - RJ45 – Ethernet UDP
Additional interface (MCB) - RJ45 serial Rx/Tx
Pulse width - 5ns – 600ns
Amplitude - 0 – 6.5V
*Light-emitting diode

## Slide 5: Test LGP prototype and LED driver
amplitude increase

## Slide 6
Signal vs pulse width
Signal vs amplitude
Amplitude and pulse width test

## Slide 7: Test LGP prototype with LED driver

## Slide 8: Test LEDs combination

## Slide 9: Iterations
Ver 0
Ver 1
Ver 3
DAQ control interface MCB
BGA FPGA
Power supply
NIM format
Signals
Led
Buttons
Connectors for LED

## Slide 10: Conference

## Slide 11: Plans
MAY
APR
MAR
FEB
JAN
DEC
NOV
OCT
SEP
AUG
JUL
JUN
Assembling and test PCB (ver 3)
Installation of the calibration system on the detector
Visit in JAPAN,
Integration calibration system
Rework firmware
Tests

## Slide 12: Thank you for your attention

## Slide 13: Backup

## Slide 14
Signal vs voltage
Signal vs pulse width

## Slide 15
Oscilloscope signals
Amplitude ~1740mV
Pulse width ~150ns
Input pulse – red, output pulse - yellow
Amplitude ~2080mV
Pulse width ~75ns
Input pulse – red, output pulse - yellow

## Slide 16: Test LGP light yield