## Slide 1
SPD cryogenic system
1
Nikiforov Dmitry

## Slide 2
Outline
Cryogenic system
Cryogenic equipment
2.1. Helium system
2.2. Nitrogen system
2.3. Other systems
3. Steps creation & costs
4. Conclusions

## Slide 3
Cryogenic system
3
Helium pipeline
Helium refrigerator
N2 pipeline
N2, Ar, CO2 pipelines
Cryogenic storage tanks

## Slide 4
2.1. Helium system
4
Refrigerator
Pipelines

## Slide 5
5
2.2. Nitrogen system
1
2
3
4
5
7
6
Cryogenic tanks platform
1 – Two storage tanks for LN2, 2 – Storage tank for LAr, 3 – Storage tank for LCO2, 4 – Evaporator for LAr, 5 – Evaporator for LCO2, 6 – Storage bottles, 7 – Equipment room.
Pipelines
Cryogenic line
LN2 – 120 m (rigid tube)
LN2 – 40 m (flexible tube)
Warm line
Ar – 100 m (rigid tube)
N2 – 100 m (rigid tube)
CO2 – 100 m (rigid tube)

## Slide 6
6
2.3. Other systems
- Vacuum system
- Pneumatic system
Diffusion vapor pump and pumping station with two foreline pumps

## Slide 7
7
2.3. Other systems
- Cryogenic system control

## Slide 8
8
3. Estimating the costs and power consumption of systems
 | Name of system | Costs, к$ | Power, kW
1 | Cryogenic plant | 3 330 | 2
2 | Helium pipeline | 500 | -
3 | Nitrogen system | 1 500 | 2
4 | Vacuum subsystem | 500 | 14
5 | Pneumatic subsystem | 50 | 3
6 | Cryogenic system control | 500 | 2
 | Total | 6 380 | 23

## Slide 9
Steps creation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
SPD | 2022 |  |  |  | 2023 |  |  |  | 2024 |  |  |  | 2025 |  |  |  | 2026 |  |  |  | 2027 |  |  | 
 | I | II | III | IV | I | II | III | IV | I | II | III | IV | I | II | III | IV | I | II | III | IV | I | II | III | IV
Cryogenic plant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Helium pipeline |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Nitrogen system |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Vacuum system |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Pneumatic system |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Cryogenic system control |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 |  | Technical task |  |  |  |  | Contract execution |  |  |  |  |  | Assembly & Test |  |  |  |  | Commissioning |  |  |  |  |  | 

## Slide 10
4. Conclusions
The cooling capacity, mass flow rate and working cycles of the cryogenic plant are calculated.
The development of technical tasks for a cryogenic plant and a platform for cryogenic storage tanks is in the active phase.
The work is carried out according to the plan.

## Slide 11
Thank for your attention!