## Slide 1: Spontaneous fission prompt neutron multiplicity distributions. Experimental studies and restoring technique.
Roman Mukhin
JINR FLNR, Dubna, Russia
AYSS-2022

## Slide 2: Spontaneous Fission process
Main characteristics of SF:
• Fragment mass distribution
• TKE spectrums of fragments
• Prompt neutrons multiplicity distribution
• Prompt gamma energy spectra and multiplicity distribution
Illustration from: Kowal, M. and Skalski, J. The Fission Barrier of Heaviest Nuclei From a Macroscopic-Microscopic Perspective

## Slide 3: Neutrons multiplicity as an information about fission process
• Average number of emitted neutrons helps to restore energy balance equation of the spontaneous fission process
• Variance of the emitted neutrons multiplicity distribution can be used to estimate variance of fragments excitation energy
• Neutron multiplicity distribution shape is able to point at possible exotic modes of spontaneous fission.
M. ALBERTSSON et al., PHYSICAL REVIEW C 104, 064616 (2021)

## Slide 4: Experimental setup
• Velocity filter SHELS – electromagnetic separator
• Detecting systems:
  GABRIELA for spectroscopy
  SFiNx for Spontaneous fission

## Slide 5: Neutrons 3He detector array
• To detect:
  Neutrons
  Prompt gamma-ray of spontaneous fission
• What is measured
  Neutrons multiplicity
  Two coordinates of counter that registered the neutron
• Spontaneous fission identification:
  BGO detector to detect prompt gamma rays of spontaneous fission

## Slide 6: DSSD detectors box
• To detect particles emitted in decays or reactions of unstable nuclei:
  Evaporation residue in complete fusion reactions
  Alphas
  Betas and conversion electrons
  Protons
  Fission fragments
• What is measured:
  Energy
  Emission time
  Emission coordinates

## Slide 7: How detector affects the data
Dependence on the single neutron registration efficiency
Dependence on the data size

## Slide 8: Restoring technique
• Due to detectors efficiency is far from 100% the measured distribution is heavily distorted.
• Let’s assume that registered number of neutrons is a random variable that follows the binominal distribution.
  – maximum neutrons multiplicity
  – real prompt neutrons multiplicity distribution vector
  – detector response matrix
    – single neutron registration efficiency
  – measured prompt neutrons multiplicity distribution vector
  – direct solution of the problem
• Direct solution doesn’t make sense in most cases where the noise level (including statistical uncertainties) is quite high.

## Slide 9: Direct solution examples
845 224 s.f. events
1 357 s.f. events
Single neutron registration efficiency

## Slide 10: Regularization method
• The essence of the method is to use a priori information to find an approximate solution.
• Using a prior information:
  Distribution is smooth
  Distribution is flat at tails
• Regularization matrix:
• Regularized solution:
  – regularization parameter
  – uncertainties of regularized solution
R. Mukhin, et al., Physics of Particles and Nuclei Letters, 2021, V 18, 4, p 439

## Slide 11: Restoring examples

## Slide 12: Choice of regularization parameter
•Let’s define shape loss function as:
• We can choose regularization parameter as follow:
• There is a risk to oversmooth the solution

## Slide 13: Models used
ISP [3]
• Improved scission point model
• Pros:
  No adjustable or fitted parameters are used in the calculation of PES
• Cons:
  Assumption of statistical equilibrium at the scission point
GEF [4]
•The General fission model
• Pros:
  Dynamics of motion along the PES is taken into account explicitly
• Cons:
  PES is adjusted to fit experimental data
4. K.-H. Schmidt, et al., General description of fission, GEF model, © OECD 2014
3. A.V. Andreev, et al., EPJa, 2006, V. 30, 3, pp 579-589
*PES - potential energy surface

## Slide 14: Symmetric distributions: Cm
• A = 248; Z = 96; N = 152
•
• 34
• Statistics: s.f. events
• A = 244; Z = 96; N = 148
•
•
A. S. Vorobyev, et al., AIP Conference Proceedings 769, 613 (2005)

## Slide 15: Symmetric distributions: Cf
• A = 252
• Z = 98
• N = 154
• [5]
• 62
A. S. Vorobyev, et al., AIP Conference Proceedings 769, 613 (2005)

## Slide 16: Symmetric distributions: No
• A = 250; Z = 102; N = 148
•
•
• Statistics: s.f. events
• A = 252; Z = 102; N = 150
•
•
• Statistics: 3260 s.f. events
• A = 254; Z = 102; N = 152
•
•
• Statistics: 174 s.f. events

## Slide 17: Asymmetric distributions: 256Rf
• 1345 s.f. events
• A = 256
• Z = 104
• N = 152
•
•

## Slide 18: Bimodal fission of 256Rf: experimental data
6. P. Mosat, et al., PHYSICAL REVIEW C 101, 034310 (2020)
TKE [6]
Multiplicity

## Slide 19: Bimodal fission of 256Rf: theoretical prediction
• New version of ISP model is under development
• Goal: taking dynamic of the process into account without any fitting parameters

## Slide 20: Asymmetric distributions: 246Fm
• 235 s.f. events
• A = 246
• Z = 100
• N = 146
• 3
•

## Slide 21: Summary and outlook
• Using restoring technique it possible to analyze not just moments of distribution (mean and variance) but shapes too.
• Using the direct solution from Least Squares Problem doesn’t make sense in most of cases because of noisy data.
• The regularization technique allows to catch the exotic modes of spontaneous fission but it is difficult to analyze them in details.
• Emission probability distributions of spontaneous fission prompt neutrons for 8 isotopes was observed.
• 6 of them were classified as “symmetric” and 2 as an “asymmetric”
• Improved scission model that can handle dynamic part of the process is under development
• The probabilistic reconstruction technique that based on Bayesian approach is under development.

## Slide 22: Thank you for your attention!
Contact: rmukhin@jinr.ru