## Slide 1: Off-line measurements in 2021
Viacheslav Belov

## Slide 2: In pursuit of results

## Slide 3: Experimental setup
The idea of measurements is to save the beam time while proceeding with measurement of studied target out of muon beam.
For this purpose the germanium detector inside the lead shield is used. During expositions in 2019 the detector signal was digitized via ADC, only energy spectra were written on disc. For possible improvements of off-line measurements precision in 2021 DAQ using time signal with possibility of waveform writing was added. The digitizer CAEN DT5730 and ComPASS software was used for this purpose.
Ge
target
Energy signal
Time signal
Canberra
amplifier
Canberra
ADC
Canberra
Genui software
CAEN DT5730
14bit 500MHz
Energy spectrum
one per hour
CAEN CoMPASS
software
Energy spectrum after trapezoidal filter
one per hour
Event by event
raw data

## Slide 4: Experimental setup
Ge detector
Local DAQ Interface

## Slide 5: Experimental setup
CAEN digitizer
CANBERRA digitizer

## Slide 6: Experimental setup
Test DAQ Interface

## Slide 7: An example of the Ba136 energy spectrum
The presented spectrum was obtained using a СAEN digitizer using a trapezoidal filter. Spectrum not calibrated.

## Slide 8: Time evolution of several different peaks
Time evolution of three peaks randomly taken over the entire energy range.

## Slide 9: The end