## Slide 1: Investigation of the bb-decay processes Se-82 with the SuperNEMO detector (SuperNEMO Demonstrator)
Oleg Kochetov (DLNP, JINR)
1

## Slide 2: SuperNEMO Collaboration
2

## Slide 3: SuperNEMO Collaboration
LIST OF AUTHORS DLNP: V.B. Brudanin, V.G. Egorov, D.V. Filosofov, I.I. Kamnev, D.V. Karaivanov, A.A. Klimenko, O.I. Kochetov, N.A. Mirzaev, I.B. Nemchenok, A.V Rahimov, A.V. Salamatin, Yu.A. Shitov, A.A. Smolnikov, V.V. Timkin, V.I. Tretyak, Yu.V. Yushkevich
LIST OF SuperNEMO COLLABORATION
R. Arnold1, C. Augier2, J.D. Baker3, A.S. Barabash4, A. Basharina-Freshville5, S. Blondel2, S. Blot6, M. Bongrand2, V. Brudanin7,8, J. Busto9, A.J. Caffrey3, S Calvez2, C. Cerna10, J.P. Cesar11, A. Chapon12, E. Chauveau6, D. Duchesneau13, D. Durand12, V. Egorov7, G. Eurin2,5, J.J. Evans6, L. Fajt14, D. Filosofov7, R. Flack5, X. Carrido2, H. Gomez2, B. Guillon12, P. Guzowski6, R. Hodak14, A. Hubert10, P. Hubert10, C. Hugon10, S. Jullian2, I. Kamnev7, D. Karaivanov7, A. Klimenko7, O. Kochetov7, S.I. Konovalov4, D. Lalanne2, K. Lang11, Y. Lemiere12, T.Le Noblet13, Z. Liptak11, P. Loaiza2, G. Lutter10, F. Mamedov14,N. Mirzaev7, C. Marquet10, F. Mauger12, B. Morgan15, J. Mott5, I. Nemchenok7, M. Nomashi16, F. Nova11, F. Nowacki1, H. Ohsumi17, R.B. Pahlka11, F. Perrot10, F. Piquemal10,18, P. Povinec19, P. Pridal14, A. Rahimov7, Y.A. Ramachers15, A. Remoto13, J.L.Reyss20, B. Richards5, C.L. Riddle3, E. Rukhadze14, R. Saakyan5, A. Salamatin7, X. Sarazin2, Yu. Shitov7,21, L. Simard2,22, F. Simkovic19, A. Smetana14, K. Smolek14, A. Smolnikov7, S. Soldner-Rembold6, B.Soule10, I. Stekl14, C.S. Sutton23, G. Szklarz2, J. Thomas5, V. Timkin7, S. Torre5, Vl.I. Tretyak24, V.I. Tretyak7, V.I. Umatov4, I. Vanushin4, C. Vilela5, V. Vorobel25, D. Waters5, A. Zukauskas25.
1-IPHC, ULP, CNRS/IN2P3, F-67037 Strasbourg, France
2-LAL, Univ Paris-Sud, CNRS/IN2P3, f-91405 Orsay, France
3-Idaho National Laboratory, Idaho Falla, ID 83415, U.S.A.
4-NRS “Kurchatov Institute” ITEP, 117218 Moscow, Russia
5-UCL, London WC1E 6BT, United Kingdom
6-University of Manchester, ManchesterM13 9PL, United Kingdom
7-JINR, 141980 Dubna, Russia
8-National Research Nuclear University MEPhI, 115409 Moscow, Russia
9-CPPM, Universite de Marseille, CNRS/IN2P3, F-13288 Marsielle, France
10-CENBG, Universite de Bordeaux, CNRS/IN2P3, F-33175, France
11-University of Texas at Austin, Austin TX 78712, U.S.A.
12-LPC Caen, ENSICAEN, Universite de Caen, CNRS/IN2P3,F-14050 Caen, France
13-LAPP, Universite de Savoie, CNRS/IN2P3, F-74941 Annecy-le-Vieux, France
14-Czech Technical University in Prague, CZ-12800 Prague, Czech Republic
15-University of Warwick, Coventry Cv4 7AL, United Kingdom
16-Osaka University, 1-1 Machikaney arnaToyonaka, Osaka, 560-043, Japan
17-Saga University, Saga 840-80502, Japan
18-Laboratoire Souterrain de Modane, F-75700 Modane, France
19-FMFI, Comenius Univ, SK842 48 Bratislava, Slovakia
20-LSCE, CNRS, F-91190 Gif-sur-Yvette, France
21-Imperial College London, London SW7 2AZ, United Kingdom
22-Institut Universitaire de France, F-75005 Paris, France
23-MHC, South Hadley, Massachusetts 01075, U.S.A.
24-Institutefor Nuclear Research, MSP 03680, Kiev, Ukraine
25-Charles University in Prague, CZ-12116 Prague, Czech Republic
3

## Slide 4: History of the NEMO collaboration in LSM
4

## Slide 5
Demonstrator Module
35 tons
=
Background reduction and rejection
1kg of banana
=
100 Bq (decays/sec)

## Slide 6: The main candidates to search for 0νββ-decay with Q2β > 2 MeV
______________________________________________________________________
№ Nuclei Q2β, keV Abundance, %
______________________________________________________________________
1. Ca-48 4272 0.187
2. Nd-150 3371.4 5.6
3. Zr-96 3350 2.8
4. Mo-100 3034.4 9.63
5. Se-82 2996 8.73
6. Cd-116 2805 7.49
7. Te-130 2527.5 34.08
8. Xe-136 2458.7 8.87
9. Sn-124 2287 5.79
10. Ge-76 2039.0 7.61
11. Pd-110 2000 11.72
Natural γ – rays background – E < 2.615 MeV
6

## Slide 7
bb sources enrichment
ECP (Electro-Chemical Plant, Svetlana)
Zelenogorsk
SuperNEMO collaboration has 7 kg of enriched Se-82 ... (Nd-150?)
7

## Slide 8: From NEMO-3 to SuperNEMO
15
17
18
19
0
1
2
3
45
6
7
8
9
10
11
12
13
14
100Мо
130Тe
116Cd
Cu
82Se
nаtТe
130Тe
nаtТe
100Мо
100Мо
100Мо
100Мо
100Мо
100Мо
16
100Мо
100Мо
100Мо
100Мо
82Se
48Cа
150Nd
96Zr
100Мо 6,9 kg
82Se 0,93 kg
130Тe 0,45 kg
48Cа 6,99 g
96Zr 9,43 g
150Nd 36,5 g
116Cd 0,40 kg
NEM0-3 "camembert"
(source top view)
Tracker + calorimetric experiment searching for 0νββ decay
Located at Modane underground laboratory from Feb. 2003 to Jan. 2011
5 years of effective data taking
10 kg total of different ββ isotopes

## Slide 9: SuperNEMO technique
Tracker Calorimeter
Calorimeter
ββ source
Bfield
Tracker + calorimetric experiment searching for 0νββ decay at Modane underground lab. (France)
Modular design (20 modules) with total mass of 100 kg
Demonstrator module currently being installed at Modane
Demonstrator: 7 kg of 82Se running for 2.5 yr
NEMO-3/SuperNEMO unique features
Full topological event reconstruction
Source separated from detector (can host any isotope)
Strong background suppression by particle identification, event characterisation and timing
9

## Slide 10: 0νββ event topology Unique double beta decay experiment with the direct reconstruction of the two electrons
•
2 tracks with negative curvature
•
common vertex
•
2 PMT hits with sum E > 200 keV
•
PMT-track association
✘
✘
✘
E=2.285 MeV
E=0.710 MeV
Full signature of 0νββ events and
powerful background rejection
Basic selection criteria:
10

## Slide 11: SuperNEMO background
Natural radioactivity (γ,n) from the detector components or its surroundings
Cosmic rays
Neutrons
Internal background
Radioactive contaminations
in the source foil or Radon
daughters depositions on the foil or tracking wires
Measure
External background
t1 t2
t1 < t2
0vbb:
208Tl , 2.6 MeV
(n,γ) up to 10 MeV
0vbb:
208Tl Q{3
214Bi Q{3
= 5.0 MeV
= 3.27 MeV
11

## Slide 12: SuperNEMO background
214Bi important background with Q𝛽=3.27 MeV
Can originate from internal
238U-chain contamination or from
222Rn emanation/diffusion
Ultra-pure material selection
Radon tent
alpha tagging: 1e1𝛼 channel
214Bi 214Po 210Pb
e-
α
Qβ =3.27MeV
Qα =7.8MeV
(164us)
London concentration line
Bordeaux emanation setup
𝒜(222Rn) = 0.15 mBq/m3
Nucl.Instrum.Meth. A845 (2017)
12

## Slide 13: Antiradon factory
14

## Slide 14: SuperNEMO tracker
.
Multi-wire drift chamber in Geiger mode
Ultrapure materials: copper, steel, duracon
Robotic production of 2034 drift cells
Radiopure gas flow, anti-radon sealing
<1% dead channels
Nucl.Instrum.Meth. A824 (2016)
15

## Slide 15: SuperNEMO calorimeter
520 main optical modules
8’’ high QE radiopure PMTs
𝜎t = 400 ps at 1 MeV
Energy resolution 7.2%/√E(MeV)
Calibration system allows stability to < 1%
7
7.5 8 8.5 9 9.5 10
Energy resolution, FWHM at 1 MeV (%)
Number of optical modules
0
5
10
15
20
25
PS: Mean 8.33, RMS 0.33
PS Enhanced: Mean 7.97, RMS 0.30
Nucl.Instrum.Meth. under publication (2017)

## Slide 16: SuperNEMO source foils
82Se foils radio-purity measurements
Training foil production technique
36 foils made of 82Se powder mixed with PVA glue + mylar mechanical support (200 um thick)
7 kg of 82Se (Q𝛽𝛽=2.996 MeV)
Target limits (challenging) on foil contamination:
208Tl ≤ 2 μBq/kg
214Bi ≤ 10 μBq/kg
BiPo detector in Canfranc laboratory to measure source foil contamination: preliminary results indicate levels of 208Tl [10-30] uBq/kg (90% C.L.)
Bi-Po 3
JINST 12 (2017) no.06
17

## Slide 17
Clean room for radiochemistry purification of Se-82, DLNP, JINR
18

## Slide 18: The Bi-Po 3 detector
•
HPGe spectroscopy not sensitive enough to reach few μBq/Kg: BiPo-3 dedicated setup at Canfranc underground lab
•
2 modules of 3.0x0.6 m2 can measure up to 1.4 kg of 82Se foil with thickness of 40 mg/cm2
•
214Bi and 208Tl measured trough process from natural radioactivity chain
•
Thin radiopure plastic scintillators coupled to lightguides and low radioactivity PTMs
19
PMT
scintillator
source
light−guide

delay
0
2
4
6
8
10 12
Measurement Time [month]
208Tl Sensitivity [Bq/kg source]
0
2
4
6
8
10
12
14
16
18
20
BiPo3: 3.6 m2 - 82Se: 40 mg/cm2
208Tl bkg: 0.16 Bq/m2 scint
208Tl bkg: [0.04 - 0.50] Bq/m2 scint SuperNEMO 208Tl target: 2 Bq/kg source
BiPo 208Tl sensitivity

## Slide 19: Installation status
SuperNEMO Demonsrator detector already installed at LSM
Source foils under measurement with BiPo at Canfranc
Demonstrator running by the summer of 2018
19

## Slide 20: SuperNEMO sensitivity
SuperNEMO
Status
isotope
82
150
Se (or other, e.g. Nd)
isotope mass
7 -+ 100 kg
radon
0.15 mBq/m3
./
internal contamination
208Tl ≤ 2 μBq/kg
214Bi ≤ 10 μBq/kg
in progress
FWHM
8% @ 1 MeV
./
Demonstrator Module 17.5 kg.yr :
mi <
T 0
1/2
24
6.5 ⇥ 10 yr
0.20 - 0.40 eV
Full SuperNEMO 500 kg.yr :
50 - 100 meV
T 0
1/2
> 1026 yr
0.20 - 0.55 eV
24
> 5.9 x 10 yr
1 module
20 modules
82Se
7kg
in progress
m < 40 - 110 meV
[µBq/kg]
10 Contamination 100
Half-life limit [1024 years]
6
5.5
5
4.5 4
3.5
Standard
BDT
SuperNEMO
NEMO3
1000 10000
Contamination [µBq/m3]
Half-life limit [1024 years]
1
6
5
4
3
2
Standard
BDT
SuperNEMO
NEMO3
20
R
ad
on
208
Tl
In [2.8-3.2] MeV:
Efficiency: 27.5%
Total number of bkg events: 0.21
Background index: 3 x 10-5 cts/(keV kg yr)

## Slide 21: Summary
21
Tracker + calorimetric experiment searching for 0νββ decay
Demonstrator module under installation at Laboratoire Souterrain de Modane, France
Demonstrator:
✴7 kg of 82Se running for 2.5 yr
✴Sensitivity on effective mass 0.20 - 0.55 eV
Challenges: low radioactivity source foil, extremely low levels of Radon
Practically all demonstrator module already installed. Data taking expected at the end of the summer 2018
Modular design SuperNEMO (20 modules) with total mass of 100 kg - Ultimate sensitivity 50-100 meV

## Slide 24
24
Backup
Backup slides

## Slide 25: Radon
1. Purge for several T½ (222Rn)
2. Flow through cooled carbon trap.
3. Release into electrostatic detector.
4. For reasonable gas, flow rates :
A(222Rn) = 150 µBq/m3
70 atoms per m3
30 times better than NEMO-3
Emanation Facilities
P1.075
13

## Slide 26: NEMO-3 results PRD 92, 072011 (2015)
Many results with different isotopes and on different mechanisms 2b-decay
processes for: Ca-48, Se-82, Zr-96, Mo-100, Cd-116, Te-130, Nd-150
T
1/2
0
24
 1.1 10 yr (90% C.L.)
0νββ of
100Mo
T
1/2
>11.1
21
3.2 x 10 yr (90% C.L.)
351 keV
307 keV
532 keV
305 keV
NEMO-3
2006-06-08 13:35:02.673
Electron energy sum (MeV)
0.5 1 1.5 2
2.5
3
Counts / 150 keV
0
0.01
0.09
0.08
0.07
0.06
0.05
0.04
0.03
0.02
0.1
NEMO-3 150Nd: 36.6 g, 5.25 y [4 electron channel]
Data (0)
150
Nd 04 90% CL (0.1):
Symmetric
Uniform
Semi-symmetric
Anti-symmetric
150
Nd 22
Other backgrounds
(a)
Best candidate
2.079 MeV
150Nd-------150Gd + 4e-
0ν4 β of 150Nd
Possible with Dirac Neutrinos
First measurement ever
Phys.Rev.Lett. 119. 041801
m < 0.3 - 0.6 eV

## Slide 27: Most of ordinary matter is made of protons, neutrons and electrons The matter-antimatter “disbalance” is likely to be linked to these processes:
Proton Decay: “Disappearance” of nucleons
Neutrinoless Double Beta Decay “Creation” of electrons
SuperNEMO
27

## Slide 28: Radon
1. Purge for several T½ (222Rn)
2. Flow through cooled carbon trap.
3. Release into electrostatic detector.
4. For reasonable gas,flow rates :
A(222Rn) = 150 µBq/m3
70 atoms per m3
30 times better than NEMO,3
Emanation Facilities
P1.075
28

## Slide 29: The Bi-Po 3 detector
•
HPGe spectroscopy not sensitive enough to reach few μBq/Kg: BiPo-3 dedicated setup at Canfranc underground lab
•
2 modules of 3.0x0.6 m2 can measure up to 1.4 kg of 82Se foil with thickness of 40 mg/cm2
•
214Bi and 208Tl measured trough process from natural radioactivity chain
•
Thin radiopure plastic scintillators coupled to lightguides and low radioactivity PTMs
16
PMT
scintillator
source
light−guide

delay
0
2
4
6
8
10 12
Measurement Time [month]
208Tl Sensitivity [Bq/kg source]
0
2
4
6
8
10
12
14
16
18
20
BiPo3: 3.6 m2 - 82Se: 40 mg/cm2
208Tl bkg: 0.16 Bq/m2 scint
208Tl bkg: [0.04 - 0.50] Bq/m2 scint SuperNEMO 208Tl target: 2 Bq/kg source
BiPo 208Tl sensitivity