## Slide 1: Monitoring and Control system of MPD solenoid satellite refrigerator (or how to run facility without docs by reverse engineering)
JINR Association of Young Scientists and Specialists Conference “Alushta-2023”

## Slide 2: MPD

## Slide 3: Superconducting solenoid MPD
The superconducting solenoid is a backbone of multipurpose detector
The superconducting solenoid must provide a homogeneous magnetic field of 0.5 Tesla

## Slide 4: Infrastucture for cooling

## Slide 5: Refrigerator
ILK braked a contract of refrigerator assembling and integration in to solenoid system!
- No drawings and instruction for assembly
- No correct software (not signals from gauges, valves can’t regulation…) for operation
- No electrical scheme
- No calibration data for cernox temperature gauges

## Slide 6: Refrigerator CS block scheme

## Slide 7: PLC

## Slide 8: Устройства сопряжения с собъектом

## Slide 9: Устройства сопряжения с собъектом

## Slide 10: HMI

## Slide 11: HMI

## Slide 12: Refrigerator CS block scheme

## Slide 13: Connecting end devices

## Slide 14: GUI

## Slide 15: GUI

## Slide 16: Ready to run…

## Slide 17: The run failed…

## Slide 18: GUI

## Slide 19: Sniffer

## Slide 20: Serial Port Monitor

## Slide 21: Data stream example

## Slide 22: Modbus protocol

## Slide 23: CX-Programmer

## Slide 24: Modbus register map

## Slide 25: GUI application for refrigerator

## Slide 26: GUI application for refrigerator

## Slide 27: Conclusion
Was:
- ILK braked a contract of refrigerator assembling and integration in to solenoid system!;
- No drawings and instruction for assembly;
- No correct software (not signals from gauges, valves can’t regulation…) for operation;
- No electrical scheme;
- No calibration data for cernox temperature gauges;
Became:
Mechanically assembling refrigerator;
Developed software and got signals for gauges and valves;
Provide leak tests;
Pumping started;
Will:
Electronics units will be replaced;
Implement Tango Controls.

## Slide 28: Conclusion

## Slide 29: Connecting end devices. Valves

## Slide 30: Valves
При отсутствии тока в катушке пружина 13, опирающаяся на за­глушку 14, прижимает нижний клапан 12 к втулке 11, перекрывая доступ сжатого воздуха из канала А к пневмоприводу (канал Б). Поскольку при этом верхний клапан 3 отжат вверх (открыт), воздуш­ная полость пневмопривода через каналы Б и В соединена с атмосфе­рой. Когда на катушку подается напряжение, возникающая электро­магнитная сила втягивает якорь внутрь катушки. Под действием яко­ря перемещаются вниз клапаны 3 и 12. Верхнее отверстие во втулке 11 закрывается, а нижнее — открывается. Сжатый воздух из канала А поступает в канал Б к пневмоприводу, а связь канала Б с атмосферой прерывается.
При отключении катушки вентиля клапаны под действием пружи­ны 13 возвращаются в исходное положение. Доступ сжатого воздуха к пневмоприводу прекращается, а имеющийся в нем воздух по каналу Б, через верхнее отверстие втулки 11 и канал В выходит наружу (пневмопривод отключается). Ход клапанов — 1 мм. Зазор между якорем и сердечником в притянутом состоянии — 0,8 мм; в отпущен­ном — 1,8 мм.