## Slide 1: Coherent elastic neutrino-nucleus scattering search in the νGeN experiment.
D.Ponomarev1,2 on behalf of the GeN collaboration
1Joint Institute for Nuclear Research, Dubna, Russia
2Lebedev Physical Institute of the Russian Academy of Sciences, Moscow, Russia
Coherent elastic neutrino-nucleus scattering search in the nGeN experiment.

## Slide 2: Detection of CENS
Energy of nuclear recoil from CEvNS is very
low:
𝐸
𝐴
2
= 2𝐸 (1−𝑐𝑜𝑠𝜃)
2𝑀𝐴
The detection of this process is very challenging, also taking into account that often only part of the energy can be detected due to quenching.
Powerful neutrino source in full coherency regime < 30 MeV.
Low threshold and low background detector.
Effective separation of signals from background.
Big target mass and good efficiency.
Stable performance and knowledge of systematical errors.
< 1 keV
A.Drukier and L.Stodolsky,
Phys.Rev.D 30, 2295 (1984)
2
QR<<1

## Slide 3
GeN experiment is aimed to study neutrino scattering using antineutrinos from the reactor core of Kalinin Nuclear Power Plant (KNPP) at Udomlya, Russia. Main searches:
Coherent elastic neutrino-nucleus scattering (CEvNS).
Non-standard neutrino interactions.
Magnetic moment of neutrino.
Sterile neutrino.
Other rare and exotics processes.
Applied usage: reactor monitoring.
3

## Slide 4: Reactor unit #3 @ KNPP
GeN
Spectrometer GeN is located under the reactor unit #3 (3.1 GWth – thermal power)
Distance to the center of the reactor core is about
11 m, this gives > 41013 /(seccm2)
Overburden  50 m w.e.  good shielding against
cosmic radiation due to reactor’s surrounding
Good support from KNPP administration
Typical regime: ON: 18 months
OFF: 2 months
iDream
KNPP #3
4

## Slide 5: Comparison of the reactor sites
5
Experiment | Location | Neutrino flux /(cm2 s) | Overburden [m w. e.]
GeN | KNPP, Russia | (3.6-4.4)×1013 | 50
CONUS | Brokdorf, Germany | 2.4×1013 | 10-45
TEXONO | Kuo-Sheng NPP, Taiwan | 6.4×1012 | 30
RED-100 | KNPP, Russia | 1.7×1013 | >50
CONNIE | Angra 2, Brazil | 7.8×1012 | 0
RICOCHET | ILL, France | 2×1012 | 15
MINER | Texas A&M, USA | 2×1012 | 5
NUCLEUS | Chooz, France | 2×1012 | 3
NCC-1701 | Dresden-II, USA | 4.8×1013 | -
NEON | Hanbit 6, Korea | 7.1×1012 | 8
SBS | Laguna Verde, Mexico | 3×1012? | ?

## Slide 6: HPGe detector for GeN
To detect signals from neutrino scattering we use a specially produced by CANBERRA (Mirion, Lingosheim) low-threshold, low-background HPGe detectors. The detectors are chilled by electric and nitrogen types of cooling. At the moment, only one detector with a mass of 1.4 kg and e-cooling is used for the detection at KNPP.
6

## Slide 7: Current scheme of GeN shielding
Photo from installation at
KNPP in 11.2019
7

## Slide 8: GeN @ KNPP – lifting mechanism
8
Distances to the center of reactor core:
11.09 m – top position (current)
12.5 m – lower position
A special lifting mechanism has been installed to move the spectrometer towards the reactor core to change the neutrino flux through the detector.
Changes of the  flux help to suppress systematic errors connected with changes of the background while the reactor ON/OFF
12.14 m – first position

## Slide 9: Control of experimental conditions
The stable measurement conditions are very important, because instabilities can change amplification and noise level.
Cosmogenic activation products slowly decay in time and have to be taken into account during analysis.
Air temperature condition in the experimental hall is stabilized by three air-conditioners.
Temperature and humidity are constantly monitored by two sensors.
Neutron background outside shielding (fast and thermal) is measured by special low background He3 counter and NaI detector.
9
Reactor ON
Reactor OFF
Thermal neutron flux outside of the shield

## Slide 10: Noise cuts
22.03.2023
Different shaping times of preamplifiers are used to suppress the noise with the help of graphical cuts.
Time cuts allow to suppress signals generated by reset of the preamplifier and other artificial signals.
Even at 200 eV efficiency is > 40% after applying cuts
Pulser
Data
Pulser
Data

## Slide 11: Muon veto & time cuts
Coincidences with muon veto allow to suppress background connected with muons
Efficiency of all cuts together with muon veto determined by 10.37 keV line is 85.3(19)%

## Slide 12: 2022 ANALYSIS
 | Counts in region [320..360] eV | Measurement time, days | Counts per kgd (stat. error only)
Reactor ON | 251 | 94.5 | 2.32 ± 0.15
Reactor OFF | 126 | 47.1 | 2.34 ± 0.21
ON-OFF |  |  | -0.017 ± 0.255
CENS, k = 0.26 | 55 |  | 0.46
Analysis of the first data showed no significant difference in background level during reactor ON (94 days) and OFF
(47 days) regimes. Distance to the center of the reactor is 11.84m. No excess at low energy connected with the CENS has been observed. The upper limit on the quenching parameter k < 0.26 with 90% CL has been obtained (dashed line).
Red solid line for k = 0.179.
Published article
I. Alekseev et al. Phys. Rev. D 106,L051101
https://doi.org/10.1103/PhysRevD.106.L051101
ON - OFF

## Slide 13: 2023 ANALYSIS (preliminary)
There are no significant difference in low energy spectra during reactor ON (154 days) and OFF (39 days).
Red solid line – expected CENS spectra.
Purple line – best fit

## Slide 14: Limits (preliminary)
The upper limit on the quenching parameter k < 0.23 with 90% CL has been obtained.

## Slide 15: Conclusion
Measurements with the νGeN spectrometer at Kalinin Nuclear Power Plant are ongoing.
No significant difference between regimes with reactor ON and OFF due to CEvNS has been observed so far.
More than 1200 kgd of data has been accumulated so far.
The limit on the k<0.23 factor is obtained.
The optimization of data taking is performed as well. New results in the upper position with more statistics are expected soon.

## Slide 17: Backup slides

## Slide 18: Signals from detector
signals
preamplifier’s reset
Detectors are equipped with reset preamplifier.
shaped amplifiers
There is a special inhibit signal that indicates the time when the reset
happens.
The signals are
with and
processed with a
real-time ADC.

## Slide 19: Simplified scheme of measurements
HPGe
Muon veto
Preamplifier
OUT E
OUT E2
ORTEC
672
6 s
ORTEC 672
6 s
ORTEC 672
10 s
ORTEC 672
6 s (HE)
Inhibit
VME Realtime ADC CAEN V785N
VME CAEN V976 (Trigger)
PC
HDD
ORTEC
671
ORTEC
671
ROOT
DUBNA offline analysis
ORTEC 671
Pulse
generator
Signal acquisition is organized with the real- time ADC system based on CAEN electronics. We use several preamplifiers with different shaping times to suppress noise signals.
27

## Slide 20: Calibration at low energies
68,71Ge (K)
10.367 keV
68,71Ge (L)
1.3 keV
68,71Ge (L)
1.2977 keV
Energy calibration at low energy is performed by means of 10.37 keV
cosmogenic line and pulse generator.
Calibration check with 1.3 keV line
Data taking shows very good stability of peak position during all measurement time.
Energy resolution of 1.4 kg detector at KNPP is 101.6(5) eV (FWHM).
Peak from pulse generator

## Slide 21: Thermal power of reactor unit #3
Installation of the antivibration platform 11.12.2020
Move spectrometer to the upper position
Some improvements: new power, grounding
lower noise level
Total statistics:
ON period: 1117 kgd, OFF period: > 173 kgd

## Slide 22: High energy part of the spectrum
28
High energy part of the spectra is calibrated with the help of welding rods (with 2% of Th)
Before
veto
After
veto

## Slide 23: GeN reactor site at Udomlya, Russia
Kalinin Nuclear Power Plant (KNPP) 4xWWER – 3.1 GWth
23
JINR, Dubna, 285 km from KNPP

## Slide 24
The significant improvements of the noise and background level were obtained by improving measurement conditions (including new
supply, grounding, better
power
antiradon
flushing, …).

## Slide 25: Sensitivity studies (preliminary)
Taking into account OFF spectrum (55 kgd) and Azimov data sets (generated spectra contains CENS signals + OFF, taken statistic equivalent to current real one – 217 kgd), we created a predictions for sensitivity for CENS.

## Slide 26
Stability (after all cuts)
At the moment in the upper position we accumulated ON: 217 kgd and OFF: 55 kgd (after all cuts).
Chi2/NDf = 29.3/33