## Slide 1: About the Modern African Nuclear DEtector LAboratory (MANDELA) @ , UWC, South Africa
Supervisors: Prof. Jose Orce-Gonzalez , Dr. Nikita Bernier (UWC)

## Slide 2
Overview of the MANDELA.
Aims and Objectives:
Energy Resolution and sampling time computations
Set-up 250 MHz PIXIE-16 digitizer from XIA at MANDELA @ UWC.
ADCs, FPGAs and DSP.
Scientific motivation:
Trapezoid filter
Xia4ids & POLL2 code fragments.
Content

## Slide 4
MANDELAB (University of Zululand/University of the Western Cape)
Modern African Nuclear Detector LAboratory (MANDELA) at the University of the Western Cape and the University of Zululand in strong collaboration with the University of York, UK Funded by Science and Technology Facilities Council (STFC), UK, and local funding from UWC, NRF and the Department of Science and Technology (DST).
UWC & UZ background: UWC & UZ consists of diverse student bodies, mainly supporting students from historically disadvantaged backgrounds in South Africa (SA).
UWC’s Modern African Nuclear DEtector LAboratory (MANDELA) is equipped with a double photon counting setup using NaI (Tl) scintillation detectors, Analogs and digital NIM; CEAN digitizers and 250-MHz Pixie-16 digitizer from XIA . This digitizer is similar to the 100-MHz Pixie-16 digitizers in use at IDS.
Aim:
ADC electronics
Upskill young people

## Slide 5
NaI (Tl) Scintillation detectors and probes in standard and custom sizes for γ-spectrometry

## Slide 6
Scintillation Mechanism

## Slide 7
Radioactive Source
Radiation
Detector
signal
Registration equipment
Signal Processing
Q = Energy
Time
Time (ms)
Rise time
Decay time
Preamplifier
Preamp Output [mV]

## Slide 8
Motivation of the Study
Energy resolution (% fwhm @ 662 [keV])
Scintillation yield (photons per MeV)

## Slide 9
PIXEI-16 ADC Spectrometer
1
2
3
4

## Slide 10
The main feature of digital systems is reliance on numerical algorithms that operates on digitized representations of the electrical pulse from a detector.
FIFO Delays

## Slide 11: Experimental Hall @ the ISOLDE β-decay kinetics focusing, spectroscopy studies of the decay products collocations of short-lived precursor nuclei.
(Data Acquisition code)
(EXP-data)
Summary of Run Types

## Slide 12
Analog - Digital transforms algorithms
Time [μs]
Preamp Output [mV]
Time [μs]
Preamp Output [mV]
Preamp Output [mV]
Time [μs]
Time [μs]
Relative Amplitude
Digitized Input pulse
Digitally filtered pulse

## Slide 13
Extracting digital parameters from digital prototype data
ADC Units
Time [μs]
Time [μs]
ADC Units
Input Signal
Bad Trigger
Missed Pulse
Threshold
Trigger
Time
Timing Filter
Threshold
Trigger
Time
Fast trapezoidal filter Rise time, Flattop and threshold pulse trigger detection.
Slow trapezoidal filter Risetime and Flattop pulse height computation.
Flat Top Delay
Number of samples
for the peak average
TRAPEZOID
Moving Average Window Size
Peaking area
Fat Top
Rise Time & Tau

## Slide 14
Testing BNC-BNC connectors with digital sciascope

## Slide 15
Setting digital parameters for optimum performance of NaI(Tl) scintillator detectors
Time [μs]
V(t) [mV]
Time [μs]
V(t) [mV]
fmax
½(fmax)
Energy Resolution expression:
μ

## Slide 16
Typical prompt γ − γ coincidence matrix for a Co-60 source using NaI(Tl) detector
Co-60
Energy [KeV]
Energy [KeV]
All Coincidence Matrix
γ-γ Coincidence experimental demonstrations
Co-60
Ni-60
Time [μs]
Counts
Time Difference Spectrum
B
C
D
A
E
Decay Scheme of C0-60 source excitation energies and corresponding transitional probabilities

## Slide 17
Thank you for your attention