## Slide 1
Electron string ion source (ESIS) ion trap
control system development
Butenko Elizaveta
LHEP JINR engineer
The XXVII International Scientific Conference
of Young Scientists and Specialists (AYSS-2023)
30 October - 3 November 2023

## Slide 2
NICA injection complex
Butenko Elizaveta
2/17
AYSS 2023
Light ions
& polarized protons
Heavy ion injector
Booster
Nuclotron

## Slide 3
cryogenic
pulsed ion source
5.4 T SC solenoid
Heavy ion source KRION 6T
unique technology
electron string
highly charged ions
Ions produced and injected: 78Kr17+ 124Xe41+ 40Ar16+ 79Au32+ …
Ion source KRION-6T
HILAC LEBT
3/17
Butenko Elizaveta
AYSS 2023

## Slide 4
KRION 6T electronics
thermometry
vacuum
HV electrodes
electron gun supply
synchronization
Ion trap and extraction system
DC barrier modules
pulsed barriers modules
extraction modules
interface modules
Beam diagnostics
beam profile monitor
oscilloscopes
ion collectors
ToF system
Slow control
Butenko Elizaveta
4/17
AYSS 2023

## Slide 5
KRION 6T electronics
thermometry
vacuum
HV electrodes
electron gun supply
synchronization
Ion trap and extraction system
DC barrier modules
pulsed barriers modules
extraction modules
interface modules
The main goal
To decrease the beam duration (8us -> ~4us) for further multiple injection
Slow control
Butenko Elizaveta
5/17
AYSS 2023

## Slide 6
6/17
Butenko Elizaveta
AYSS 2023
Structure

## Slide 7
7/17
Butenko Elizaveta
Potential barriers
AYSS 2023

## Slide 8
8/17
Butenko Elizaveta
Beam extraction
AYSS 2023

## Slide 9
9/17
Butenko Elizaveta
AYSS 2023
Beam extraction
- Ions
- potential

## Slide 10
10/17
Butenko Elizaveta
AYSS 2023
Beam extraction
- Ions
- potential

## Slide 11
Ion motion control system (is now operated)
Advantages
isolated
flexible
Modbus RTU
modular (3U cases)
Butenko Elizaveta
11/17
AYSS 2023

## Slide 12
Potential barrier module
Output: 0 … +2.5 kV
Edges time: ~ 5 us
Max load current: 10 mA
Supply: + 24 V, 300 mA
Overcurrent, short protection
Hand & Remote control (Modbus RTU)
Butenko Elizaveta
12/17
AYSS 2023

## Slide 13
Ion extraction module
Up to 3 kV pulse rising edge control
Short circuit protection
Supply: + 24 V, 300 mA
Hand & Remote control
Overcurrent, short protection
Hand & Remote control (Modbus RTU)
Butenko Elizaveta
13/17
AYSS 2023

## Slide 14
New ion motion control system
Butenko Elizaveta
14/17
AYSS 2023
Independent structure sections power supply allows to imitate a traveling wave

## Slide 15
New ion motion control system
Butenko Elizaveta
15/17
AYSS 2023
Trigger
HV modules
Optic
Power Supply
To PC

## Slide 16
New ion motion control system
Butenko Elizaveta
16/17
AYSS 2023
HV module
Eth/Optic converter

## Slide 17
The new ion trap control system configuration, which is under construction now, is a novel development and has not been used before
Applied technical solutions will allow to decrease the beam duration and make beam formation process more controllable for different type of ions
The ion source could be able to operate more flexible
The new ion trap control system is planned to be put into operation by the end of 2023
Summary
Butenko Elizaveta
17/17
AYSS 2023
Literature: E.D. Donets et al., ESIS ions injection, holding and extraction control system // EPJ Web of Conferences 177, 08002 (2018)