## Slide 1: System Standards and Comparison Parameters

## Slide 2: ISO/IEC 15288 Systems and software engineering System life cycle processes
ISO/IEC 15288 is an international standard that provides a framework for describing the life cycle processes of systems and software engineering. When comparing systems based on ISO/IEC 15288, you can consider various parameters to assess their performance, capabilities, and overall adherence to the standard.
Parameters for comparison
Flowsheet for the system
Architectural details for each equipment involved
Efficiency of System Design and its effectiveness
Methodologies used in the process
Version updates
Configuration and Setup
Risk identification and Crisis assessment
Quality Control and Assurance Standards
Life Cycle Model assessment
Documentation and User Manuals Present
System Independence

## Slide 3: ISO/IEC 12207 Systems and software engineering Software life cycle processes
ISO/IEC 12207 is an international standard that defines the processes of the software life cycle. When comparing systems based on ISO/IEC 12207, you can consider various parameters to assess their software development and maintenance processes.
Parameters for comparison
Experiment Costs and Schedule
Software used and standards
Coding and standards associated
Software versions
Any improvements or updates like bug fixes
Data protection, encryption and access control
Changes in the scale of operation of software

## Slide 4: ISO 15745 Industrial automation systems and integration
ISO 15745 addresses industrial automation systems and integration, providing guidelines for developing and representing systems in a standardized manner. When comparing systems based on ISO 15745, you can consider various parameters to assess their performance, interoperability, and overall effectiveness.
Parameters for comparison
System compatibility
Integrated devices
Number of devices independent and integrated
Replaced devices
Data representation formats
Third party apps or systems used
Demands and requirements met
System safety and security
Tools and Interfaces
Lifecycle of automation system – maintenance updates and upgrades
Availability of user manuals, technical documentation, and system architecture documents
Alarms

## Slide 5: IEC 61850 Communication networks and systems for power utility automation
IEC 61850 is an international standard that defines the communication protocols and system requirements for the automation of power utility systems. When comparing systems based on IEC 61850, you can consider various parameters to assess their performance, interoperability, and overall effectiveness in power utility automation.
Parameters for comparison
Support systems engaged
Integrated energy devices present and their function
Data modelling tool used
Cybersecurity measures taken
Configuration tools used
SCADA system integration tools
Information exchange

## Slide 6: ISA-101 - Human-Machine Interfaces for Process Automation Systems
ISA-101, also known as ANSI/ISA-101, is a standard that provides guidelines for the design and implementation of Human-Machine Interfaces (HMIs) for process automation systems. When comparing process automation systems based on ISA-101, you can consider various parameters related to HMI design and functionality.
Parameters for comparison
Compare graphical elements used in HMI
Alarms present, representation, and response mechanisms
Navigation and interaction design
Colour conventions and use
Level of standardization of HMI use (layout, graphics, navigation elements)
Information presented on the HMI screens
Trend displays
Use of interactive elements such as buttons, sliders, and pop-ups
Data logging and reporting features integration into the HMI
HMI supporting multiple displays and screen arrangements
HMI integration with other systems, such as control systems and databases.

## Slide 7: ISA-18.2 - Management of Alarm Systems for the Process Industries
ISA-18.2, also known as ANSI/ISA-18.2, is a standard that provides guidelines for the management of alarm systems in the process industries. When comparing process systems based on ISA-18.2, you can consider various parameters related to alarm design, implementation, and management.
Parameters for comparison
Alarm priorities, limits, and setpoints.
Processes and methodologies for alarm rationalization
Design and presentation of alarms in the HMI.
Alarm suppression is handled in each system
System adaptation to dynamic process conditions.
System management of alarm floods and multiple simultaneous alarms.
Dead time is considered in alarm management.
Alarm performance metrics.
Audit trail for alarm-related activities
Alarm management system integrated with HMI and control systems.

## Slide 8: IEC 62682 - Data structures and elements in process equipment catalogues
IEC 62682 is a standard that provides guidelines for the representation of data structures and elements in process equipment catalogues in the context of industrial-process measurement and control. When comparing systems or processes based on IEC 62682, you can consider various parameters related to the application of Data structures and elements in process equipment catalogues.
Parameters for comparison
Data structures are represented
Individual elements within the catalogues
Data exchange formats
Compare the types of data supported
Catalogues integrated with control systems.
Completeness and clarity of documentation for systems
Versioning and compatibility issues
Security measures implemented
Processes for validating data
Data Accessibility

## Slide 9: IEC 61882 - Hazard and operability studies (HAZOP studies)
IEC 61882 is an international standard that provides guidelines for conducting Hazard and Operability Studies (HAZOP studies). These studies are a systematic and structured approach to identifying potential hazards and operability issues in industrial processes. When comparing systems or processes based on IEC 61882, you can consider various parameters related to the application and effectiveness of HAZOP studies.
Parameters for comparison
Methodologies employed
Composition of team
No of process nodes or elements
Critical parameters such as temperature, pressure, flow, and composition are adequately addressed
Deviations from normal operating conditions
Severity of identified deviations.
Risk ranking of identified deviations