## Slide 1
Bulat Bakirov1,2
1Frank Laboratory of Neutron Physics, Joint Institute for Nuclear Research
2Institute of Archaeology, Russian Academy of Sciences
Comparison of Convolutional Neural Network Architectures for Tomographic Reconstruction from Incomplete Data
28th International Conference of Young Scientists and Specialists (AYSS-2024)

## Slide 2
Experimental hall of the IBR-2 reactor
Neutron radiography and tomography (NRT) experimental station
14th beamline
2
Neutron tomography at the IBR-2 reactor

## Slide 3
3
The required number of projections for reconstruction
Shepp-Logan phantom – a standard test image
Shepp-Logan phantom reconstructed from:
9 projections
72 projections
360 projections
The number of radiographic projections satisfying the Nyquist–Shannon theorem

## Slide 4
4
Computations were held on the basis of the HybriLIT heterogeneous computing platform (LIT, JINR).
Implementation of the convolutional neural network
Visualization of convolution and deconvolution layers.
Building blocks of the convolution neural network.
Convolution
Normalization
Activation
Input
Output
+
Skip Connection

## Slide 5
5
Implementation of the convolutional neural network
U-net
architecture
Data from 40 experiments
56000 input images
56000 target images
Training dataset

## Slide 6
Determination of the required number of projections
6
Structural similarity index measure (SSIM)
– U-net trained on 36 projections
– U-net trained on 72 projections
– U-net trained on 144 projections
– unexpected number of projections is fed to the input of U-net trained on 72 projections

## Slide 7
Comparison of CNN architectures
ResUnet
Unet 3+
7

## Slide 8
The results of training a CNN
8
72 + U-net
72
360
360
projections
72
72
U-net
difference

## Slide 9
The results of training a CNN
9
72
360
72 + U-net

## Slide 10
10
Intermediate results
A method for reconstructing three-dimensional neutron tomography data using deep learning algorithms based on convolutional neural networks was developed.
The required number of neutron radiographic projections was determined for the reconstruction of three-dimensional models using a convolutional neural network.
The influence of convolutional neural network architecture on the efficiency of tomographic reconstruction from incomplete data is determined.
Using a convolutional neural network, three-dimensional models of some cultural heritage objects were obtained from incomplete data.