## Slide 1: 28th International Scientific Conference of Young Scientists and Specialists (AYSS-2024) Remote reconfiguration, debugging, testing and synchronization system of Electronics Cards for the TPC/MPD Detector of the NICA project
Dubna, 2024
Denis Potapov, an engineer of the
TPC/MPD group, VBLHEP, JINR

## Slide 2: NICA Complex
General scheme and photo of the NICA complex
https://nica.jinr.ru/
https://mpd.jinr.ru/
Multi Purpose Detector (MPD) Hall

## Slide 3: TPC/MPD Detector of NICA Complex
1. Front-End Cards (FECs) position;
2. End cap thermal screen;
3. Read-Out Chamber (ROC) based on MWPC;
4. High Voltage (HV) electrode;
5. Field cage position.
2
Time-Projection Chamber (TPC)
3
1
4
MPD mockup
5

## Slide 4: FECs integration on ROC
JTAG programmer
FEC controller
SAMPA FEC
24 ROCs –
1488 FECs –
95 232 ch.
FEC connection for access & synchronization
Test setup of 62 FECs on 1 ROC
FEC assembly
Micro coaxial cables assemblies

## Slide 5: Prototype of remote access unit
Test setup for remote access prototype unit
Tested prototype
This remote access prototype unit uses JTAG (up to x7 FECs) for:
  FPGA reprogramming;
  FPGA debugging;
  An additional channel for accessing the digital part of the Data acquisition subsystem (DAQ).

## Slide 6: Testing of prototype remote access unit
Procedure for verifying the data in RAM memory of FPGA
System Console window in Quartus

## Slide 7
Errors recording file
during the procedure execution
System Console window in Quartus
Testing of prototype remote access unit

## Slide 8: Block diagram of remote access unit for Control & Synchronization System
Same chips
Out con. (JTAG)
In con. (JTAG)
SCANSTA112
JTAG programmer
Out con. (JTAG)
…
6
JTAG
Control &
Synchronization System
…
11
JTAG
JTAG
JTAG via LVDS
Tested prototype
SCANSTA112
Remote access unit
for each ROC
Inside
MPD magnet
JTAG Switch
JTAG
master
Slaves
JTAG Switch
Out con. (JTAG)
Out con. (JTAG)
…
6
JTAG
JTAG
FEC_1 (Cyclone V)
JTAG
master
FEC_6 (Cyclone V)
…
6
JTAG via LVDS
JTAG
master
JTAG
master
RCU (Arria 10)
FEC_61 (Cyclone V)
…
6
JTAG via LVDS
JTAG
JTAG
Avalon
bus
Slaves
Avalon
bus
Slaves
Avalon
bus
Slaves
Avalon
bus

## Slide 9: Prototype of synchronization unit
Test setup for synchronization prototype unit
Readout and Control Unit (RCU)
Tested prototype
This synchronization prototype unit fanout transceiver reference clock to 62 FECs from 1 RCU (1 ROC sync.)
Synchronization unit of System will fanout 5 external signals to FECs:
  3 types reference clocks;
  Data trigger;
  Reset.

## Slide 10: Block diagram of synchronization unit for Control & Synchronization System
In con. (LVDS)
RCU_1
…
8
MAIN
ZL40226
ZL40226
ZL40226
LVDS
LVDS
Out con. (LVDS)
FEC_57
FEC_64
…
8
Optical links
Out con. (LVDS)
FEC_1
FEC_8
…
8
LVDS
LVDS
LVDS
Tested prototype
Synchronization
unit for each ROC
RCU_24
24
…
5
Outside MPD magnet
Inside
MPD magnet
Same chips
External
sync. unit
Control &
Synchronization System
5
5
5
5
5
LVDS

## Slide 11
3D model of device Control & Synchronization System(top/bottom view). Size is 810 x 60 mm
JTAG over LVDS. Сable length is about 2m
Control & Synchronization System is designed
Location of control & synchronization system on TPC

## Slide 12: Conclusion
Comprehensive tests of prototypes of remote access and synchronization units have been carried out;
Electrical scheme of control & synchronization system has been developed;
Tracing of PCB control & synchronization system has been completed.
Future plans:
  Accompany production of device;
  Perform full-featured device testing;

## Slide 13: 28th International Scientific Conference of Young Scientists and Specialists (AYSS-2024) Remote reconfiguration, debugging, testing and synchronization system of Electronics Cards for the TPC/MPD Detector of the NICA project
Dubna, 2024
Denis Potapov, an engineer of the
TPC/MPD group, VBLHEP, JINR