## Slide 1: Birdcage resonator for a gradient spin flipper in strong magnetic fields
V.A. Kurylev, G.V. Kulin

## Slide 2: Pulsed UCN source
Biological protection
Adiabatic spin-flipper
Valve
Moderator
UCN storage
ρ
t
τ
T
Neutron density in the storage
Average neutron density
1

## Slide 3: Adiabatic spin flipper
Diagram of the magnetic sistem
B
X
Bres+ΔB
Bres
Bres-ΔB
ΔE=2μBres
ΔB≫|B1|
Spin flip zone graph
G. M. Drabkin. Production of Supercold Polarized Neutrons/G. M. Drabkin and R. A. Zhitnikov//Журнал Экспериментальной и Теоретической Физики, 38(1013), 1960
2

## Slide 4: Superconducting magnet
Design of the solenoid magnet made of superconducting tape
R = 5.5cm
r = 3.5cm
G = 2cm
3

## Slide 5: Spin flip zone
5
∂B/∂z, T/m
B, T
B, T
z, mm
z, mm
L = 0.05 m
1 T/m < < 1.5 T/m
Bres∈ [18.90; 18.96] T
ΔB≫|B1|
4

## Slide 6: Adiabaticity parameter
γ - gyromagnetic ratio (1.83*10^8[1/(T*s)]),
B1- amplitude of alternating magnetic field,
dB/dz - gradient of constant field in the spin flip region,
V - speed of a neutron when it enters a spin-flipper field (~15 [m/s])
Spin flip probability, p(k)
Adiabatic coefficient, k
5

## Slide 7
Volumetric resonator
Field pattern E010 inside the volume of a cylindrical resonator
Calculation of resonator dimensions
6

## Slide 8: Birdcage coil
Field type B1
General view of the "Birdcage"
Equivalent circuit
7

## Slide 9: Resonator model
8

## Slide 10
Optimization
dB
MhZ
9

## Slide 11: Loss parameters (S-parameters), at C = 7.29 pF
MhZ
dB
10

## Slide 12: Distribution of magnetic energy
Magnetic field energy distribution profile
Distribution of magnetic field energy in the resonator cross section
11

## Slide 13: Precession of the magnetic field B1
Field in the cross section of the resonator
Field in the resonator volume
12
Useful volume

## Slide 14: Power calculation
13

## Slide 15: Summary
14
The geometric parameters of a hollow round resonator were obtained, from which it follows that it is impossible to install it in the light of an adiabatic spin-eraser without significant changes in the design of the superconducting magnet.
The required resonator capacity, suitable geometric and frequency conditions of installation were calculated.
A resonator model was created, simulation and fine-tuning were carried out in the CST Studio Suite program environment. A primary calculation of the stationary mode power was made.
A concept of an RF resonator suitable for further use in an adiabatic spin-flipper device in a strong magnetic field was developed.

## Slide 16: Thank you for your attention!

## Slide 17: Spin precession
S
Bω= - ω/γ – fictive field
Beff=B0+Bω+B1- effective field
S - polarization
S
B0
Bω
Before the RF field zone
Bω
B0
B1
S
Beff
RF field zone before resonance
Beff= B1
B0
Bω
Resonance
Beff
B0
B1
Bω
RF field zone after resonance
Beff= B0
Bω
After the RF field zone
B0= B0start + z ∂B/∂z - gradient stationary field (∂B/∂z < 0)
B1=B1 - alternating RF field with constant amplitude and rotation frequency ω, B1丄B0

## Slide 18
Optimization

## Slide 19
CST studio suite
Finite integration method
Faraday's law in integral form