## Slide 1: OPTIMIZATION OF THE NON-DESTRUCTIVE METHOD FOR DIAGNOSING HEAVY ION BEAM LOSSES BASED ON NEUTRON REGISTRATION
K. Timoshenko
AYSS-2024

## Slide 2: Outline
Introduction
Advantages and disadvantages of diagnostic methods
Operating principle of a non-destructive diagnostic system
Optimal solutions for the system: equipment
Software
Research results
Conclusion

## Slide 3: Diagnostic methods
In the field of diagnostics of heavy ion beam losses, there are two main methods: contact and non-destructive.
Contact method:
  Requires direct interaction with the beam.
  Provides direct information about the beam profile and parameters.
  Contact diagnostics methods can include measuring the beam's charge, intensity, or energy.
Non-destructive method:
  Allows assessing beam losses without direct interaction with the beam.
  Measures secondary effects caused by the beam's interaction with the environment or detectors.
  Enables the estimation of beam losses based on the intensity and distribution of the registered effects.

## Slide 4: Contact sensors
Depending on the initial parameters of the accelerated heavy ion beam, its profile is measured/monitored using various methods. The most common methods include:
Faraday Cup;
Luminescent screen;
Secondary emission grid;
Strip detectors;
Ionization chamber;
Scintillation detectors.
Secondary emission grid, secondary emission monitor, SEM
Luminescent screen, phosphor screen
Faraday Cup
Scintillation detector

## Slide 5: Disadvantages of contact methods
A high-intensity ion beam hit the bellows
Destructive effect on the beam;
Overheating and destruction of equipment.

## Slide 6: Principle of Operation of the Method
Beam
Ion beam channel
Detector 1
Detector 2
Detector 3
Detector 4

## Slide 7: Thermal neutrons counters
Neutron cross section of 3He in the energy range 0-10 MeV for the 4 reactions: 3He recoil, (n,p), (n,d) and γ-rays
Dependence of the Cross Sections of Reactions 3He(n,p), 10B(n,α), and 6Li(n, α) on Neutron Energy
SNM-16 (Corona Counters) | 
Rated operating voltage range, V | 2000-2800
Effective working length, mm | 105
Thermal neutron detection efficiency,% | 80
Helium-18/80-3,0/L (proportional counter) | 
Rated operating voltage range, V | 1150-1450
Effective working length, mm | 55
Thermal neutron detection efficiency,% | 80
SNK-30/60-4,6/L (Corona Counters) | 
Rated operating voltage range, V | 1900-2000
Effective working length, mm | 25
Thermal neutron detection efficiency,% | 70

## Slide 8: Main components of the system
Moderator of neutrons: H2O
Helium-18/80-3,0/L (proportional counter)
Modular control and information processing system:
Processor module
Current meter
High-voltage power supply
PC with software
ION BEAM LOSS DIAGNOSTIC SYSTEM

## Slide 9: Location on the DC-280
Expected and/or obtained parameters of the DC-280 beam [1]
1. V.A. Semin, S.L. Bogomolov, K. Gikal, G.G. Gulbekyan, I.A. Ivanenko, I.V. Kalagin, N.Yu. Kazarinov, V.I. Mironov DC-280 Cyclotron for Factory of Super Heavy Elements, Experimental Results.
Ion | Z | Beam Intensity from ECR |  | Efficiency of acceleration | Beam intensities of (4÷8) MeV/n ions on targets pps
 |  | eµA | pps |  | 
20Ne | 3 | 150 | 3.1014 | 50% | 1.5.1014
40Ar | 7 | 300 | 3.1014 | 50% | 1.5.1014
48Са | 7/8 | 160 | 1.3.1014 | 50% | 6.2.1014
50Ti | 8/9 | 80 | 6.2.1013 | 50% | 3.1.1013
54Cr | 9 | 125 | 8.1013 | 50% | 4.1013
58Fe | 9/10 | 125 | 8.1013 | 50% | 4.1013
64Ni | 10/11 | 125 | 8.1013 | 50% | 4.1013
70Zn | 11/12 | 100 | 5.1013 | 50% | 2,5.1013
136Хе | 22/23 | 150 | 4.1013 | 50% | 2.1013
209Bi | 34/35 | 15 | 2.2.1012 | 60% | 1.1012
238U | 39/40 | 1 | 1,5.1011 | 60% | 1.1011

## Slide 10: Software in LabVIEW

## Slide 11: Conclusions
Experiments conducted on the heavy ion accelerator DC-280 using 48Ca10+ and 40Ar8+ ion beams confirmed the potential of the proposed diagnostic method under high-intensity beam conditions.
Based on the results obtained, it can be said that the beam loss diagnostic system is optimized and can be used at the LNR accelerator complex as an auxiliary control system.
In the future, it is planned to install and conduct a series of experiments of such systems at the U-400 cyclotron and further at all basic FLNR facilities at JINR.

## Slide 12: OPTIMIZATION OF THE NON-DESTRUCTIVE METHOD FOR DIAGNOSING HEAVY ION BEAM LOSSES BASED ON NEUTRON REGISTRATION
K. Timoshenko
Email: timoshenkokd@jinr.ru
AYSS-2024