## Slide 1: Model for calculating the deformation of the shell of fuel assemblies
M.M. Podlesnyy*, I.V. Kushnir, Y.A. Vdovin, E.P. Shabalin
JINR Association of Young Scientists and Specialists Conference "Alushta-2024"
June 9-16, 2024
Joint institute for Nuclear Research, Dubna, Russian Federation
*e-mail: podlesny@phystech.edu

## Slide 2
A nuclear reactor is a device designed to provide a controlled self-sustaining chain reaction, accompanied by the energy release.
IBR-2 (FLNP, JINR) is a pulsed research reactor on fast neutrons in Dubna for conducting experiments on extracted neutron beams.
Fission chain reaction:
Thermal expansion law:
k (neutron multiplication factor) ~ σ (Nuclear cross section)
~ ρ (density of a fuel)
ρ ~ 1/T
Introduction

## Slide 3
The Power feedback [1]
[1] А.К. Попов. Анализ устойчивости импульсного реактора ИБР-2 при девятипараметрической модели мощностной обратной связи. Сообщения ОИЯИ. 1996
Presence of a positive component in reactivity

## Slide 4
Presence of energy release gradient
Energy release in the IBR-2M core
Assumption: Bending of the construction elements?
Coefficient of unevenness of energy release by fuel assemblies = 1.71

## Slide 5
T2
T1
T1 < T2
T0
Thermal expansion law:
where – extension of the rod length ,
– thermal expansion coefficient [1/К],
– heating magnitude (T1–T0)
y
Bending of the construction elements

## Slide 6
Direction of the gradient in the IBR-2M core

## Slide 7
Direction of the gradient in the IBR-2M core
Assumption: direction of the bending
cross section of the core in the case of fuel assembly bending

## Slide 8
Temperature distribution along the fuel assembly
Parameters:
69 fuel assemblies
Energy release – 2 MW (permanent)
Coolant flow – 100 m3/h
Temperature of coolant at inlet – 290 °C
Coolant flow through fuel assemblies is 95%
Model for calculating of the IBR-2M fuel assembly

## Slide 9
End of fuel pellets
Y=777 mm
Fuel rod fastening
Y=1100 mm
End of Fuel assembly
Y=1215 mm
2.4 sec of animation equals 6 sec;
Gradient in energy release is directed horizontally;
Temperature gradient in the fuel assembly wall is directed at an angle of 40% (depends on wire winding).
Temperature relaxation when energy release changes by 10%

## Slide 10
End of Fuel assembly
Y=1215 mm
ΔT = 4°C
Temperature equalization at the outlet of the fuel assembly

## Slide 11
Results
fuel assembly axis bending shape
approximation by a straight line of the dependence of the required coefficients on the magnitude of the energy release gradient

## Slide 12
Direction of the gradient in the IBR-2M core
Reality: direction of the bending
cross section of the core in the case of fuel assembly bending

## Slide 13
Relaxation time calculation
2.5 s?
dependence on the height-averaged temperature gradient of the fuel assembly wall

## Slide 14
Work on studying the behavior of fuel assemblies (continue)
Calculation of the influence of fuel assembly bending on reactivity
Building a dynamics model of the IBR-2 reactor taking into account bending of fuel assemblies
Future plans

## Slide 15: Thanks for your attention!
JINR Association of Young Scientists and Specialists Conference "Alushta-2024"
June 9-16, 2024