The High Granular Neutron Time-of-Flight
Detector (HGND) for the BM@N Experiment
        Sergey Morozov, INR RAS, Moscow
        on behalf of HGND team
12th Collaboration Meeting of the BM@N Experiment at the NICA Facility 12-18 May 2024, Satbayev University, Almaty, Kazakhstan

---
The HGND for the BM@N Experiment
New proposed time-of-flight neutron detector for the BM@N experiment
new High Granular time-of-flight
Neutron Detector (HGND)
neutrons
from
interactions
The HGND main goal: measuring the n/p flow ratio to study the symmetry energy of EoS
proton flow: BM@N spectrometer
neutron flow: HGND
target
12th CM of the BM@N, 12-18 May 2024, Almaty

---
New proposed time-of-flight neutron detector for the BM@N experiment
1) previous proposed 16 layer
    (1 veto + 15 active Scint./absorber) HGND
    detector configuration in position (1) at 17 deg
    shows limited rapidity range for neutrons
2) in order to extend neutron rapidity range the
    new position (2) has been found at 10 deg
    but the distance is 7m from target now,
    resulting in lost of acceptance
3) in order to keep the acceptance for neutrons
    the new system has been checked: two
    8 layers (1 veto + 7 active Scint./absorber)
    detectors insteed of one 16 layers
(1)
(2)
5000

---
Conception of neutron detector for the BM@N:
       High Granular Neutron time-of-flight Detector (HGND) with SiPM readout
1 Veto + 7 Cu/Scint layers
Structure of Scint. layer:
array of 11x11 scintillator cells 4 x 4 cm2
44cm
Veto Cu Scint
- transverse size of one layer: 44 x 44 cm2,
number of layers: 7 with absorber + 1 Veto,
- structure of layer: 3 cm Cu (absorber) + 2.5cm Scint. + 0.5cm (SiPM+FEE)
- size of scintillation detectors (cells): 4x4x2.5 cm3, 121 cells in each layer
- light readout: one SiPM with sensitive are 6 x 6 mm2 per cell (EQR-15), measured time res. ~ 120ps
- total length of one HGND half-detector: ~ 48 cm (~1.5 λin)
44cm

---
BiBi@3A GeV
DCM-QGSM-SMM
Comparison of neutron detection efficiency for the HGND
        with 7 and 15 active layers
Efficiency = 1 – Nevents without selected hits in HGND
        Nevents
Hit selection: minimum 2 hits with > 3 MeV (~1/2 MIP) signal
Single neutrons with different kinetic energies
on the HGND surface
Reconstruction of neutron energy performs with the ToF
of the fastest hit in HGND cell.
Neutron detection efficiency ratio
(HGND with 7 layers / HGND with 15 layers):
0.7 at 500 MeV
0.79 at 1GeV
0.81 at 4GeV
The drop is not ½!

---
BiBi@3A GeV
DCM-QGSM-SMM
Reconstruction of neutron kinetic energy and energy resolution
Reconstructed energy resolution
Reconstructed kinetic energy
Time resol. = 100 ps
Time resol. = 150 ps
Time resol. = 100 ps
Time resol. = 150 ps
Experimentally measured time resolution of the HGND scintillation cell ~ 120ps

---
The HGND position on the BM@N experiment
- To place the HGND on 10 degrees (instead of 17 degrees considered earlier) to increase
   accepted rapidity range
- Use two shorter HGND detectors instead of one to increase acceptance x2

---
BiBi@3A GeV
DCM-QGSM-SMM
Comparison of primary neutrons rapidity and pT distributions
on the HGND entrance surface for different positions of the HGND
projectile spectator neutrons
        Rapidity
        pT
neutron rapidity distribution
Midrapidity = 1.06
700cm -4.7deg
 timeCut < 35 ns
700cm -10deg
 timeCut < 35 ns
500cm -17deg
 timeCut < 25 ns

---
BiBi@3A GeV
DCM-QGSM-SMM
ToF vs kinetic energy of different type of particles
at the HGND 700cm, 10 deg -4.5 deg
At nDet entrance Around all nDet surfaces
Primary neutrons Bg neutrons Charged particles Gamma
35 ns

---
BiBi@3A GeV
DCM-QGSM-SMM
Spectra of kinetic energy of different type of particles at the HGND 700cm, 10 deg -4.5 deg
Primary neutrons at HGND entrance
Bg neutrons around HGND
Time cut (time<35 ns)
rejects at nDet entrance:
primary neutrons - 8%
background neutrons - 77%
gamma - 15%
Charged particles around HGND
Gamma around HGND
will be rejected with
VETO layer

---
BiBi@3A GeV
DCM-QGSM-SMM
Multiplicity of neutrons
Events with only 1 primary neutron at nDet entrance (time < 35ns)
Background at all nDet planes (time < 35ns)
1 Primary neutron
(time < 35ns)
Primary neutrons (mult. = 1)
All BG particles
Primary neutrons at nDet entrance (time<35n)
Reconstructed energy
Corrected to n detection efficiency
- Neutron energy in events with only one primary neutron can be
   correctly reconstructed by determining fastest time in the HGND cells.
- Neutron energy reconstruction for events with more than 1 neutron in events
  requires development of more sophisticated methods of energy reconstruction.

---
BiBi@3A GeV
DCM-QGSM-SMM
Estimation of primary neutrons count rate at BiBi@3 AGeV run
number of registered primary neutrons at the HGND
Beam rate - 106 per spill,
Duty factor of the beam - 50%
Efficiency of accelerator operation – 70%
Target interaction length - 2%,
Mean primary neutron yield:
     0.17 (single) - 0.23 (all) neutron / interaction
Mean efficiency of the HGND detector - 50%
During 1 month of the BM@N run ~ 1.2*109 single primary
neutrons with kinetic energy > 300 MeV can be
collected with 2 x HGNDs
Upper limit is 1.5 * 109 neutrons (additional multi-neutron
event recognition is required).
 154278
        34640
        8633
        1930
        385
        72
        9
        1
45670 ev

---
Schematic of the HGND mechanics
Structure of active layer
Active layer cassette
3D view of the HGND
1) plastic frame (3D printed)
2) PCB with photodetectors
3,8) aluminium covering
4) scintillator
5) photodetector
6) holding part
7) PCB with LED
9) LED
Status of mechanics and electronics development see in D.Finogeev et al. presentation.

---
Status of the HGND construction
The HGND mock-up
assembled at INR
active layer PCB positioning
scintillator layer assembled
- all scintillator cells 40x40x25 mm3 (~ 2000 pcs) have been constructed
- first scintillator layer has been assembled
Status of mechanics and electronics development see in D.Finogeev et al. presentation.

---
Conclusions:
 - 2-arms HGND detector system is proposed (7m from the target position and 10 deg angle)
 - the response of the 2-arms HGND was studied (BiBi 3 AGeV)
 - mechanics of HGND mock up was assembled at INR and will be used for tests
Outlook:
 - the HGND mock-up will be ready to test at the BM@N in Fall 2024
 - neutron detection algorithms are still under discussions (cluster method, ML etc.)
Thank you for your attention!

---
Backup

---
Возможные положения нейтронного детектора HGND на установке BM@N
(2)
(2)
(1)
1) расстояние от мишени 5м, длина 15 активных слоев, ограниченный диапазон по быстроте регистрируемых нейтронов
2) расстояние от мишени 7м, детектор из 2-х частей (для сохранения аксептанса) по 7 активных слоев, меньше эффективность
    регистрации нейтронов, но шире диапазон по быстроте
5000

---
Measurements of time resolution of scintillation detectors (scint + SiPM)
F.Guber et.al., Instruments and Experimental Techniques, 2023, Vol. 66, No. 4, pp. 553–557
(JINR + Hamamatsu, SensL photodetectors)
F.Guber et.al., arXiv:2309.03614v1 [hep-ex] 7 Sep 2023 (JINR, EJ230 scint. + EQR photodetector)
Photodetector:
EQR15 11-6060D-S
(sensitive area - 6x6 mm2, 15mkm pixel pitch, 160 000 pixels, PDE - 45%, gain - 4х105)
Scintillator:
JINR produced (40х40x25mm3), 1.5% paraterphenyl and 0.01% POPOP) with light time decay of 3.9 ± 0.7 ns
EJ230 with light time decay of 2.8 ± 0.5 ns
FEE: LMH6629MF preamp (20 dB gain, bandwidth of 600 MHz at a 3 dB level, and noise of <2.2 nV/√Hz) + rapid discriminator (ADCMP553) with a fixed threshold.
Readout: CAEN DT5742
Test results on e-beam at LPI
σ ~117 ps, N ph.el. = 158 ± 9
σ ~ 74 ps, N ph.el. = 292 ± 2
 JINR scintillators will be used for
the HGN detector because they are
available and significantly cheaper
than EJ230.

---
Time resolution and neutron flow measurements (based on V. Bocharnikov slides on 11th BM@N CM)