## Slide 1
NICA-MPD-Platform
23 APRIL 2024
XIII MPD COLLABORATION MEETING
SPEAKER: ALEXANDER FEDUNIN
HEAD OF SECTION ENGINEERING SUPPORT GROUP

## Slide 2
1
2
3
What is the NMP?
Main Components
of the NMP
Advantages
of the NMP

## Slide 3
NMP (NICA-MPD-Platform)
Is the part of data center and a main element of IT infrastructure.
This is a high-tech facility where critical data will be processed and information will be transmitted.
The NMP contains the electronics for collecting and processing data from the MPD, power supply and gas distributors sub detectors.

## Slide 4
Construction of the NMP

## Slide 5
Inside module there are racks with
- electronics,
- cooling
- power supply equipment
- other engineering systems
Construction of the NMP

## Slide 6: MAIN COMPONENTS OF THE NMP
IT RACKS on the NMP
1
FLOOR
2 3 4
FLOORS

## Slide 7: MAIN COMPONENTS OF THE NMP
IT RACKS on the NMP
Each rack has PDU controlled and ventilation panel

## Slide 8: MAIN COMPONENTS OF THE NMP
• Power Supply

## Slide 9: MAIN COMPONENTS OF THE NMP
• Cooling System
The cooling system protects the equipment from overheating, maintains and regulates the set air temperature

## Slide 10: MAIN COMPONENTS OF THE NMP
Access control and
management system
CCTV video surveillance system
Fire automation of extinguishing system

## Slide 11
XIII MPD Collaboration meeting
Fire automation of extinguishing system

## Slide 12
Network Equipment
Switches, routers, and
other devices that provide high-speed communications
Коммутатор HPE Aruba 3810M 24G 4SFP+ (JL071A)
Коммутатор Cisco Nexus 93180YC-EX

## Slide 13
STRUCTURED CABLING SYSTEM

## Slide 14: Monitoring system

## Slide 15: DEVELOPED AND TESTED SOFTWARE FOR THE CABLE SYSTEM

## Slide 16
Software features

## Slide 17
Software features

## Slide 18
Advantages of the NMP
1
2
Reliability
High fault tolerance and redundancy of critical components.
Efficiency
Optimized energy consumption and control automation.

## Slide 19
End 2022
2023
2024

## Slide 20: Thank you for your attention
23 APRIL 2024
XIII MPD COLLABORATION MEETING
SPEAKER: ALEXANDER FEDUNIN
e-mail: fediunin@lhep.ru