## Slide 1: Power feedback model of the IBR-2M reactor
M.M. Podlesnyy*, E.P. Shabalin, I.V. Kushnir, Y.A. Vdovin, A.E. Verhoglyadov
JINR Association of Young Scientists and Specialists Conference "Alushta-2025"
June 8-15, 2025
Joint institute for Nuclear Research, Dubna, Russian Federation
*e-mail: podlesny@phystech.edu

## Slide 2: Pulse reactor dynamics modeling
Settings
Boundary conditions
Method
Reactivity disturbance
Automatic controller
Thermal elasticity
Thermal expansion
Coolant
ρtr
ρax
ρna
ρac
ρout
ρpfb
Block of kinetics
Qi
Power feedback
Qi(t)
ki, ti

## Slide 3
Chart: 
“The physical nature of self-oscillations of pulse reactors has not been sufficiently studied, but there are some experimental data. For example, despite the differences, there are some common patterns in the manifestations of self-oscillations of both reactors (IBR-2 and IBR-2M).”
JINR Preprint P13-2021-11

## Slide 4
The Power feedback [1]
[1] А.К. Попов. Анализ устойчивости импульсного реактора ИБР-2 при девятипараметрической модели мощностной обратной связи. Сообщения ОИЯИ. 1996
Presence of a positive component in reactivity

## Slide 5
Study of thermomechanical processes affecting the dynamics of the reactor (IBR-2)
Axial expansion of fuel and change in pellet shape due to spatial temperature distribution in fuel
Temperature distribution inside the fuel
Dependence of average and maximum fuel temperature in a tablet on temperature
Schematic representation of the shape of the pellets in the fuel element

## Slide 6
Presence of energy release gradient
Energy release in the IBR-2M core
Assumption: Bending of the construction elements?
Coefficient of unevenness of energy release by fuel assemblies = 1.71

## Slide 7
T2
T1
T1 < T2
T0
Thermal expansion law:
where – extension of the rod length ,
– thermal expansion coefficient [1/К],
– heating magnitude (T1–T0)
y
Bending of the construction elements

## Slide 8
Study of thermomechanical processes affecting the dynamics of the reactor (IBR-2)
deformation of the fuel assembly due to temperature gradient
Deformation of the fuel assembly in the gradient direction (OX) and in the perpendicular direction (OZ)
Magnitude and direction of energy release gradients
bends direction of the fuel assemblies
3D model of a fuel assembly
Dependence of the temperature gradient on the fuel assembly wall on time after a single pulse
Coolant temperature at the end of the reactor core

## Slide 9
Study of thermomechanical processes affecting the dynamics of the reactor (IBR-2)
expansion of fuel assemblies in the upper part due to changes in the coolant temperature
Change in the temperature of the fuel assembly walls in different parts after a single pulse (heating of fuel by 13 deg)
Fuel assembly top nozzle drawing

## Slide 10
Power feedback function
Fuel expansion
Upper part FA bending
FA expansion

## Slide 11
Model refinement (Creation of the JINR-NIKIET working group)
Processing of archived experimental data from the IBR-2M reactor based on a new feedback model (in progress)
Building a dynamics model of the IBR-2 reactor taking into account bending of fuel assemblies (JINR, NIKIET)
Future plans

## Slide 12: Thanks for your attention!
JINR Association of Young Scientists and Specialists Conference "Alushta-2025"
June 8-15, 2025