## Slide 1: JINR Association of Young Scientists and Specialist Conference “Alushta-2025“ Remote access and synchronization subsystem of electronics cards for the TPC/MPD Detector of the NICA project
Alushta, 2025
Denis Potapov, an engineer of the
TPC/MPD group, VBLHEP, JINR

## Slide 2
General scheme and photo of the NICA complex
https://nica.jinr.ru/
https://mpd.jinr.ru/
Multi Purpose Detector (MPD) Hall
NICA Complex

## Slide 3: TPC/MPD Detector of NICA Complex
1. Front-End Cards (FECs) position;
2. End cap thermal screen;
3. Read-Out Chamber (ROC) based on MWPC;
4. High Voltage (HV) electrode;
5. Field cage position.
2
Time-Projection Chamber (TPC)
3
1
4
MPD mockup
5

## Slide 4: FECs integration on ROC
JTAG programmer
FEC controller
SAMPA FEC
24 ROCs –
1488 FECs –
95 232 ch.
FEC connection
for access & synchronization
Test setup of 62 FECs on 1 ROC
FEC assembly
Micro coaxial cables assemblies

## Slide 5: Prototype of remote access unit
Test setup for remote access prototype unit
Tested prototype
This remote access prototype unit uses JTAG (up to x7 FECs) for:
  FPGA reprogramming;
  FPGA debugging;
  An additional channel for accessing the digital part of the Data acquisition subsystem (DAQ).

## Slide 6
Procedure for verifying the data in RAM memory of FPGA
System Console window in Quartus
Testing of prototype remote access unit

## Slide 7
Errors recording file
during the procedure execution
Testing of prototype remote access unit
System Console window in Quartus

## Slide 8: Block diagram of remote access unit for Control & Synchronization Subsystem
Out con. (JTAG)
JTAG programmer
Out con. (JTAG)
…
6
JTAG
JTAG
JTAG
Tested prototype
JTAG Switch
JTAG
FEC_1
JTAG via LVDS
FPGA
JTAG
FEC_6
FPGA
Remote access module for 1 ROC chamber
7-port multidrop microchip
…
6
Out con. (JTAG)
JTAG via LVDS

## Slide 9: Block diagram of remote access unit for Control & Synchronization Subsystem
Out con. (JTAG)
JTAG programmer
Out con. (JTAG)
…
6
JTAG
…
11
JTAG
JTAG
JTAG interface
via optic
Inside
MPD magnet
JTAG Switch
JTAG
FEC_1
JTAG via LVDS
JTAG
JTAG
FPGA
JTAG
FEC_6
FPGA
Converter Optic - LVCMOS
Remote access module for 1 ROC chamber
7-port multidrop microchip
…
6
JTAG Switch
7-port multidrop microchip
JTAG Switch
7-port multidrop microchip
Out con. (JTAG)
Out con. (JTAG)
…
6
JTAG
FEC_61
JTAG via LVDS
FPGA
JTAG
RCU
FPGA
…
6
Total 62 cards FEC
+ 1 controller RCU
on ROC (+3 reserve)
…
Outside
MPD magnet

## Slide 10: Prototype of synchronization unit
Test setup for synchronization prototype unit
Readout and Control Unit (RCU)
Tested prototype
This synchronization prototype unit fanout transceiver reference clock to 62 FECs from 1 RCU (1 ROC sync.)
Synchronization unit of Subsystem will fanout 5 external signals to FECs:
  3 types reference clocks;
  Data trigger;
  Reset.

## Slide 11
Input con.
(LVDS)
…
8
LVDS
LVDS
Output con.
(LVDS)
LVDS
LVDS
TR_REFCLK
8xTR_REFCLK
…
8
8xTR_REFCLK
Total 62 cards FEC
on ROC (+2 reserve)
Up to 8 cards FEC
Synchronization module for 1 ROC chamber
Controller
RCU
Output con.
(LVDS)
Synchrosignal multiplication microchip
Synchrosignal multiplication microchip
Synchrosignal multiplication microchip
Synchrosignal multiplication microchip
Up to 8 cards FEC
Tested prototype
Block diagram of synchronization unit for Control & Synchronization Subsystem

## Slide 12
Input con.
(LVDS)
…
8
LVDS
LVDS
Output con.
(LVDS)
LVDS
LVDS
TRG
ADC_CLK
FRST
REFCLK
TR_REFCLK
8хTRG
8хADC_CLK
8хFRST
8хREFCLK
8xTR_REFCLK
…
8
8хTRG
8хADC_CLK
8хFRST
8хREFCLK
8xTR_REFCLK
Total 62 cards FEC
on ROC (+2 reserve)
Up to 8 cards FEC
Synchronization module for 1 ROC chamber
Controller
RCU
Output con.
(LVDS)
Synchrosignal multiplication microchip
Synchrosignal multiplication microchip
Synchrosignal multiplication microchip
Synchrosignal multiplication microchip
Up to 8 cards FEC
Optical links
5
External
sync. unit
Inside
MPD magnet
Block diagram of synchronization unit for Control & Synchronization Subsystem

## Slide 13
3D model and photo of device CSS_v1.1
(top view). Size is 810 x 60 mm
Location of CSS_v1.1 on TPC
Control & Synchronization Subsystem_v1.1
(CSS_v1.1) is produced

## Slide 14
Comprehensive tests of prototypes of remote access and synchronization units have been carried out;
Electrical scheme of control & synchronization system has been developed;
Tracing of PCB control & synchronization system has been completed;
Subsystem is being manufactured
Future plans:
  Perform full-featured device testing
Conclusion

## Slide 15: JINR Association of Young Scientists and Specialist Conference “Alushta-2025“ Remote access and synchronization subsystem of electronics cards for the TPC/MPD Detector of the NICA project
Alushta, 2025
Denis Potapov, an engineer of the
TPC/MPD group, VBLHEP, JINR

## Slide 16
3D model of device Control & Synchronization System(top view). Size is 810 x 60 mm
Control & Synchronization Subsystem is designed
Location of control & synchronization system on TPC
JTAG over LVDS. Сable length is about 2m