## Slide 1: Description of the work of special ventilation and accumulation of liquid radioactive waste
Zudin A.
Introduction
1/12
FLNR

## Slide 2
Обоснование
2/12
FLNR
Cyclotron is a complex machine that require special safety measures during operation.
Special attention is paid to the system of ventilation and accumulation LRW, because radioactive gases , aerosols and contaminated water are formed during the operation
The operation of cyclotron requires a special approach to ensure radiation safety.
The main sources of LRW and polluter air:
-Laboratory analyses using radioactive isotopes
-Working with radioactive samples
-Flushing of equipment after handing radioactive materials
-Waste solutions and reagents

## Slide 3
ventilation
3/12
FLNR
fans
mode control panel

## Slide 4
ventilation
4/12
FLNR
Filter FAB3500-D
Pressure sensor
Stainless steel air ducts

## Slide 5
ventilation
5/12
FLNR
Shipping room
ventilation

## Slide 6
ventilation
6/12
FLNR
Chemical laboratory boxes
manometer

## Slide 7
ventilation
7/12
FLNR
Target boxing
Target boxing

## Slide 8
control
8/12
FLNR
Remote control of the gas purification system.
-the fan is in operation
-the fan is stopped
- there are no accidents
- accident
-installation name,
room

## Slide 9
control
9/12
FLNR
-operating
time of the equipment
-schedule
-the status of the mode switches on the control panel

## Slide 10
LRW
10/12
FLNR
Remote control of special sewage.

## Slide 11
LRW
11/12
FLNR
Equipment diagram
tank 203-1 tab

## Slide 12
Thank you=)
12/12
FLNR
Thank you for your attention=)