## Slide 1: PROTOTYPE OF 1D-DETECTOR FOR Thermal NEUTRONS BASED ON A resistive plate CHAMBER with 10B4C: MEASUREMENTS WITH LABORATORY SOURCES
M. A. Samotokhin, M. O. Petrova

## Slide 2: Motivation
Study the assembly process and features of the detector.
Determine the parameters and, based on them, substantiate the detector's operational mode.

## Slide 3: Detector’s construction
1 –Printed circuit board with conducting strips and delay line;
2 – Float glass;
3 – Converter
4 – Spacer;
5 – Aluminum foil.

## Slide 4: Detector assembly — anode
Aluminum foil 100 mkm, 100*180 mm
Float glass 80*170 mm;
Contact tabs.

## Slide 5: Detector assembly — cathode
Glass with converter 75*150 mm;
Contact tabs;
Polyethylene screws;
Spacer 0,279 mm.

## Slide 6: Encased detector

## Slide 7: Сounting rate-voltage characteristic

## Slide 8: Measurement results with the

## Slide 10: Operational voltage 2600 V

## Slide 12: Measurement results with the
for

## Slide 14: Operational voltage 1900 V

## Slide 16: Sum:psd, q:psd, q:sum selection

## Slide 17: Measurement results with the cosmic rays

## Slide 19: Conclusion
Detector assembly resulted in design improvements and modifications.
Based on the analysis of the results, the operating regime for the fabricated detector was defined and substantiated: 1900 V for neutron and 2600 V for gamma-ray detection.