## Slide 1: New trends in development of “Active Correlation” Technique
Introduction: DGFRS, detection system, real-time algorithm to search for ER-α sequences.
Examples for PIPS and DSSSD. Specifics of DSSSD applications.
/Past + present/
-------------------------------------------------------------------------
(nearest future) Ultra high beam intensities
(FLNR DC-280 project). ~2017-2018; ~5-10 pμA 48Ca, 50Ti..!
4. Spectrometer implementation.
(ADP-16 “TekhInvest”, free economy zone Dubna as a base unit )
5. Few words about radiation stability
Summary
-----------------------
PS ( abbreviators ) PIPS, DSSSD…
Yu.S. Tsyganov
FLNR, JINR +
@Collaboration Dubna-Livermore-Oak Ridge (JINR-LLNL-ORNL)
tyura@sungns.jinr.ru , 2167590
Table of contents
NEC’2015
Budva
Montenegro
Declaration of Z=114
naming by IUPAC President

## Slide 2
Рисунок 40 Поиск корреляционных пар ядро отдачи – альфа распад. Система наведена на изотоп 216Ac. (Принт-скрин он-лайн программы)
-7 МэВ.
First in-beam test
1995-1997
“soft real-time mode”
NEC’97, Varna + HPC ASIA’97 Seoul, Korea
Idea of method
216
Ac
Test reaction Au+NeAc +xn
Chairmen: Prof. I.Vankov,
Dr. I.N. Churin
1997, Varna
ER-alpha
History in brief

## Slide 3: Idea of the algorithm to search for ER-α
have to transform to…  …
Graph n nodes  n(n-1)/2 links
Each link = may be considered as a trigger signal. Usually, a1 = ER signal. Combinatory object matrix .  || t (i,j) ||
?
Energy-time-position
 “dangerous” background
realization
 PC RAM
matrixes (top&bottom) of recoils
EREG = F(Ein)
Veto against Focal plane
Strip#2
EFP, KeV

## Slide 4: Calibration process
To operate in real-time mode it takes 752 (PIPS -32)/352 (DSSSD) calibration parameters to insert in advance to Builder 6.0 C++ data taking code which are extracted from calibration reactions. (~few days)
217Th (T1/2 = 237 µs )
natYb+48Ca217Th+3n
217Th
206Pb+48Ca252No+2n
(additionally
+ FF scale)
(main)
σ ≈ 0.08%
DSSSD
DSSSD
PIPS
September 15 /2015
DSSSD
Present status! (2015)

## Slide 5
Blue – monitoring&protection
Green – detection
Magenta- “active” correlations search for ER-alpha
Red – aerosol control (rad. safety staff, autonomous)
PC with CAMAC controller
..subsystems
Lay-out of the DGFRS experiments with 48Ca projectiles
DSSSD

## Slide 6
What is the experimentalist see
#1
beam on
Chopper
off
#2
beam off
Chopper
ON !

## Slide 7: Vision#3…(~1,5-2 minutes after) + sound multimedia signal from SCP
PIPS, CANBERRA NV
12 strips

cell №
if (tof ==0 // code fragment С++
dt1 = tim1 - reco[strip][npix];
dt2 = tim1 - reco[strip][npix+1];
dt3 = tim1 - reco[strip][npix-1];
dt4 = tim1 - reco[strip][npix+2];
dt5 = tim1 - reco[strip][npix-2];
dt6 = tim1 - reco[strip][npix+3];
dt7 = tim1 - reco[strp][npix-3];
dt = (dt1<dt2) ? dt1 : dt2;
dt = (dt<dt3) ? dt : dt3;
dt = (dt<dt4) ? dt : dt4;
dt = (dt<dt5) ? dt : dt5;
dt = (dt<dt6) ? dt : dt6;
dt = (dt<dt7) ? dt : dt7;
Detecting system
was registering decay:
Beam –off pause was created by
ER-α correlation
10.5 MeV 30 ms 0.4 mm
Elapsed time, s
Energy, KeV

## Slide 8: Example of application: reaction 249Bk+48Ca117+3n
52.69+6.51 = 59.20
23.5+35.81 = 59.31
35.79+23.91= 59.70
42.11+17.50= 59.61
40.13+19.01= 59.14
39.65+20.66= 60.31
28.57+31.75= 60.32
37.24+22.64= 59.88
24.67+34.63= 59.30
25.14+34.99= 60.13
38.48+20.84= 59.32
Y.Oganessian et al.// May 2013 issue of Physical Review C (Vol.87, No.5):
PIPS 32
D=59.65+/- 0.45 мм
Self consisted
test
№ event
Top+bottom, mm

## Slide 9: Результирующие цепочки распада 117
Only the second time for ~ 7 years in PRL title list
is placed a fragment from Russian authors paper !

## Slide 10
trends : а) to decrease rates in FPD of the DGFRS  DSSSD application (lover side of the “elementary cell”)
b) intensity > 1 pμA (5-10)-
approach, implementation (in brief), radiation stability
Extrapolation to J5-10 pµA
Crazy result !
~1 s (corr)  1 min (del)
J  ∞
Nearest
future
20Ne | 1·1014 pps
48Ca | 6·1013 pps
50Ti | 3·1013 pps
G.Gulbekyan, theme report | 
PIPS, 12 strips
DC 280 high intensity HI cyclotron ~2017-2018 (FLNR, JINR project)
Status 11/09/2015

## Slide 11
DSSSD Micron Semiconductors (UK) –ORNL (US, TN) application
Main advantage – lover area of “elementary” cell (~1/10 83% cases !) and
(significantly for the method of “ AC”) – practically ready ER matrix for use.
But… from p-n junction side (back)  edge effects between the neighbor strips
~17% (α 5.5 МeV, close to 2π geometry) 128 strips.
(as to ohmic contact side) edge effect is suppressed due to  P+ separation guard layer
( Dr. Susanne Welsh, Micron Scd’s , UK// 2014. private comm. // ~ 0.1% ORNL
Front side.
______________________________________________________
Yu.Tsyganov Lett. to ECHAYA 2015. v.12, no.1(192) 128-135, v.12 no.4 (195), pp.885-894
& Cybernetics and Physics 2014. No.3 . Pp.85-90
~0.1% sharing
~17% α-source 5.5 MeV ; close to 2π geometry
a
b
(el. Field) Fa < F b
As a result 

## Slide 12
Block-diagram to search for ER-α sequences
Schematics of the detection/ER-α searching process
Recoil matrix 48x128 in the PC RAM
Event number
Code (state register)
energy=0; enb=0; enb1=0; enb2=0;
if (strip>=0 &&strip< 48) energy = (aa[strip]*float(wa)) +bb[strip];
if (strip_1 >=0 && strip_1 < 128) enb1=EAB1[strip_1]*float(wab) +EAB0[strip_1];
if (strip_2 >=0 && strip_2 < 128) enb2=EAB1[strip_2]*float(wab) +EAB0[strip_2];
enb = enb1+enb2;
// ----------- начинаем фильтровать ------------------------------------------
EVR=false; ALFA=false;
if (tof > TOF_MIN && tof < TOF_MAX && energy > ER_MIN && energy <=ER_MAX ) EVR = true;
if (tof==0 && energy > MINALFA && energy < EA_MAX) ALFA= true;
if (fabs(energy-enb) > D_ENERGY) ALFA=false;
State register (positional code, test)powers of 2 – single signal
C++ program fragment
N cycles;
Actual : N=1
t, μs
i3-2100 CPU @ 3.10 GHz
Recoils (ER’s)

## Slide 13
Experiments on the synthesis of superheavy nuclei 284Fl and 285Fl in the 239,240Pu+48Ca reactions
V. K. Utyonkov,1, * N. T. Brewer,2 Yu. Ts. Oganessian,1 K. P. Rykaczewski,2 F. Sh. Abdullin,1 S. N. Dmitriev,1 R. K. Grzywacz,2,3 M. G. Itkis,1 K. Miernik,2,4 A. N. Polyakov,1 J. B. Roberto,2 R. N. Sagaidak,1 I. V. Shirokovsky,1 M. V. Shumeiko,1 Yu. S. Tsyganov,1 A. A. Voinov,1 V. G. Subbotin,1 A. M. Sukhov,1 A. V. Sabel'nikov,1 G. K. Vostokin1, J. H. Hamilton,5 M. A. Stoyer,6
1Joint Institute for Nuclear Research, RU-141980 Dubna, Russian Federation
2Oak Ridge National Laboratory, Oak Ridge, Tennessee 37831, USA
3Department of Physics and Astronomy, University of Tennessee, Knoxville, Tennessee 37996, USA
4Faculty of Physics, University of Warsaw, Warsaw, Poland
5Department of Physics and Astronomy, Vanderbilt University, Nashville, Tennessee 37235, USA
6Lawrence Livermore National Laboratory, Livermore, California 94551, USA
Phys. Rev. C , September 2015/ in print/
First time for successful AC method application for DSSSD
Preamp’s (2)
START/STOP
48+128+8 electronics channels (preamp’s)

## Slide 14: case of J (48Ca)  ∞ (DC-280 ~10pμA)
1 0.781480 16.523 12 3.5
2 0.670664 10.176 12 3.5
3 0.608722 6.030 12 3.5
4 0.574105 3.428 12 3.5
5 0.555076 1.892 12 3.5
6 0.544767 1.026 12 3.5
7 0.539234 0.551 12 3.5
8 0.536280 0.294 12 3.5
9 0.534709 0.156 12 3.5
10 0.533875 0.083 12 3.5
11 0.533432 0.044 12 3.5
12 0.533197 0.023 12 3.5
13 0.533072 0.012 12 3.5
14 0.533006 0.007 12 3.5
15 0.532971 0.003 12 3.5
16 0.532953 0.002 12 3.5
17 0.532943 0.001 12 3.5
18 0.532938 0.001 12 3.5
19 0.532935 0.000 12 3.5
20 0.532933 0.000 12 3.5
One iteration = 0.6 мкс
i3-2100 CPU @ 3.10 GHz
One iteration = 1.4 мкс
1 0.608511 8.224 28 3.5
2 0.562271 3.276 28 3.5
3 0.544435 1.299 28 3.5
4 0.537452 0.513 28 3.5
5 0.534709 0.202 28 3.5
6 0.533631 0.080 28 3.5
7 0.533207 0.031 28 3.5
8 0.533040 0.012 28 3.5
9 0.532974 0.005 28 3.5
10 0.532948 0.002 28 3.5
11 0.532938 0.001 28 3.5
12 0.532934 0.000 28 3.5
13 0.532933 0.000 28 3.5
14 0.532932 0.000 28 3.5
15 0.532932 0.000 28 3.5
16 0.532932 0.000 28 3.5
17 0.532932 0.000 28 3.5
18 0.532932 0.000 28 3.5
19 0.532932 0.000 28 3.5
20 0.532932 0.000 28 3.5
Ordinary iterations
Newton meth.
Flowchart of data taking process
“effective life time» n-ER’s
Def. : 
ti – measured, wi-weight
...since we consider the borderline behavior of signal during registration of recoil nuclei…

## Slide 15: ..in a more common case… may be ( + additional filtering)
- ER registered energy (PHD!)
 taking into account
TOF,ΔE1,2
)∙(1-
0: - other cases
ΔE spectra
Probability to peak one or more random ER imitator signals / Poisson statistics
t1 | t2 | Result(beam off) | comment
+ | + | old + new + | Old version ignores t2
- | - | - - | Not actual case
+ | - | + +/- | τ≤t pre-set yes + otherwise no -
Condition: t1 < t2 |  |  | 
...since we consider the borderline behavior of signal during registration of recoil nuclei…

## Slide 16: Оn the probable implementation… (two scenarios…)
1 ( more traditional preamplifier + sh. Amp + multipl-r+ADC)…Report by A.Voinov next session, after coffee break will follow
2. « ADP-16 integral 1M module
preamp+ADP16( amp+mltp+adc 16 in 2 scale)
It is necessary as a minimum 12 + (~2 reserved) modules ADP-16
Nowadays N=1 (experimental) !
program for ADP_16
C++ Builder 6 (Windows)- 1st approximation
TekhInvest Dubna
σ≈0.003%
Little bit drawback…
(dep. From threshold <100)
Full parameter range 1-255
It will be eliminated in 2016
By the developer (TekhInvest, Dubna)
ADP-16 ..stability test 65 h…

## Slide 17: ..a few words about radiation stability ( very briefly )
p.92 Tab. 17 (FF)  1.0e+8 см-2.
1 pµA  150 Hz  10 pµA  1500 Hz
1500*1.0е+5с*200 d = 3e+10
(non-uniform..1/2 S full)
12 cm*50cm/2= 300 cm2
3.0e+10/300 =1.0e+8 сm-2
________________________________________________________________________________________
~200 days  2-3 DSSSD/year experiment???
~25 K Euro +

## Slide 18
SUMMARY: /NEC’2015, Budva /
AC method is extended for DSSSD. First experiment is successfully finished.
2) An approach to the method application at J∞ is considered, including a reasonable electronics implementation ( ADP-16 TekhInvest, “FEZ Dubna” ).
First tests are performed. First approximation of C++ data taking code is ready.
3) < 1 year DSSSD resource due to radiation stability (?)
= 25K Euro extra
---------------------------------------------------------------------------4) ER –α-α (..or even.. α-α with ac ER)  in reserve
(but very small threshold value is required !!!)
5) Detecting @ computing @ electronics will not a main problem with J∞
DGFRS
1st staff
~ 1993
New gas-filled separator( project )
~2018
All the new superheavy nuclei in the reactions with 48Ca at JINR were discovered with use of the DGFRS alone !!!

## Slide 19
Thank you for your
attention !