## Slide 1: Project of a Fast Interaction Trigger for MPD experiment .
V. Yu. Rogov, S. V. Sergeev, V. I. Yurevich

## Slide 2: FFD geometry
FFD should provide ZERO-level trigger generation based on
  Z-axis interaction coordinate
  Hit multiplicity
L = 140 cm
Au
Au
γ
γ
π
π
p
p
p
FFD
L
FFD
R
2.7< |η| < 4.1
θ
E
W

## Slide 3: FFD location

## Slide 4: FFD equipment

## Slide 5: Arm processor (SDU)
SPM
SPM
SPM
SPM
LVM
LVM
LVM
LVM
IM
APM
5 FE boards
5 FE boards
5 FE boards
5 FE boards
To vertex processor
To TDCs
Serial line server
Ethernet
Optical link to DAQ
RS485

## Slide 6: SPM+ LVM
MCU
Positive regulated power supply +4V-8V, 150 mA
Negative power supply
-7,3V, 100 mA
Positive regulated power supply +4V-8V, 150 mA
I,V,En
I,V,En
I,En
HDMI for one FEE module (4 LVDS channels)
4 * LVDS fan-out 1:2
individual
Signals to DAQ
Signal processing
Back-Plane
RS485
To Arm module
RS485
LVM
SPM

## Slide 7: Signal processor module
Programmable delay
Programmable delay
FPGA
Programmable delay
Individual signals
Programmable delay
From/to other electronic
RS485
CLM
RS422
JTAG
RS485
MCU
Station address 5 bits
20 delay lines per SPM

## Slide 8: Individual channel diagram
Pulse width discriminator
Counter
Shaper
Counter
To TDC
Fan-out
Σ
OR
FPGA
Adjustable delay
Counter
Latch
Fan-out
20 channels
8
Adjustable delay
Pulse width discriminator
Counter
Shaper
Counter
Shaper
20 channels
Nch Nmod
TDC (width)
Histogram

## Slide 9: Vertex processor
RS
processing block
Precise Programmable delay #3
AND
FPGA
Precise Programmable delay #1
Precise Programmable delay #2
Preprocessing block
RS485
MCU
CLM
JTAG
RS422
RS485

## Slide 10: Development Constrains
Since the system is quite complicated we use KISS approach (Keep It Stupidly Simple)
Complicated modules should be split to a set of simple ones
The content of FPGA (firmware) for each trigger operation mode should be as simple as possible
Different operation modes of firmware are realized as a set of independent FPGA configurations instead of a complicated one having many branches
This brings a need to reload FPGA RAM “in the flight”

## Slide 11: FPGA configuration loading module (CLM)
CLM is a daughter board with dimensions 50*60 mm^2
CLMs could be connected to a branch a daisy chain
The CLM unit contains a library of configurations recorded to a micro-SD card with FAT32 file system
The configurations could be loaded via JTAG to all FPGAs in parallel by one command from the central DCS. Loading time is about 3 sec.
FPGA configurations could be loaded to CLMs via serial link. Loading time is about 2 min. Loading could be done in parallel to many CLM branches

## Slide 12: CLM manager prototype

## Slide 13: Actual status
The architecture of the FFD system is fixed
The prototypes of SPM, LVM, APM, VPM main units are tested using FPGA Cyclone IV test board. Some adjustment will be needed to migrate to Cyclone X GX
SMP, LVM and a backplane are in production
Arm Processor Module and a Vertex Processor Module are under development
CLM prototype has been successively tested.

## Slide 14: Thank you for the attention