## Slide 1: On the possibility of determining the moisture content in coke (fuel) with a BGO scintillation gamma-detector and a 239Pu-Be neutron source
D.N. Grozdanov
F.A. Aliyev, C. Hramco, Yu.N. Kopatch, V.M. Bystritsky,
V.R. Skoy, N.A. Gundorin, I.N. Ruskov

## Slide 2: Theoretical considerations: Interaction of neutrons with water
Hydrogen
1H (2223.25 keV)
Oxygen
16O (6129 keV)
Fast neutron Inelastic scattering
Neutron capture
compound nucleus

## Slide 3: Experimental setup
45 cm
8 cm
2 cm
239Pu-Be
(5*106 n/s)
Shielding
Fe (30 cm)+Bi (5cm)
BGO
Coke (fuel)
-Top view-
15 cm
239Pu-Be
(5*106 n/s)
BGO
-Side view-
15 cm
Table
Shielding
Fe (30 cm)+Bi (5cm)

## Slide 4: Scintillation detector, electronics and data acquisition
ADCM16-LTC, 16-channel/14-bit/100MHz
ADC-boards from AFI Electronics.
BGO (Ø76 x 65 mm)

## Slide 5: Energy calibration

## Slide 6: Measuring conditions and some experimental results
A 2 kg coke sample, containing a variable amount of water (from 2% up to 80%),
was irradiated
with 239Pu-Be neutrons
every time for 10 hours

## Slide 7: Radiation background subtraction

## Slide 8: Fit of the experimental data (H2O) without background subtraction
H2O - 6 %
H2O - 42 %

## Slide 9: Fit of the experimental data (H2O) after background subtraction
H2O - 42 %
H2O - 6 %

## Slide 10: Dependence of the Hydrogen and Oxygen peak areas as function of the amount of water added into the coke sample

## Slide 11: Conclusions & outlook
These measurements show that we can determine the amount of water, added into the coke sample, from the characteristic gamma-ray spectra with and without radiation background subtraction.
For more accurate determination of small amount of water in coke samples, new experiments are needed.

## Slide 12: Thank you for your attention