## Slide 1
V. Andreev, A. Butenko, V. Elkin , E. Gorbachev, V. Isadov, A. Kirichenko, S. Romanov, V. Volkov
The subsystem of the internal beam intensity diagnostics at the Nuclotron
Laboratory of High Energy Physics, Joint Institute for Nuclear Research,
Dubna, Russia

## Slide 2
V. Andreev et al. “The subsystem of the internal beam intensity diagnostics at the Nuclotron”
TOPICS
The New Parametric Current Transformer
Data Acquisition
The Subsystem Hardware Structure
Signal Processing
The Subsystem Software
The “Oscilloscope” Operation Mode
Conclusion

## Slide 3
V. Andreev et al. “The subsystem of the internal beam intensity diagnostics at the Nuclotron”
The New Parametric Current Transformer (NPCT)
The NPCT sensor head with the Transformer electronics chassis

## Slide 4
V. Andreev et al. “The subsystem of the internal beam intensity diagnostics at the Nuclotron”
The New Parametric Current Transformer (NPCT)
The NPCT sensor is embedded on the Nuclotron ring

## Slide 5
V. Andreev et al. “The subsystem of the internal beam intensity diagnostics at the Nuclotron”
Data Acquisition
NI 6284 M Series DAQ device (18-Bit, 500 kS/s, 16 diff. AI channels)

## Slide 6
V. Andreev et al. “The subsystem of the internal beam intensity diagnostics at the Nuclotron”
The Subsystem Hardware Structure

## Slide 7
V. Andreev et al. “The subsystem of the internal beam intensity diagnostics at the Nuclotron”
Signal Processing
From the Voltage to Intensity
where W(B) is a particle energy, W0 - the rest energy, A & Z– a particle mass and charge , P and R0 – the ring circumference and radius, k is the coefficient of proportionality (1011 particles/V)

## Slide 8
V. Andreev et al. “The subsystem of the internal beam intensity diagnostics at the Nuclotron”
Signal Processing
Median Filtering
Central Moving Average
Digital compensation of the Transformer base-line droop and a low-frequency interference on the NPCT signal

## Slide 9
V. Andreev et al. “The subsystem of the internal beam intensity diagnostics at the Nuclotron”
The Subsystem Software
Bergoz DS
DAQmxAI DS
Bergoz Client
WebSocket DS
Bergoz Web-client
Nuclotron Web-server
DBStorageDS
TANGO structure of the Subsystem software

## Slide 10
V. Andreev et al. “The subsystem of the internal beam intensity diagnostics at the Nuclotron”
The Subsystem Software
The GUI for accelerator operators and experts

## Slide 11
V. Andreev et al. “The subsystem of the internal beam intensity diagnostics at the Nuclotron”
The Subsystem Software
The GUI for experimentalists

## Slide 12
V. Andreev et al. “The subsystem of the internal beam intensity diagnostics at the Nuclotron”
The Subsystem Software
The web-client

## Slide 13
V. Andreev et al. “The subsystem of the internal beam intensity diagnostics at the Nuclotron”
The “Oscilloscope” Operation Mode
…
The GUI for the “Oscilloscope” mode

## Slide 14
V. Andreev et al. “The subsystem of the internal beam intensity diagnostics at the Nuclotron”
Conclusion
…
The subsystem of the internal beam intensity diagnostics in its current hardware and software configuration has been successfully exploited during the latest three runs of the Nuclotron. It successfully supported the accelerator operation both with high and low (108 particles and less) intensity beams.
The high level of the automatization and lots of services make the subsystem very useful and convenient instrument for accelerator operators, experimentalists and other users.
This subsystem has been fully integrated into the TANGO Controls System of the Nuclotron and may be used as a part for the future control system of the NICA complex.

## Slide 15
V. Andreev et al. “The subsystem of the internal beam intensity diagnostics at the Nuclotron”
Thank you
for your attention!