## Slide 1
13.01.17
DRAFT
0
B
E
E
R

## Slide 2: Improving site efficiency by integrating storage nodes and batch processing Batch on EOS Extra Resources
Markus Schulz, Andrey Kiryanov, David Smith, Ben Jones, Luca Mascetti, Massimo Lamanna

## Slide 3: Background
EOS is CERN’s large storage management system
  https://eos.web.cern.ch/
The hardware architecture follows CERN’s commodity paradigm
  Disk servers are based on standard servers with shelfs of disks

## Slide 4: Motivation
Observation of relative low average loads on our storage systems
  Often I/O bound (internally and network)
    Most nodes are not CPU saturated even when they are I/O saturated
  Nodes are build from a combination of standard compute nodes with large disk trays
    Giving better economics of scale, less hardware diversity etc.
CERN has a relatively large storage system O(1000) nodes
  Several have 32 cores with 2GB/core
Questions:
  Can we make use of some of these cores?
  What value does this correspond to?

## Slide 5: EOS at CERN
250 PB raw disk space
Usage (when we started):
  Read: average 43 GB/s peak 80 GB/s
  Write: 8 GB/s
  IOPS: read: 347 kHz, peak 600 kHz; write: 34 kHz
Usage per box: ~1200 servers
  Read: 35MB/sec - 67MB/sec, write: <10MB/sec
  IOPS: read 290-500 Hz, write: 28Hz
Hot spots do not matter for the following argument
  For every hot spot there must be a “relaxed” node to keep the average

## Slide 6
Computing loads on busy storage servers
On a heavily loaded ALICE EOS cluster average CPU utilization is ~20% – left plot
ALICE EOS disk server with highest CPU utilization is ~60% – right plot
  But: Mostly IOWait, which can be used by other processes  Significant Potential
Cluster
Node
IOWait
Idle
IOWait
Idle
Average: System+User+IRQ < 10%
Busy: System+User+IRQ < 20%

## Slide 7: First Steps
Proof of concept tests by Andrey Kiryanov
  Testbed (puppetized)
    Small EOS system(s)
    Client/load-generator cluster
    Condor based test with computational loads
      Using lhc@home
      Boinc based system

## Slide 8: First test system
13 hosts as load generators
  EOS Xrdstress tool generates I/O loads
  Up to full saturation
4 EOS storage nodes (old nodes > 3years)
  22 disks 1 Gbits network, EOS 4.1, xrootd 4.5, 6.54 HEP-SPEC06/core, 4 cores
1 EOS head node
  10Gbits
Condor runs payloads directly, no virtualization involved
  psacct has been used for accounting
  v
I/O load
generators
(13 hosts)
EOS head
(namespace in memory)
EOS disk server 1
+
Condor (vLHC@Home)
EOS disk server 2
+
Condor (vLHC@Home)
EOS disk server 3
+
Condor (vLHC@Home)
EOS disk server 4
+
Condor (vLHC@Home)
metadata 10Gbps
file I/O
1Gbps
1Gbps
1Gbps
1Gbps
22X
22X
22X
22X

## Slide 9
Test system performance measurements
No significant difference in I/O:
  357 MB/s read 91 MB/s write in hybrid mode
  357 MB/s read 96 MB/s write in EOS-only mode
Servers limited by network.
  Load/node comparable with production
~90% CPU used by vLHC@home
Xrdstress on and the vLHC@Home processes in the background.
vLHC@home ON
vLHC@home OFF

## Slide 10: Corner case: 100% I/O saturation
Used Hybrid Testbed v1
Generated local load on disks
Almost no impact on I/O or memory
~40% CPU used by vLHC@home
Condor OFF
Condor ON
No I/O performance degradation

## Slide 11: Corner Case
Payload OFF
Payload ON
Payload OFF
Payload OFF
Payload OFF
Payload ON
Payload ON
Payload ON
There’s almost no visible impact from extra compute payload: neither disk performance nor memory utilization suffer from background low-priority tasks.

## Slide 12: Testbed 2 to increase the I/O load
Hybrid Test Bed vs 2
10 Gbps link for data access
  But only 4 disks
I/O load
generators
(13 hosts)
EOS head
(namespace in memory)
metadata 1Gbps
file I/O
10Gbps
EOS disk server 1
+
Condor (vLHC@Home)
4X
  161 MB/s read 93 MB/s write
EOS only
  156 MB/s read 93 MB/s write
EOS + vLHC@home
Very little impact on I/O
  Limited by disks ....
> 60% CPU for vLHC@home

## Slide 13: What did we learn so far?
With a simple setup Storage and Computing can be run without much interference
  HTCondor + nice
  This can be improved significantly
For typical I/O loads in production we can expect to use >80% of the CPU for non storage tasks
  Worst case would be about 50%
This looks interesting......

## Slide 14: New testbed
New disk server with decent hardware
  Dual E5-2630 v3 @ 2.40GHz (32 vcores with HT)
  64 GB RAM
  48 spinning disks 6TB each + 2 SSD (OS + swap)
  10 Gbps network
I/O load
generators
(7 hosts)
EOS head
(namespace in memory)
10Gbps metadata
10Gbps file I/O
EOS disk server
+
Condor (vLHC@Home)
48X

## Slide 15: Running with compute payload
>80% of CPU resources used for compute payload
5Gbps write followed by 8Gbps read

## Slide 16: Running with no payload
>80% of CPU resources are wasted
No I/O performance improvement

## Slide 17: Resource consumption
Payload OFF
Payload OFF
Payload OFF
Payload ON
Payload ON
Payload ON
Payload OFF
Payload ON
Compute payload doubles the interrupt rate, but modern CPUs cope easily with it.
The number of used sockets is also doubled, but stays constant over time.

## Slide 18: Potential Model emerged
“Partition” the resources
  To guarantee that storage performance is not crippled
  To provide accountable resources (not like lhc@home)
  Control groups (Cgroups)
  Run Condor jobs in Containers
    Using Cgroups to limit resource usage
  One puppet configuration for the node
Integrate resources in CERN’s Condor batch system
  Queues for suitable workloads
    To be defined what suitable means
BEER Pilot to explore this approach

## Slide 19: Condor + Containers
EOS
Condor
cgroups
Monitored by:
cadvisor/collectd
job
job
job
job
container
cores
memory
Local disk
Cores reserved for EOS
Cores integrated in Condor running jobs at low priority, memory and scratch space restricted by cgroups,

## Slide 20: Testbed #3
Three disk servers: each
  48 6TB HDD (1 HDD apparently failed on one server)
  2 x E5-2630 v3 (haswell; 2 x 8 physical cores => 32 w/ SMT)
  2 x 800GB SSD (Intel DC S3510 series; 0.3 DWPD for 5 yrs)
  10Gbit network
Centos7; EOS 0.3.240 (Aquamarine)
  Using puppet, hostgroup based on eos hostgroup and using modified eos module and cerncondor module (beer branch)
Local Disc Setup:
  1 ssd set aside for the batch work (including addition of 96GB swap)
  CVMFS installed
  cerncondor module used to install and run condor
Changes in the batch environment (possibly amongst others):
  set memory.memsw.limit_in_bytes and add condor to the cpuset cgroup controller: cpuset.cpus and cpuset.mems
  (systemd already set mem limit, but no support for memsw or cpuset)

## Slide 21: Limits
Memory limit
  is set as a parameter in /etc/systemd/system/condor.service and systemd uses the setting when setting up the cgroup for the condor service: 48GB
  But does not limit swap usage
  Modified condor.service to also set memsw limit (ram + swap) to 96GB
Add condor to another cgroup using cpuset
    cpus 2-7,10-15,18-23,26-31
    leaves 4 physical cores entirely excluded covering both sockets
Condor configured to offer 24 job slots and 96GB ram
blkio settings may need to be found, not limited

## Slide 22: Core partitioning
0
1
2
3
4
5
6
7
16
17
18
19
20
21
22
23
8
9
10
11
12
13
14
15
24
25
26
27
28
29
30
31

## Slide 23: Load generation
For load run 10 instances of xrdstress
  4 jobs; 20 files; rw; size 1GB +- 256MB on 4 hosts
  No difference between 3 and 4 hosts  saturation
Run 3 ATLAS Pile job (8 cores per job)
  Staging pileup data on node
  Signal + min bias mixing;
  Digitisation
  Trigger simulation
  Reconstruction
  Convert ESD to AOD
  Start jobs with short delay

## Slide 24: Test Job: 2000 MC Events, 8 cores
Digitisation & Pileup
Trigger Verification
Reconstruction Raw2ESD
ESD2AOD
Merge Verify
Pileup
30GB
MC-Geant
1.5GB
MC RAW RDO
4.6GB
MC RAW RDO
4.6GB
TRG RAW RDO
5.2 GB
TRG RAW RDO
5.2 GB
ESD
6.0 GB
ESD
6.0 GB
AOD
700MB
AOD
680 MB
AOD
700MB

## Slide 25
I/O ON
job OFF
I/O ON
job ON
I/O OFF
job ON
Out = load + replication
No difference in I/O performance!
Phase 3

## Slide 26: Job Performance
Phase 1: I/O ON 9 jobs considered
  CPU time (not including for stage in): 97901s spread 2003s
  WALL time (not including stage in): 15172s: spread 308s
  WALL time (stage in): 792s: spread 250s
Phase 2: I/O OFF 8 jobs considered
  CPU time: 95709s: spread 5048s
  WALL time (not stage in): 14320s: Spread 625s
  WALL time (stage in): 2719s: Spread 64s
Phase 3: I/O ON and OFF,9 jobs
  CPU time 98600s: spread 2034s
  WALL time (not stage): 14651s: spread 403s
  WALL time (stage in): 1063s: spread 348s
CPU and WALL time are not affected by EOS I/O
WALL for stage in isn’t understood

## Slide 27: What could be gained for CERN? precision at best 10 – 20 %, but based on conservative assumptions
Worst case:
  40% can be used:
    Our measurements show that this is far less than what can be done when the node is fully saturated
  780 * 32 * 0.4 = 9984 cores ~ 99.840 HEP-SPEC06
  312 Computing boxes
Based on average load:
  >80% can be used: 780 * 32 * 0.8 =19968 cores ~ 199.680 HEP-SPEC06
  624 computing boxes

## Slide 28: Next Steps
Productionizing the puppet configuration
  Q/A process for production
Understanding pathological jobs
  local I/O, Fork-bomb, Mem-bloat, Network-bomb jobs
Production style pilot on small number of nodes
  In collaboration with ATLAS
Introduction into production
Adding pre-emptive jobs to fill short gaps?

## Slide 29: What have we learned?
There is always room for another
B
E
E
R